**Room Report**

**Site: Hospital de San Antonio**

|  |
| --- |
|  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | A1014 | **Room Dial:** | 1001 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | A1014 | Console | | 104 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | A1073 | **Room Dial:** | 1002 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | A1073 | Console | | 105 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 01 | **Room Dial:** | 1101 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1101-01 | R5KDC06 | | 1 |
|  | | 1101-02 | R5KCL546 | | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1101-01 | 1101-01 | R5KPB4 | 1 |
|  | | 1101-01 | 1101-01 | R5KPB4 | 2 |
|  | | 1101-01 | 1101-01 | R5KPB4 | 3 |
|  | | 1101-01 | 1101-01 | R5KPB4 | 4 |
|  | | 1101-01 | 1101-01 | R5KPB4 | 5 |
|  | | 1101-01 | 1101-01 | R5KPB4 | 6 |
|  | | 1101-02 | 1101-02 | R5KPS1EA | 2 |
|  | | 1101-02 | 1101-02 | R5KPS1EA | 3 |
|  | | 1101-02 | 1101-02 | R5KPS1EA | 4 |
|  | | 1101-02 | 1101-02 | R5KPC11WP | 5 |
|  | | 1101-02 | 1101-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 02 | **Room Dial:** | 1102 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 102-02 | R5KDC06 | | 3 |
|  | | 1102-01 | R5KCL546 | | 4 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 102-02 | 102-02 | R5KPB4 | 1 |
|  | | 102-02 | 102-02 | R5KPB4 | 2 |
|  | | 102-02 | 102-02 | R5KPB4 | 3 |
|  | | 102-02 | 102-02 | R5KPB4 | 4 |
|  | | 102-02 | 102-02 | R5KPB4 | 5 |
|  | | 102-02 | 102-02 | R5KPB4 | 6 |
|  | | 1102-01 | 1102-01 | R5KPS1EA | 2 |
|  | | 1102-01 | 1102-01 | R5KPS1EA | 3 |
|  | | 1102-01 | 1102-01 | R5KPS1EA | 4 |
|  | | 1102-01 | 1102-01 | R5KPC11WP | 5 |
|  | | 1102-01 | 1102-01 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 03 | **Room Dial:** | 1103 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1103-01 | R5KDC06 | | 5 |
|  | | 1103-02 | R5KCL546 | | 6 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1103-01 | 1103-01 | R5KPB4 | 1 |
|  | | 1103-01 | 1103-01 | R5KPB4 | 2 |
|  | | 1103-01 | 1103-01 | R5KPB4 | 3 |
|  | | 1103-01 | 1103-01 | R5KPB4 | 4 |
|  | | 1103-01 | 1103-01 | R5KPB4 | 5 |
|  | | 1103-01 | 1103-01 | R5KPB4 | 6 |
|  | | 1103-02 | 1103-02 | R5KPS1EA | 2 |
|  | | 1103-02 | 1103-02 | R5KPS1EA | 3 |
|  | | 1103-02 | 1103-02 | R5KPS1EA | 4 |
|  | | 1103-02 | 1103-02 | R5KPC11WP | 5 |
|  | | 1103-02 | 1103-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 04 | **Room Dial:** | 1104 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1104-01 | R5KDC06 | | 7 |
|  | | 1104-02 | R5KCL546 | | 8 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1104-01 | 1104-01 | R5KPB4 | 1 |
|  | | 1104-01 | 1104-01 | R5KPB4 | 2 |
|  | | 1104-01 | 1104-01 | R5KPB4 | 3 |
|  | | 1104-01 | 1104-01 | R5KPB4 | 4 |
|  | | 1104-01 | 1104-01 | R5KPB4 | 5 |
|  | | 1104-01 | 1104-01 | R5KPB4 | 6 |
|  | | 1104-02 | 1104-02 | R5KPS1EA | 2 |
|  | | 1104-02 | 1104-02 | R5KPS1EA | 3 |
|  | | 1104-02 | 1104-02 | R5KPS1EA | 4 |
|  | | 1104-02 | 1104-02 | R5KPC11WP | 5 |
|  | | 1104-02 | 1104-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 05 | **Room Dial:** | 1105 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1105-01 | R5KDC06 | | 9 |
|  | | 1105-02 | R5KCL546 | | 10 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1105-01 | 1105-01 | R5KPB4 | 1 |
|  | | 1105-01 | 1105-01 | R5KPB4 | 2 |
|  | | 1105-01 | 1105-01 | R5KPB4 | 3 |
|  | | 1105-01 | 1105-01 | R5KPB4 | 4 |
|  | | 1105-01 | 1105-01 | R5KPB4 | 5 |
|  | | 1105-01 | 1105-01 | R5KPB4 | 6 |
|  | | 1105-02 | 1105-02 | R5KPS1EA | 2 |
|  | | 1105-02 | 1105-02 | R5KPS1EA | 3 |
|  | | 1105-02 | 1105-02 | R5KPS1EA | 4 |
|  | | 1105-02 | 1105-02 | R5KPC11WP | 5 |
|  | | 1105-02 | 1105-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 06 | **Room Dial:** | 1106 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1106-01 | R5KDC06 | | 11 |
|  | | 1106-02 | R5KCL546 | | 12 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1106-01 | 1106-01 | R5KPB4 | 1 |
|  | | 1106-01 | 1106-01 | R5KPB4 | 2 |
|  | | 1106-01 | 1106-01 | R5KPB4 | 3 |
|  | | 1106-01 | 1106-01 | R5KPB4 | 4 |
|  | | 1106-01 | 1106-01 | R5KPB4 | 5 |
|  | | 1106-01 | 1106-01 | R5KPB4 | 6 |
|  | | 1106-02 | 1106-02 | R5KPS1EA | 2 |
|  | | 1106-02 | 1106-02 | R5KPS1EA | 3 |
|  | | 1106-02 | 1106-02 | R5KPS1EA | 4 |
|  | | 1106-02 | 1106-02 | R5KPC11WP | 5 |
|  | | 1106-02 | 1106-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 07 | **Room Dial:** | 1107 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1107 | R5KDC06 | | 13 |
|  | | 1107-02 | R5KCL546 | | 14 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1107 | 1107 | R5KPB4 | 1 |
|  | | 1107 | 1107 | R5KPB4 | 2 |
|  | | 1107 | 1107 | R5KPB4 | 3 |
|  | | 1107 | 1107 | R5KPB4 | 4 |
|  | | 1107 | 1107 | R5KPB4 | 5 |
|  | | 1107 | 1107 | R5KPB4 | 6 |
|  | | 1107-02 | 1107-02 | R5KPS1EA | 2 |
|  | | 1107-02 | 1107-02 | R5KPS1EA | 3 |
|  | | 1107-02 | 1107-02 | R5KPS1EA | 4 |
|  | | 1107-02 | 1107-02 | R5KPC11WP | 5 |
|  | | 1107-02 | 1107-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 08 | **Room Dial:** | 1108 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1108-01 | R5KDC06 | | 15 |
|  | | 1108-02 | R5KCL546 | | 16 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1108-01 | 1108-01 | R5KPB4 | 1 |
|  | | 1108-01 | 1108-01 | R5KPB4 | 2 |
|  | | 1108-01 | 1108-01 | R5KPB4 | 3 |
|  | | 1108-01 | 1108-01 | R5KPB4 | 4 |
|  | | 1108-01 | 1108-01 | R5KPB4 | 5 |
|  | | 1108-01 | 1108-01 | R5KPB4 | 6 |
|  | | 1108-02 | 1108-02 | R5KPS1EA | 2 |
|  | | 1108-02 | 1108-02 | R5KPS1EA | 3 |
|  | | 1108-02 | 1108-02 | R5KPS1EA | 4 |
|  | | 1108-02 | 1108-02 | R5KPC11WP | 5 |
|  | | 1108-02 | 1108-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 09 | **Room Dial:** | 1109 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1109-01 | R5KDC06 | | 17 |
|  | | 1109-02 | R5KCL546 | | 18 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1109-01 | 1109-01 | R5KPB4 | 1 |
|  | | 1109-01 | 1109-01 | R5KPB4 | 2 |
|  | | 1109-01 | 1109-01 | R5KPB4 | 3 |
|  | | 1109-01 | 1109-01 | R5KPB4 | 4 |
|  | | 1109-01 | 1109-01 | R5KPB4 | 5 |
|  | | 1109-01 | 1109-01 | R5KPB4 | 6 |
|  | | 1109-02 | 1109-02 | R5KPS1EA | 2 |
|  | | 1109-02 | 1109-02 | R5KPS1EA | 3 |
|  | | 1109-02 | 1109-02 | R5KPS1EA | 4 |
|  | | 1109-02 | 1109-02 | R5KPC11WP | 5 |
|  | | 1109-02 | 1109-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 10 | **Room Dial:** | 1110 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1110-01 | R5KDC06 | | 19 |
|  | | 1110-02 | R5KCL546 | | 20 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1110-01 | 1110-01 | R5KPB4 | 1 |
|  | | 1110-01 | 1110-01 | R5KPB4 | 2 |
|  | | 1110-01 | 1110-01 | R5KPB4 | 3 |
|  | | 1110-01 | 1110-01 | R5KPB4 | 4 |
|  | | 1110-01 | 1110-01 | R5KPB4 | 5 |
|  | | 1110-01 | 1110-01 | R5KPB4 | 6 |
|  | | 1110-02 | 1110-02 | R5KPS1EA | 2 |
|  | | 1110-02 | 1110-02 | R5KPS1EA | 3 |
|  | | 1110-02 | 1110-02 | R5KPS1EA | 4 |
|  | | 1110-02 | 1110-02 | R5KPC11WP | 5 |
|  | | 1110-02 | 1110-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 11 | **Room Dial:** | 1111 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1111-01 | R5KDC06 | | 21 |
|  | | 1111-02 | R5KCL546 | | 22 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1111-01 | 1111-01 | R5KPB4 | 1 |
|  | | 1111-01 | 1111-01 | R5KPB4 | 2 |
|  | | 1111-01 | 1111-01 | R5KPB4 | 3 |
|  | | 1111-01 | 1111-01 | R5KPB4 | 4 |
|  | | 1111-01 | 1111-01 | R5KPB4 | 5 |
|  | | 1111-01 | 1111-01 | R5KPB4 | 6 |
|  | | 1111-02 | 1111-02 | R5KPS1EA | 2 |
|  | | 1111-02 | 1111-02 | R5KPS1EA | 3 |
|  | | 1111-02 | 1111-02 | R5KPS1EA | 4 |
|  | | 1111-02 | 1111-02 | R5KPC11WP | 5 |
|  | | 1111-02 | 1111-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 12 | **Room Dial:** | 1112 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1112-01 | R5KDC46 | | 23 |
|  | | 1112-02 | R5KCL546 | | 24 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1112-01 | 1112-01 | R4KPB23 | 1 |
|  | | 1112-01 | 1112-01 | R5KPB4 | 2 |
|  | | 1112-01 | 1112-01 | R5KPB4 | 3 |
|  | | 1112-01 | 1112-01 | R5KPB4 | 4 |
|  | | 1112-01 | 1112-01 | R5KPB4 | 5 |
|  | | 1112-01 | 1112-01 | R4KPB23 | 6 |
|  | | 1112-02 | 1112-02 | R5KPS1EA | 2 |
|  | | 1112-02 | 1112-02 | R5KPS1EA | 3 |
|  | | 1112-02 | 1112-02 | R5KPS1EA | 4 |
|  | | 1112-02 | 1112-02 | R5KPC11WP | 5 |
|  | | 1112-02 | 1112-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 13 | **Room Dial:** | 1113 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1113-01 | R5KDC06 | | 25 |
|  | | 1113-02 | R5KCL546 | | 26 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1113-01 | 1113-01 | R5KPB4 | 1 |
|  | | 1113-01 | 1113-01 | R5KPB4 | 2 |
|  | | 1113-01 | 1113-01 | R5KPB4 | 3 |
|  | | 1113-01 | 1113-01 | R5KPB4 | 4 |
|  | | 1113-01 | 1113-01 | R5KPB4 | 5 |
|  | | 1113-01 | 1113-01 | R5KPB4 | 6 |
|  | | 1113-02 | 1113-02 | R5KPS1EA | 2 |
|  | | 1113-02 | 1113-02 | R5KPS1EA | 3 |
|  | | 1113-02 | 1113-02 | R5KPS1EA | 4 |
|  | | 1113-02 | 1113-02 | R5KPC11WP | 5 |
|  | | 1113-02 | 1113-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 14 | **Room Dial:** | 1114 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1114-01 | R5KDC06 | | 27 |
|  | | 1114-02 | R5KCL546 | | 28 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1114-01 | 1114-01 | R5KPB4 | 1 |
|  | | 1114-01 | 1114-01 | R5KPB4 | 2 |
|  | | 1114-01 | 1114-01 | R5KPB4 | 3 |
|  | | 1114-01 | 1114-01 | R5KPB4 | 4 |
|  | | 1114-01 | 1114-01 | R5KPB4 | 5 |
|  | | 1114-01 | 1114-01 | R5KPB4 | 6 |
|  | | 1114-02 | 1114-02 | R5KPS1EA | 2 |
|  | | 1114-02 | 1114-02 | R5KPS1EA | 3 |
|  | | 1114-02 | 1114-02 | R5KPS1EA | 4 |
|  | | 1114-02 | 1114-02 | R5KPC11WP | 5 |
|  | | 1114-02 | 1114-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 15 | **Room Dial:** | 1115 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1115-01 | R5KDC06 | | 29 |
|  | | 1115-02 | R5KCL546 | | 30 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1115-01 | 1115-01 | R5KPB4 | 1 |
|  | | 1115-01 | 1115-01 | R5KPB4 | 2 |
|  | | 1115-01 | 1115-01 | R5KPB4 | 3 |
|  | | 1115-01 | 1115-01 | R5KPB4 | 4 |
|  | | 1115-01 | 1115-01 | R5KPB4 | 5 |
|  | | 1115-01 | 1115-01 | R5KPB4 | 6 |
|  | | 1115-02 | 1115-02 | R5KPS1EA | 2 |
|  | | 1115-02 | 1115-02 | R5KPS1EA | 3 |
|  | | 1115-02 | 1115-02 | R5KPS1EA | 4 |
|  | | 1115-02 | 1115-02 | R5KPC11WP | 5 |
|  | | 1115-02 | 1115-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 16 | **Room Dial:** | 1116 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1116-01 | R5KDC06 | | 31 |
|  | | 1116-02 | R5KCL546 | | 32 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1116-01 | 1116-01 | R5KPB4 | 1 |
|  | | 1116-01 | 1116-01 | R5KPB4 | 2 |
|  | | 1116-01 | 1116-01 | R5KPB4 | 3 |
|  | | 1116-01 | 1116-01 | R5KPB4 | 4 |
|  | | 1116-01 | 1116-01 | R5KPB4 | 5 |
|  | | 1116-01 | 1116-01 | R5KPB4 | 6 |
|  | | 1116-02 | 1116-02 | R5KPS1EA | 2 |
|  | | 1116-02 | 1116-02 | R5KPS1EA | 3 |
|  | | 1116-02 | 1116-02 | R5KPS1EA | 4 |
|  | | 1116-02 | 1116-02 | R5KPC11WP | 5 |
|  | | 1116-02 | 1116-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 17 | **Room Dial:** | 1117 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1117-01 | R5KDC06 | | 33 |
|  | | 1117-02 | R5KCL546 | | 34 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1117-01 | 1117-01 | R5KPB4 | 1 |
|  | | 1117-01 | 1117-01 | R5KPB4 | 2 |
|  | | 1117-01 | 1117-01 | R5KPB4 | 3 |
|  | | 1117-01 | 1117-01 | R5KPB4 | 4 |
|  | | 1117-01 | 1117-01 | R5KPB4 | 5 |
|  | | 1117-01 | 1117-01 | R5KPB4 | 6 |
|  | | 1117-02 | 1117-02 | R5KPS1EA | 2 |
|  | | 1117-02 | 1117-02 | R5KPS1EA | 3 |
|  | | 1117-02 | 1117-02 | R5KPS1EA | 4 |
|  | | 1117-02 | 1117-02 | R5KPC11WP | 5 |
|  | | 1117-02 | 1117-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 18 | **Room Dial:** | 1118 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1118-01 | R5KDC06 | | 35 |
|  | | 1118-02 | R5KCL546 | | 36 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1118-01 | 1118-01 | R5KPB4 | 1 |
|  | | 1118-01 | 1118-01 | R5KPB4 | 2 |
|  | | 1118-01 | 1118-01 | R5KPB4 | 3 |
|  | | 1118-01 | 1118-01 | R5KPB4 | 4 |
|  | | 1118-01 | 1118-01 | R5KPB4 | 5 |
|  | | 1118-01 | 1118-01 | R5KPB4 | 6 |
|  | | 1118-02 | 1118-02 | R5KPC11WP | 1 |
|  | | 1118-02 | 1118-02 | R5KPS1EA | 2 |
|  | | 1118-02 | 1118-02 | R5KPS1EA | 4 |
|  | | 1118-02 | 1118-02 | R5KPS1EA | 5 |
|  | | 1118-02 | 1118-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 19 | **Room Dial:** | 1119 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 119-02 | R5KDC06 | | 37 |
|  | | 1119-02 | R5KCL546 | | 38 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 119-02 | 119-02 | R5KPB4 | 1 |
|  | | 119-02 | 119-02 | R5KPB4 | 2 |
|  | | 119-02 | 119-02 | R5KPB4 | 3 |
|  | | 119-02 | 119-02 | R5KPB4 | 4 |
|  | | 119-02 | 119-02 | R5KPB4 | 5 |
|  | | 119-02 | 119-02 | R5KPB4 | 6 |
|  | | 1119-02 | 1119-02 | R5KPS1EA | 2 |
|  | | 1119-02 | 1119-02 | R5KPS1EA | 3 |
|  | | 1119-02 | 1119-02 | R5KPS1EA | 4 |
|  | | 1119-02 | 1119-02 | R5KPC11WP | 5 |
|  | | 1119-02 | 1119-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 20 | **Room Dial:** | 1120 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1120-01 | R5KDC06 | | 39 |
|  | | 1120-02 | R5KCL546 | | 40 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1120-01 | 1120-01 | R5KPB4 | 1 |
|  | | 1120-01 | 1120-01 | R5KPB4 | 2 |
|  | | 1120-01 | 1120-01 | R5KPB4 | 3 |
|  | | 1120-01 | 1120-01 | R5KPB4 | 4 |
|  | | 1120-01 | 1120-01 | R5KPB4 | 5 |
|  | | 1120-01 | 1120-01 | R5KPB4 | 6 |
|  | | 1120-02 | 1120-02 | R5KPS1EA | 2 |
|  | | 1120-02 | 1120-02 | R5KPS1EA | 3 |
|  | | 1120-02 | 1120-02 | R5KPS1EA | 4 |
|  | | 1120-02 | 1120-02 | R5KPC11WP | 5 |
|  | | 1120-02 | 1120-02 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 21 | **Room Dial:** | 1121 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1121 | R5KCL516 | | 41 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1121 | 1121 | R5KPS1EA | 1 |
|  | | 1121 | 1121 | R5KPB4 | 2 |
|  | | 1121 | 1121 | R5KPB4 | 3 |
|  | | 1121 | 1121 | R5KPC11WP | 4 |
|  | | 1121 | 1121 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 22 | **Room Dial:** | 1122 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1122 | R5KCL516 | | 42 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1122 | 1122 | R5KPS1EA | 1 |
|  | | 1122 | 1122 | R5KPB4 | 2 |
|  | | 1122 | 1122 | R5KPB4 | 3 |
|  | | 1122 | 1122 | R5KPC11WP | 4 |
|  | | 1122 | 1122 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PA | **Room Name:** | SALA 23 | **Room Dial:** | 1123 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 1123-01 | R5KCL516 | | 43 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 1123-01 | 1123-01 | R5KPS1EA | 1 |
|  | | 1123-01 | 1123-01 | R5KPB4 | 2 |
|  | | 1123-01 | 1123-01 | R5KPB4 | 3 |
|  | | 1123-01 | 1123-01 | R5KPC11WP | 4 |
|  | | 1123-01 | 1123-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PB | **Room Name:** | dialisis | **Room Dial:** | 1003 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | dialisis | Console | | 103 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PB | **Room Name:** | Dialisis | **Room Dial:** | 44 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 4 |
|  | 5 |
|  | 6 |
|  | 7 |
|  | 8 |
|  | 9 |
|  | 10 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | DIALISIS | R5KDC46 | | 45 |
|  | | DIALISIS | R5KDC016 | | 46 |
|  | | Dialisis | R5KDC46 | | 47 |
|  | | DIALISIS | R5KDC46 | | 48 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 2 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 3 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 4 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 5 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 1 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 2 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 3 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 4 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 5 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 6 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 7 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 8 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 9 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 10 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 11 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 12 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 13 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 14 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 15 |
|  | | DIALISIS | DIALISIS | R5KPB4 | 16 |
|  | | Dialisis | Dialisis | R5KPB4 | 1 |
|  | | Dialisis | Dialisis | R5KPB4 | 2 |
|  | | Dialisis | Dialisis | R5KPS1EA | 3 |
|  | | Dialisis | Dialisis | R5KPS1EA | 4 |
|  | | Dialisis | Dialisis | R5KPB4 | 5 |
|  | | Dialisis | Dialisis | R5KPB4 | 6 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 2 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 3 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 4 |
|  | | DIALISIS | DIALISIS | R5KPS1EA | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 1PB | **Room Name:** | Post-Dialisis | **Room Dial:** | 200 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Post-Diali-01 | R5KCL546 | | 44 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Post-Diali-01 | Post-Diali-01 | R5KPB4 | 1 |
|  | | Post-Diali-01 | Post-Diali-01 | R5KPB4 | 2 |
|  | | Post-Diali-01 | Post-Diali-01 | R5KPS1EA | 3 |
|  | | Post-Diali-01 | Post-Diali-01 | R5KPS1EA | 4 |
|  | | Post-Diali-01 | Post-Diali-01 | R5KPB4 | 5 |
|  | | Post-Diali-01 | Post-Diali-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | A2017 | **Room Dial:** | 2001 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | A2017 | Console | | 97 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 01 | **Room Dial:** | 2101 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 201-02 | R5KDC06 | | 35 |
|  | | 2101-01 | R5KCL546 | | 76 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 201-02 | 201-02 | R5KPB4 | 1 |
|  | | 201-02 | 201-02 | R5KPB4 | 2 |
|  | | 201-02 | 201-02 | R5KPB4 | 3 |
|  | | 201-02 | 201-02 | R5KPB4 | 4 |
|  | | 201-02 | 201-02 | R5KPB4 | 5 |
|  | | 201-02 | 201-02 | R5KPB4 | 6 |
|  | | 2101-01 | 2101-01 | R5KPS1EA | 2 |
|  | | 2101-01 | 2101-01 | R5KPS1EA | 3 |
|  | | 2101-01 | 2101-01 | R5KPS1EA | 4 |
|  | | 2101-01 | 2101-01 | R5KPC11WP | 5 |
|  | | 2101-01 | 2101-01 | R5KPC11WP | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 02 | **Room Dial:** | 2102 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2102-01 | R5KCL546 | | 36 |
|  | | 2102-01 | R5KDC06 | | 37 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2102-01 | 2102-01 | R5KPS1EA | 2 |
|  | | 2102-01 | 2102-01 | R5KPS1EA | 3 |
|  | | 2102-01 | 2102-01 | R5KPS1EA | 4 |
|  | | 2102-01 | 2102-01 | R5KPC11WP | 5 |
|  | | 2102-01 | 2102-01 | R5KPC11WP | 6 |
|  | | 2102-01 | 2102-01 | R5KPB4 | 1 |
|  | | 2102-01 | 2102-01 | R5KPB4 | 2 |
|  | | 2102-01 | 2102-01 | R5KPB4 | 3 |
|  | | 2102-01 | 2102-01 | R5KPB4 | 4 |
|  | | 2102-01 | 2102-01 | R5KPB4 | 5 |
|  | | 2102-01 | 2102-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 03 | **Room Dial:** | 2103 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2103-01 | R5KCL516 | | 38 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2103-01 | 2103-01 | R5KPS1EA | 1 |
|  | | 2103-01 | 2103-01 | R5KPB4 | 2 |
|  | | 2103-01 | 2103-01 | R5KPB4 | 3 |
|  | | 2103-01 | 2103-01 | R5KPC11WP | 4 |
|  | | 2103-01 | 2103-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 04 | **Room Dial:** | 2104 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2104-01 | R5KCL516 | | 39 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2104-01 | 2104-01 | R5KPS1EA | 1 |
|  | | 2104-01 | 2104-01 | R5KPB4 | 2 |
|  | | 2104-01 | 2104-01 | R5KPB4 | 3 |
|  | | 2104-01 | 2104-01 | R5KPC11WP | 4 |
|  | | 2104-01 | 2104-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 05 | **Room Dial:** | 2105 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2105-01 | R5KCL546 | | 40 |
|  | | 205-02 | R5KDC06 | | 41 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2105-01 | 2105-01 | R5KPS1EA | 2 |
|  | | 2105-01 | 2105-01 | R5KPS1EA | 3 |
|  | | 2105-01 | 2105-01 | R5KPS1EA | 4 |
|  | | 2105-01 | 2105-01 | R5KPC11WP | 5 |
|  | | 2105-01 | 2105-01 | R5KPC11WP | 6 |
|  | | 205-02 | 205-02 | R5KPB4 | 1 |
|  | | 205-02 | 205-02 | R5KPB4 | 2 |
|  | | 205-02 | 205-02 | R5KPB4 | 3 |
|  | | 205-02 | 205-02 | R5KPB4 | 4 |
|  | | 205-02 | 205-02 | R5KPB4 | 5 |
|  | | 205-02 | 205-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 06 | **Room Dial:** | 2106 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2106-01 | R5KCL546 | | 42 |
|  | | 206-02 | R5KDC06 | | 43 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2106-01 | 2106-01 | R5KPS1EA | 2 |
|  | | 2106-01 | 2106-01 | R5KPS1EA | 3 |
|  | | 2106-01 | 2106-01 | R5KPS1EA | 4 |
|  | | 2106-01 | 2106-01 | R5KPC11WP | 5 |
|  | | 2106-01 | 2106-01 | R5KPC11WP | 6 |
|  | | 206-02 | 206-02 | R5KPB4 | 1 |
|  | | 206-02 | 206-02 | R5KPB4 | 2 |
|  | | 206-02 | 206-02 | R5KPB4 | 3 |
|  | | 206-02 | 206-02 | R5KPB4 | 4 |
|  | | 206-02 | 206-02 | R5KPB4 | 5 |
|  | | 206-02 | 206-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 07 | **Room Dial:** | 2107 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2107-02 | R5KCL546 | | 44 |
|  | | 2107-01 | R5KDC06 | | 45 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2107-02 | 2107-02 | R5KPS1EA | 2 |
|  | | 2107-02 | 2107-02 | R5KPS1EA | 3 |
|  | | 2107-02 | 2107-02 | R5KPS1EA | 4 |
|  | | 2107-02 | 2107-02 | R5KPC11WP | 5 |
|  | | 2107-02 | 2107-02 | R5KPC11WP | 6 |
|  | | 2107-01 | 2107-01 | R5KPB4 | 1 |
|  | | 2107-01 | 2107-01 | R5KPB4 | 2 |
|  | | 2107-01 | 2107-01 | R5KPB4 | 3 |
|  | | 2107-01 | 2107-01 | R5KPB4 | 4 |
|  | | 2107-01 | 2107-01 | R5KPB4 | 5 |
|  | | 2107-01 | 2107-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 08 | **Room Dial:** | 2108 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2108-02 | R5KCL546 | | 46 |
|  | | 2108-01 | R5KDC06 | | 47 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2108-02 | 2108-02 | R5KPS1EA | 2 |
|  | | 2108-02 | 2108-02 | R5KPS1EA | 3 |
|  | | 2108-02 | 2108-02 | R5KPS1EA | 4 |
|  | | 2108-02 | 2108-02 | R5KPC11WP | 5 |
|  | | 2108-02 | 2108-02 | R5KPC11WP | 6 |
|  | | 2108-01 | 2108-01 | R5KPB4 | 1 |
|  | | 2108-01 | 2108-01 | R5KPB4 | 2 |
|  | | 2108-01 | 2108-01 | R5KPB4 | 3 |
|  | | 2108-01 | 2108-01 | R5KPB4 | 4 |
|  | | 2108-01 | 2108-01 | R5KPB4 | 5 |
|  | | 2108-01 | 2108-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 09 | **Room Dial:** | 2109 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2109-02 | R5KCL546 | | 48 |
|  | | 2109-01 | R5KDC06 | | 49 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2109-02 | 2109-02 | R5KPS1EA | 2 |
|  | | 2109-02 | 2109-02 | R5KPS1EA | 3 |
|  | | 2109-02 | 2109-02 | R5KPS1EA | 4 |
|  | | 2109-02 | 2109-02 | R5KPC11WP | 5 |
|  | | 2109-02 | 2109-02 | R5KPC11WP | 6 |
|  | | 2109-01 | 2109-01 | R5KPB4 | 1 |
|  | | 2109-01 | 2109-01 | R5KPB4 | 2 |
|  | | 2109-01 | 2109-01 | R5KPB4 | 3 |
|  | | 2109-01 | 2109-01 | R5KPB4 | 4 |
|  | | 2109-01 | 2109-01 | R5KPB4 | 5 |
|  | | 2109-01 | 2109-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 10 | **Room Dial:** | 2110 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2110-01 | R5KCL546 | | 50 |
|  | | 2110-02 | R5KDC06 | | 51 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2110-01 | 2110-01 | R5KPS1EA | 2 |
|  | | 2110-01 | 2110-01 | R5KPS1EA | 3 |
|  | | 2110-01 | 2110-01 | R5KPS1EA | 4 |
|  | | 2110-01 | 2110-01 | R5KPC11WP | 5 |
|  | | 2110-01 | 2110-01 | R5KPC11WP | 6 |
|  | | 2110-02 | 2110-02 | R5KPB4 | 1 |
|  | | 2110-02 | 2110-02 | R5KPB4 | 2 |
|  | | 2110-02 | 2110-02 | R5KPB4 | 3 |
|  | | 2110-02 | 2110-02 | R5KPB4 | 4 |
|  | | 2110-02 | 2110-02 | R5KPB4 | 5 |
|  | | 2110-02 | 2110-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 11 | **Room Dial:** | 2111 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2111-02 | R5KCL546 | | 52 |
|  | | 2111-01 | R5KDC06 | | 53 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2111-02 | 2111-02 | R5KPS1EA | 2 |
|  | | 2111-02 | 2111-02 | R5KPS1EA | 3 |
|  | | 2111-02 | 2111-02 | R5KPS1EA | 4 |
|  | | 2111-02 | 2111-02 | R5KPC11WP | 5 |
|  | | 2111-02 | 2111-02 | R5KPC11WP | 6 |
|  | | 2111-01 | 2111-01 | R5KPB4 | 1 |
|  | | 2111-01 | 2111-01 | R5KPB4 | 2 |
|  | | 2111-01 | 2111-01 | R5KPB4 | 3 |
|  | | 2111-01 | 2111-01 | R5KPB4 | 4 |
|  | | 2111-01 | 2111-01 | R5KPB4 | 5 |
|  | | 2111-01 | 2111-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 12 | **Room Dial:** | 2112 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2112-02 | R5KCL546 | | 54 |
|  | | 212-02 | R5KDC06 | | 55 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2112-02 | 2112-02 | R5KPS1EA | 2 |
|  | | 2112-02 | 2112-02 | R5KPS1EA | 3 |
|  | | 2112-02 | 2112-02 | R5KPS1EA | 4 |
|  | | 2112-02 | 2112-02 | R5KPC11WP | 5 |
|  | | 2112-02 | 2112-02 | R5KPC11WP | 6 |
|  | | 212-02 | 212-02 | R5KPB4 | 1 |
|  | | 212-02 | 212-02 | R5KPB4 | 2 |
|  | | 212-02 | 212-02 | R5KPB4 | 3 |
|  | | 212-02 | 212-02 | R5KPB4 | 4 |
|  | | 212-02 | 212-02 | R5KPB4 | 5 |
|  | | 212-02 | 212-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 13 | **Room Dial:** | 2113 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2113-02 | R5KCL546 | | 56 |
|  | | 2113-01 | R5KDC06 | | 57 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2113-02 | 2113-02 | R5KPS1EA | 2 |
|  | | 2113-02 | 2113-02 | R5KPS1EA | 3 |
|  | | 2113-02 | 2113-02 | R5KPS1EA | 4 |
|  | | 2113-02 | 2113-02 | R5KPC11WP | 5 |
|  | | 2113-02 | 2113-02 | R5KPC11WP | 6 |
|  | | 2113-01 | 2113-01 | R5KPB4 | 1 |
|  | | 2113-01 | 2113-01 | R5KPB4 | 2 |
|  | | 2113-01 | 2113-01 | R5KPB4 | 3 |
|  | | 2113-01 | 2113-01 | R5KPB4 | 4 |
|  | | 2113-01 | 2113-01 | R5KPB4 | 5 |
|  | | 2113-01 | 2113-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PA | **Room Name:** | SALA 14 | **Room Dial:** | 2114 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2114-02 | R5KCL546 | | 58 |
|  | | 2114-01 | R5KDC06 | | 59 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2114-02 | 2114-02 | R5KPS1EA | 2 |
|  | | 2114-02 | 2114-02 | R5KPS1EA | 3 |
|  | | 2114-02 | 2114-02 | R5KPS1EA | 4 |
|  | | 2114-02 | 2114-02 | R5KPC11WP | 5 |
|  | | 2114-02 | 2114-02 | R5KPC11WP | 6 |
|  | | 2114-01 | 2114-01 | R5KPB4 | 1 |
|  | | 2114-01 | 2114-01 | R5KPB4 | 2 |
|  | | 2114-01 | 2114-01 | R5KPB4 | 3 |
|  | | 2114-01 | 2114-01 | R5KPB4 | 4 |
|  | | 2114-01 | 2114-01 | R5KPB4 | 5 |
|  | | 2114-01 | 2114-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | A2072 | **Room Dial:** | 2002 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | A2072 | Console | | 98 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 01 | **Room Dial:** | 2201 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2201-02 | R5KCL546 | | 60 |
|  | | 2201-01 | R5KDC06 | | 61 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2201-02 | 2201-02 | R5KPS1EA | 2 |
|  | | 2201-02 | 2201-02 | R5KPS1EA | 3 |
|  | | 2201-02 | 2201-02 | R5KPS1EA | 4 |
|  | | 2201-02 | 2201-02 | R5KPC11WP | 5 |
|  | | 2201-02 | 2201-02 | R5KPC11WP | 6 |
|  | | 2201-01 | 2201-01 | R5KPB4 | 1 |
|  | | 2201-01 | 2201-01 | R5KPB4 | 2 |
|  | | 2201-01 | 2201-01 | R5KPB4 | 3 |
|  | | 2201-01 | 2201-01 | R5KPB4 | 4 |
|  | | 2201-01 | 2201-01 | R5KPB4 | 5 |
|  | | 2201-01 | 2201-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 02 | **Room Dial:** | 2202 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2202-02 | R5KCL546 | | 62 |
|  | | 2202-01 | R5KDC06 | | 63 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2202-02 | 2202-02 | R5KPS1EA | 2 |
|  | | 2202-02 | 2202-02 | R5KPS1EA | 3 |
|  | | 2202-02 | 2202-02 | R5KPS1EA | 4 |
|  | | 2202-02 | 2202-02 | R5KPC11WP | 5 |
|  | | 2202-02 | 2202-02 | R5KPC11WP | 6 |
|  | | 2202-01 | 2202-01 | R5KPB4 | 1 |
|  | | 2202-01 | 2202-01 | R5KPB4 | 2 |
|  | | 2202-01 | 2202-01 | R5KPB4 | 3 |
|  | | 2202-01 | 2202-01 | R5KPB4 | 4 |
|  | | 2202-01 | 2202-01 | R5KPB4 | 5 |
|  | | 2202-01 | 2202-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 03 | **Room Dial:** | 2203 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2203-01 | R5KCL516 | | 64 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2203-01 | 2203-01 | R5KPS1EA | 1 |
|  | | 2203-01 | 2203-01 | R5KPB4 | 2 |
|  | | 2203-01 | 2203-01 | R5KPB4 | 3 |
|  | | 2203-01 | 2203-01 | R5KPC11WP | 4 |
|  | | 2203-01 | 2203-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 04 | **Room Dial:** | 2204 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2204-01 | R5KCL516 | | 65 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2204-01 | 2204-01 | R5KPS1EA | 1 |
|  | | 2204-01 | 2204-01 | R5KPB4 | 2 |
|  | | 2204-01 | 2204-01 | R5KPB4 | 3 |
|  | | 2204-01 | 2204-01 | R5KPC11WP | 4 |
|  | | 2204-01 | 2204-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 05 | **Room Dial:** | 2205 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2205-01 | R5KCL516 | | 66 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2205-01 | 2205-01 | R5KPS1EA | 1 |
|  | | 2205-01 | 2205-01 | R5KPB4 | 2 |
|  | | 2205-01 | 2205-01 | R5KPB4 | 3 |
|  | | 2205-01 | 2205-01 | R5KPC11WP | 4 |
|  | | 2205-01 | 2205-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 06 | **Room Dial:** | 2206 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2206-02 | R5KCL546 | | 67 |
|  | | 220-02 | R5KDC06 | | 68 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2206-02 | 2206-02 | R5KPS1EA | 2 |
|  | | 2206-02 | 2206-02 | R5KPS1EA | 3 |
|  | | 2206-02 | 2206-02 | R5KPS1EA | 4 |
|  | | 2206-02 | 2206-02 | R5KPC11WP | 5 |
|  | | 2206-02 | 2206-02 | R5KPC11WP | 6 |
|  | | 220-02 | 220-02 | R5KPB4 | 1 |
|  | | 220-02 | 220-02 | R5KPB4 | 2 |
|  | | 220-02 | 220-02 | R5KPB4 | 3 |
|  | | 220-02 | 220-02 | R5KPB4 | 4 |
|  | | 220-02 | 220-02 | R5KPB4 | 5 |
|  | | 220-02 | 220-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 07 | **Room Dial:** | 2207 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2207-02 | R5KCL546 | | 69 |
|  | | 2207-01 | R5KDC06 | | 70 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2207-02 | 2207-02 | R5KPS1EA | 2 |
|  | | 2207-02 | 2207-02 | R5KPS1EA | 3 |
|  | | 2207-02 | 2207-02 | R5KPS1EA | 4 |
|  | | 2207-02 | 2207-02 | R5KPC11WP | 5 |
|  | | 2207-02 | 2207-02 | R5KPC11WP | 6 |
|  | | 2207-01 | 2207-01 | R5KPB4 | 1 |
|  | | 2207-01 | 2207-01 | R5KPB4 | 2 |
|  | | 2207-01 | 2207-01 | R5KPB4 | 3 |
|  | | 2207-01 | 2207-01 | R5KPB4 | 4 |
|  | | 2207-01 | 2207-01 | R5KPB4 | 5 |
|  | | 2207-01 | 2207-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 08 | **Room Dial:** | 2208 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2208-02 | R5KCL546 | | 71 |
|  | | 2208-01 | R5KDC06 | | 72 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2208-02 | 2208-02 | R5KPS1EA | 2 |
|  | | 2208-02 | 2208-02 | R5KPS1EA | 3 |
|  | | 2208-02 | 2208-02 | R5KPS1EA | 4 |
|  | | 2208-02 | 2208-02 | R5KPC11WP | 5 |
|  | | 2208-02 | 2208-02 | R5KPC11WP | 6 |
|  | | 2208-01 | 2208-01 | R5KPB4 | 1 |
|  | | 2208-01 | 2208-01 | R5KPB4 | 2 |
|  | | 2208-01 | 2208-01 | R5KPB4 | 3 |
|  | | 2208-01 | 2208-01 | R5KPB4 | 4 |
|  | | 2208-01 | 2208-01 | R5KPB4 | 5 |
|  | | 2208-01 | 2208-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PB | **Room Name:** | SALA 09 | **Room Dial:** | 2209 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2209-02 | R5KCL546 | | 73 |
|  | | 2209-01 | R5KDC06 | | 74 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2209-02 | 2209-02 | R5KPC11WP | 1 |
|  | | 2209-02 | 2209-02 | R5KPS1EA | 2 |
|  | | 2209-02 | 2209-02 | R5KPS1EA | 3 |
|  | | 2209-02 | 2209-02 | R5KPS1EA | 5 |
|  | | 2209-02 | 2209-02 | R5KPC11WP | 6 |
|  | | 2209-01 | 2209-01 | R5KPB4 | 1 |
|  | | 2209-01 | 2209-01 | R5KPB4 | 2 |
|  | | 2209-01 | 2209-01 | R5KPB4 | 3 |
|  | | 2209-01 | 2209-01 | R5KPB4 | 4 |
|  | | 2209-01 | 2209-01 | R5KPB4 | 5 |
|  | | 2209-01 | 2209-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PC | **Room Name:** | C2078 | **Room Dial:** | 2003 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | C2078 | Console | | 99 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 2PC | **Room Name:** | Recuperacion | **Room Dial:** | 2301 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 2301-01 | R5KCL546 | | 75 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 2301-01 | 2301-01 | R5KPB4 | 1 |
|  | | 2301-01 | 2301-01 | R5KPB4 | 2 |
|  | | 2301-01 | 2301-01 | R5KPS1A | 3 |
|  | | 2301-01 | 2301-01 | R5KPS1A | 4 |
|  | | 2301-01 | 2301-01 | R5KPB4 | 5 |
|  | | 2301-01 | 2301-01 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | A3026 | **Room Dial:** | 3001 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | A3026 | Console | | 100 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 01 | **Room Dial:** | 3101 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3101-01 | R5KCL516 | | 6 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3101-01 | 3101-01 | R5KPS1EA | 1 |
|  | | 3101-01 | 3101-01 | R5KPB4 | 2 |
|  | | 3101-01 | 3101-01 | R5KPB4 | 3 |
|  | | 3101-01 | 3101-01 | R5KPC11WP | 4 |
|  | | 3101-01 | 3101-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 02 | **Room Dial:** | 3102 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3102 | R5KCL516 | | 5 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3102 | 3102 | R5KPS1EA | 1 |
|  | | 3102 | 3102 | R5KPB4 | 2 |
|  | | 3102 | 3102 | R5KPB4 | 3 |
|  | | 3102 | 3102 | R5KPC11WP | 4 |
|  | | 3102 | 3102 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 03 | **Room Dial:** | 3103 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3103 | R5KCL516 | | 4 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3103 | 3103 | R5KPS1EA | 1 |
|  | | 3103 | 3103 | R5KPB4 | 2 |
|  | | 3103 | 3103 | R5KPB4 | 3 |
|  | | 3103 | 3103 | R5KPC11WP | 4 |
|  | | 3103 | 3103 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 04 | **Room Dial:** | 3104 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3104 | R5KCL516 | | 3 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3104 | 3104 | R5KPS1EA | 1 |
|  | | 3104 | 3104 | R5KPB4 | 2 |
|  | | 3104 | 3104 | R5KPB4 | 3 |
|  | | 3104 | 3104 | R5KPC11WP | 4 |
|  | | 3104 | 3104 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 05 | **Room Dial:** | 3105 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3105 | R5KCL516 | | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3105 | 3105 | R5KPS1EA | 1 |
|  | | 3105 | 3105 | R5KPB4 | 2 |
|  | | 3105 | 3105 | R5KPB4 | 3 |
|  | | 3105 | 3105 | R5KPC11WP | 4 |
|  | | 3105 | 3105 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 06 | **Room Dial:** | 3106 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3106-01 | R5KCL516 | | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3106-01 | 3106-01 | R5KPS1EA | 1 |
|  | | 3106-01 | 3106-01 | R5KPB4 | 2 |
|  | | 3106-01 | 3106-01 | R5KPB4 | 3 |
|  | | 3106-01 | 3106-01 | R5KPC11WP | 4 |
|  | | 3106-01 | 3106-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 07 | **Room Dial:** | 3107 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3107-01 | R5KCL516 | | 7 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3107-01 | 3107-01 | R5KPS1EA | 1 |
|  | | 3107-01 | 3107-01 | R5KPB4 | 2 |
|  | | 3107-01 | 3107-01 | R5KPB4 | 3 |
|  | | 3107-01 | 3107-01 | R5KPC11WP | 4 |
|  | | 3107-01 | 3107-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 08 | **Room Dial:** | 3108 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3108-01 | R5KCL516 | | 8 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3108-01 | 3108-01 | R5KPS1EA | 1 |
|  | | 3108-01 | 3108-01 | R5KPB4 | 2 |
|  | | 3108-01 | 3108-01 | R5KPB4 | 3 |
|  | | 3108-01 | 3108-01 | R5KPC11WP | 4 |
|  | | 3108-01 | 3108-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 09 | **Room Dial:** | 3109 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3109-01 | R5KCL516 | | 9 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3109-01 | 3109-01 | R5KPS1EA | 1 |
|  | | 3109-01 | 3109-01 | R5KPB4 | 2 |
|  | | 3109-01 | 3109-01 | R5KPB4 | 3 |
|  | | 3109-01 | 3109-01 | R5KPC11WP | 4 |
|  | | 3109-01 | 3109-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 10 | **Room Dial:** | 3110 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3110-01 | R5KCL516 | | 10 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3110-01 | 3110-01 | R5KPS1EA | 1 |
|  | | 3110-01 | 3110-01 | R5KPB4 | 2 |
|  | | 3110-01 | 3110-01 | R5KPB4 | 3 |
|  | | 3110-01 | 3110-01 | R5KPC11WP | 4 |
|  | | 3110-01 | 3110-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 11 | **Room Dial:** | 3111 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3111-01 | R5KCL516 | | 11 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3111-01 | 3111-01 | R5KPS1EA | 1 |
|  | | 3111-01 | 3111-01 | R5KPB4 | 2 |
|  | | 3111-01 | 3111-01 | R5KPB4 | 3 |
|  | | 3111-01 | 3111-01 | R5KPC11WP | 4 |
|  | | 3111-01 | 3111-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 12 | **Room Dial:** | 3112 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3112-01 | R5KCL516 | | 12 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3112-01 | 3112-01 | R5KPS1EA | 1 |
|  | | 3112-01 | 3112-01 | R5KPB4 | 2 |
|  | | 3112-01 | 3112-01 | R5KPB4 | 3 |
|  | | 3112-01 | 3112-01 | R5KPC11WP | 4 |
|  | | 3112-01 | 3112-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 13 | **Room Dial:** | 3113 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3113-01 | R5KCL516 | | 13 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3113-01 | 3113-01 | R5KPS1EA | 1 |
|  | | 3113-01 | 3113-01 | R5KPB4 | 2 |
|  | | 3113-01 | 3113-01 | R5KPB4 | 3 |
|  | | 3113-01 | 3113-01 | R5KPC11WP | 4 |
|  | | 3113-01 | 3113-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 14 | **Room Dial:** | 3114 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3114-01 | R5KCL516 | | 14 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3114-01 | 3114-01 | R5KPS1EA | 1 |
|  | | 3114-01 | 3114-01 | R5KPB4 | 2 |
|  | | 3114-01 | 3114-01 | R5KPB4 | 3 |
|  | | 3114-01 | 3114-01 | R5KPC11WP | 4 |
|  | | 3114-01 | 3114-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 15 | **Room Dial:** | 3115 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3115-01 | R5KCL516 | | 15 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3115-01 | 3115-01 | R5KPS1EA | 1 |
|  | | 3115-01 | 3115-01 | R5KPB4 | 2 |
|  | | 3115-01 | 3115-01 | R5KPB4 | 3 |
|  | | 3115-01 | 3115-01 | R5KPC11WP | 4 |
|  | | 3115-01 | 3115-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PA | **Room Name:** | SALA 16 | **Room Dial:** | 3116 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3116-01 | R5KCL516 | | 16 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3116-01 | 3116-01 | R5KPS1EA | 1 |
|  | | 3116-01 | 3116-01 | R5KPB4 | 2 |
|  | | 3116-01 | 3116-01 | R5KPB4 | 3 |
|  | | 3116-01 | 3116-01 | R5KPC11WP | 4 |
|  | | 3116-01 | 3116-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | A3054 | **Room Dial:** | 3002 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | A3054 | Console | | 101 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 01 | **Room Dial:** | 3201 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3201-01 | R5KCL516 | | 17 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3201-01 | 3201-01 | R5KPS1EA | 1 |
|  | | 3201-01 | 3201-01 | R5KPB4 | 2 |
|  | | 3201-01 | 3201-01 | R5KPB4 | 3 |
|  | | 3201-01 | 3201-01 | R5KPC11WP | 4 |
|  | | 3201-01 | 3201-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 02 | **Room Dial:** | 3202 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3202-01 | R5KCL516 | | 18 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3202-01 | 3202-01 | R5KPS1EA | 1 |
|  | | 3202-01 | 3202-01 | R5KPB4 | 2 |
|  | | 3202-01 | 3202-01 | R5KPB4 | 3 |
|  | | 3202-01 | 3202-01 | R5KPC11WP | 4 |
|  | | 3202-01 | 3202-01 | R5KPC11WP | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 03 | **Room Dial:** | 3203 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3203-01 | R5KDC46 | | 19 |
|  | | 3203-02 | R5KDC06 | | 20 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3203-01 | 3203-01 | R5KPS1EA | 2 |
|  | | 3203-01 | 3203-01 | R5KPS1EA | 3 |
|  | | 3203-01 | 3203-01 | R5KPS1EA | 4 |
|  | | 3203-02 | 3203-02 | R5KPB4 | 1 |
|  | | 3203-02 | 3203-02 | R5KPB4 | 2 |
|  | | 3203-02 | 3203-02 | R5KPB4 | 3 |
|  | | 3203-02 | 3203-02 | R5KPB4 | 4 |
|  | | 3203-02 | 3203-02 | R5KPB4 | 5 |
|  | | 3203-02 | 3203-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 04 | **Room Dial:** | 3204 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3204-01 | R5KDC46 | | 21 |
|  | | 3204-02 | R5KDC016 | | 22 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3204-01 | 3204-01 | R5KPS1EA | 2 |
|  | | 3204-01 | 3204-01 | R5KPS1EA | 3 |
|  | | 3204-01 | 3204-01 | R5KPS1EA | 4 |
|  | | 3204-02 | 3204-02 | R5KPB4 | 1 |
|  | | 3204-02 | 3204-02 | R5KPB4 | 2 |
|  | | 3204-02 | 3204-02 | R5KPB4 | 3 |
|  | | 3204-02 | 3204-02 | R5KPB4 | 4 |
|  | | 3204-02 | 3204-02 | R5KPB4 | 5 |
|  | | 3204-02 | 3204-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 05 | **Room Dial:** | 3205 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3205-01 | R5KCL546 | | 23 |
|  | | 321-02 | R5KDC06 | | 24 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3205-01 | 3205-01 | R5KPS1EA | 2 |
|  | | 3205-01 | 3205-01 | R5KPS1EA | 3 |
|  | | 3205-01 | 3205-01 | R5KPS1EA | 4 |
|  | | 3205-01 | 3205-01 | R5KPC11WP | 5 |
|  | | 3205-01 | 3205-01 | R5KPC11WP | 6 |
|  | | 321-02 | 321-02 | R5KPB4 | 1 |
|  | | 321-02 | 321-02 | R5KPB4 | 2 |
|  | | 321-02 | 321-02 | R5KPB4 | 3 |
|  | | 321-02 | 321-02 | R5KPB4 | 4 |
|  | | 321-02 | 321-02 | R5KPB4 | 5 |
|  | | 321-02 | 321-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 06 | **Room Dial:** | 3206 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3206-01 | R5KCL546 | | 25 |
|  | | 322-02 | R5KDC06 | | 26 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3206-01 | 3206-01 | R5KPS1EA | 2 |
|  | | 3206-01 | 3206-01 | R5KPS1EA | 3 |
|  | | 3206-01 | 3206-01 | R5KPS1EA | 4 |
|  | | 3206-01 | 3206-01 | R5KPC11WP | 5 |
|  | | 3206-01 | 3206-01 | R5KPC11WP | 6 |
|  | | 322-02 | 322-02 | R5KPB4 | 1 |
|  | | 322-02 | 322-02 | R5KPB4 | 2 |
|  | | 322-02 | 322-02 | R5KPB4 | 3 |
|  | | 322-02 | 322-02 | R5KPB4 | 4 |
|  | | 322-02 | 322-02 | R5KPB4 | 5 |
|  | | 322-02 | 322-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 07 | **Room Dial:** | 3207 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3207-01 | R5KCL546 | | 27 |
|  | | 323-02 | R5KDC06 | | 28 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3207-01 | 3207-01 | R5KPS1EA | 2 |
|  | | 3207-01 | 3207-01 | R5KPS1EA | 3 |
|  | | 3207-01 | 3207-01 | R5KPS1EA | 4 |
|  | | 3207-01 | 3207-01 | R5KPC11WP | 5 |
|  | | 3207-01 | 3207-01 | R5KPC11WP | 6 |
|  | | 323-02 | 323-02 | R5KPB4 | 1 |
|  | | 323-02 | 323-02 | R5KPB4 | 2 |
|  | | 323-02 | 323-02 | R5KPB4 | 3 |
|  | | 323-02 | 323-02 | R5KPB4 | 4 |
|  | | 323-02 | 323-02 | R5KPB4 | 5 |
|  | | 323-02 | 323-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 08 | **Room Dial:** | 3208 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3208-01 | R5KCL546 | | 29 |
|  | | 324-02 | R5KDC06 | | 30 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3208-01 | 3208-01 | R5KPS1EA | 2 |
|  | | 3208-01 | 3208-01 | R5KPS1EA | 3 |
|  | | 3208-01 | 3208-01 | R5KPS1EA | 4 |
|  | | 3208-01 | 3208-01 | R5KPC11WP | 5 |
|  | | 3208-01 | 3208-01 | R5KPC11WP | 6 |
|  | | 324-02 | 324-02 | R5KPB4 | 1 |
|  | | 324-02 | 324-02 | R5KPB4 | 2 |
|  | | 324-02 | 324-02 | R5KPB4 | 3 |
|  | | 324-02 | 324-02 | R5KPB4 | 4 |
|  | | 324-02 | 324-02 | R5KPB4 | 5 |
|  | | 324-02 | 324-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 09 | **Room Dial:** | 3209 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3209-01 | R5KCL546 | | 31 |
|  | | 325-02 | R5KDC06 | | 32 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3209-01 | 3209-01 | R5KPS1EA | 2 |
|  | | 3209-01 | 3209-01 | R5KPS1EA | 3 |
|  | | 3209-01 | 3209-01 | R5KPS1EA | 4 |
|  | | 3209-01 | 3209-01 | R5KPC11WP | 5 |
|  | | 3209-01 | 3209-01 | R5KPC11WP | 6 |
|  | | 325-02 | 325-02 | R5KPB4 | 1 |
|  | | 325-02 | 325-02 | R5KPB4 | 2 |
|  | | 325-02 | 325-02 | R5KPB4 | 3 |
|  | | 325-02 | 325-02 | R5KPB4 | 4 |
|  | | 325-02 | 325-02 | R5KPB4 | 5 |
|  | | 325-02 | 325-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | 3PB | **Room Name:** | SALA 10 | **Room Dial:** | 3210 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 200 |
|  | 201 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | 3210-01 | R5KCL546 | | 33 |
|  | | 326-02 | R5KDC06 | | 34 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | 3210-01 | 3210-01 | R5KPS1EA | 2 |
|  | | 3210-01 | 3210-01 | R5KPS1EA | 3 |
|  | | 3210-01 | 3210-01 | R5KPS1EA | 4 |
|  | | 3210-01 | 3210-01 | R5KPC11WP | 5 |
|  | | 3210-01 | 3210-01 | R5KPC11WP | 6 |
|  | | 326-02 | 326-02 | R5KPB4 | 1 |
|  | | 326-02 | 326-02 | R5KPB4 | 2 |
|  | | 326-02 | 326-02 | R5KPB4 | 3 |
|  | | 326-02 | 326-02 | R5KPB4 | 4 |
|  | | 326-02 | 326-02 | R5KPB4 | 5 |
|  | | 326-02 | 326-02 | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | AZ060 | **Room Dial:** | 0001 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | AZ060 | Console | | 100 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | AZ072 | **Room Dial:** | 0002 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | AZ072 | Console | | 102 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | AZ074 | **Room Dial:** | 0003 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | AZ074 | Console | | 101 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Box Urgencia 1 | **Room Dial:** | 0101 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Box Urgencia 1 | R5KCL516 | | 50 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Box Urgencia 1 | Box Urgencia 1 | R5KPS1EA | 1 |
|  | | Box Urgencia 1 | Box Urgencia 1 | R5KPB4 | 2 |
|  | | Box Urgencia 1 | Box Urgencia 1 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Box Urgencia 2 | **Room Dial:** | 0102 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Box Urgencia 2 | R5KCL516 | | 51 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Box Urgencia 2 | Box Urgencia 2 | R5KPS1EA | 1 |
|  | | Box Urgencia 2 | Box Urgencia 2 | R5KPB4 | 2 |
|  | | Box Urgencia 2 | Box Urgencia 2 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Box Urgencia 3 | **Room Dial:** | 0103 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Box Urgencia 3 | R5KCL516 | | 52 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Box Urgencia 3 | Box Urgencia 3 | R5KPS1EA | 1 |
|  | | Box Urgencia 3 | Box Urgencia 3 | R5KPB4 | 2 |
|  | | Box Urgencia 3 | Box Urgencia 3 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Box Urgencia 4 | **Room Dial:** | 0104 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Box Urgencia 4 | R5KCL516 | | 53 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Box Urgencia 4 | Box Urgencia 4 | R5KPS1EA | 1 |
|  | | Box Urgencia 4 | Box Urgencia 4 | R5KPB4 | 2 |
|  | | Box Urgencia 4 | Box Urgencia 4 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Box Urgencia 5 | **Room Dial:** | 0105 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Box Urgencia 5 | R5KCL516 | | 54 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Box Urgencia 5 | Box Urgencia 5 | R5KPS1EA | 1 |
|  | | Box Urgencia 5 | Box Urgencia 5 | R5KPB4 | 2 |
|  | | Box Urgencia 5 | Box Urgencia 5 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Obs Adulto | **Room Dial:** | 0109 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 4 |
|  | 5 |
|  | 6 |
|  | 7 |
|  | 8 |
|  | 9 |
|  | 10 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Obs Adulto | R5KCL546 | | 57 |
|  | | Obs Adulto | R5KDC06 | | 58 |
|  | | Obs Adulto | R5KDC46 | | 59 |
|  | | Obs Adulto | R5KDC06 | | 60 |
|  | | Obs Adulto-01 | R5KDC46 | | 61 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 1 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 2 |
|  | | Obs Adulto | Obs Adulto | R5KPS1EA | 3 |
|  | | Obs Adulto | Obs Adulto | R5KPS1EA | 4 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 5 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 6 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 1 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 2 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 3 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 4 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 5 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 6 |
|  | | Obs Adulto | Obs Adulto | R4KPB23 | 1 |
|  | | Obs Adulto | Obs Adulto | R5KPS1EA | 2 |
|  | | Obs Adulto | Obs Adulto | R5KPS1EA | 3 |
|  | | Obs Adulto | Obs Adulto | R5KPS1EA | 4 |
|  | | Obs Adulto | Obs Adulto | R5KPS1EA | 5 |
|  | | Obs Adulto | Obs Adulto | R4KPB23 | 6 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 1 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 2 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 3 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 4 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 5 |
|  | | Obs Adulto | Obs Adulto | R5KPB4 | 6 |
|  | | Obs Adulto-01 | Obs Adulto-01 | R4KPB23 | 1 |
|  | | Obs Adulto-01 | Obs Adulto-01 | R5KPS1EA | 2 |
|  | | Obs Adulto-01 | Obs Adulto-01 | R5KPS1EA | 3 |
|  | | Obs Adulto-01 | Obs Adulto-01 | R5KPS1EA | 4 |
|  | | Obs Adulto-01 | Obs Adulto-01 | R5KPS1EA | 5 |
|  | | Obs Adulto-01 | Obs Adulto-01 | R4KPB23 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | obs gineco obs | **Room Dial:** | 0302 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 4 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | obs gineco-01 | R5KCL546 | | 70 |
|  | | obs gineco | R5KDC06 | | 71 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | obs gineco-01 | obs gineco-01 | R4KPB23 | 1 |
|  | | obs gineco-01 | obs gineco-01 | R5KPS1EA | 2 |
|  | | obs gineco-01 | obs gineco-01 | R5KPS1EA | 3 |
|  | | obs gineco-01 | obs gineco-01 | R5KPS1EA | 4 |
|  | | obs gineco-01 | obs gineco-01 | R5KPS1EA | 5 |
|  | | obs gineco-01 | obs gineco-01 | R4KPB23 | 6 |
|  | | obs gineco | obs gineco | R5KPB4 | 1 |
|  | | obs gineco | obs gineco | R5KPB4 | 2 |
|  | | obs gineco | obs gineco | R5KPB4 | 3 |
|  | | obs gineco | obs gineco | R5KPB4 | 4 |
|  | | obs gineco | obs gineco | R5KPB4 | 5 |
|  | | obs gineco | obs gineco | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Obs Pediatrica | **Room Dial:** | 0205 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 4 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Obs Pediatrica | R5KCL546 | | 67 |
|  | | Obs Pediatrica | R5KDC46 | | 68 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Obs Pediatrica | Obs Pediatrica | R4KPB23 | 1 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPS1EA | 2 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPS1EA | 3 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPS1EA | 4 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPS1EA | 5 |
|  | | Obs Pediatrica | Obs Pediatrica | R4KPB23 | 6 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPB4 | 1 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPB4 | 2 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPB4 | 3 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPB4 | 4 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPB4 | 5 |
|  | | Obs Pediatrica | Obs Pediatrica | R5KPB4 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Procedimientos | **Room Dial:** | 0107 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Procedimie-01 | R5KCL516 | | 69 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Procedimie-01 | Procedimie-01 | R5KPS1EA | 1 |
|  | | Procedimie-01 | Procedimie-01 | R5KPB4 | 2 |
|  | | Procedimie-01 | Procedimie-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Procedimientos Adulto | **Room Dial:** | 0301 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Procedimie-01 | R5KCL516 | | 55 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Procedimie-01 | Procedimie-01 | R5KPS1EA | 1 |
|  | | Procedimie-01 | Procedimie-01 | R5KPB4 | 2 |
|  | | Procedimie-01 | Procedimie-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Procedimientos Pediatricos | **Room Dial:** | 0203 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Procedimie-01 | R5KCL516 | | 64 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Procedimie-01 | Procedimie-01 | R5KPS1EA | 1 |
|  | | Procedimie-01 | Procedimie-01 | R5KPB4 | 2 |
|  | | Procedimie-01 | Procedimie-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Sala Delito | **Room Dial:** | 0106 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Delito | R5KCL516 | | 49 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Delito | Sala Delito | R5KPS1EA | 1 |
|  | | Sala Delito | Sala Delito | R5KPB4 | 2 |
|  | | Sala Delito | Sala Delito | R5KPB4 | 3 |
|  | | Sala Delito | Sala Delito | R4KPC11 | 4 |
|  | | Sala Delito | Sala Delito | R4KPC11 | 5 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Trat Resp Adulto | **Room Dial:** | 0108 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Trat Resp -01 | R5KCL516 | | 56 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Trat Resp -01 | Trat Resp -01 | R5KPS1EA | 1 |
|  | | Trat Resp -01 | Trat Resp -01 | R5KPB4 | 2 |
|  | | Trat Resp -01 | Trat Resp -01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Trat Resp Inf | **Room Dial:** | 0204 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 4 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Zocalo-01 | R5KDC46 | | 65 |
|  | | Resp. Infantil | R5KCL546 | | 66 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Zocalo-01 | Zocalo-01 | R5KPB4 | 1 |
|  | | Zocalo-01 | Zocalo-01 | R5KPB4 | 2 |
|  | | Zocalo-01 | Zocalo-01 | R5KPB4 | 3 |
|  | | Zocalo-01 | Zocalo-01 | R5KPB4 | 4 |
|  | | Zocalo-01 | Zocalo-01 | R5KPB4 | 5 |
|  | | Zocalo-01 | Zocalo-01 | R5KPB4 | 6 |
|  | | Resp. Infantil | Resp. Infantil | R4KPB23 | 1 |
|  | | Resp. Infantil | Resp. Infantil | R5KPS1EA | 2 |
|  | | Resp. Infantil | Resp. Infantil | R5KPS1EA | 3 |
|  | | Resp. Infantil | Resp. Infantil | R5KPS1EA | 4 |
|  | | Resp. Infantil | Resp. Infantil | R5KPS1EA | 5 |
|  | | Resp. Infantil | Resp. Infantil | R4KPB23 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Urgencia ped 1 | **Room Dial:** | 0201 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Urgencia p-01 | R5KCL516 | | 62 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Urgencia p-01 | Urgencia p-01 | R5KPS1EA | 1 |
|  | | Urgencia p-01 | Urgencia p-01 | R5KPB4 | 2 |
|  | | Urgencia p-01 | Urgencia p-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZA | **Room Name:** | Urgencia ped 2 | **Room Dial:** | 0202 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Urgencia p-01 | R5KCL516 | | 63 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Urgencia p-01 | Urgencia p-01 | R5KPS1EA | 1 |
|  | | Urgencia p-01 | Urgencia p-01 | R5KPB4 | 2 |
|  | | Urgencia p-01 | Urgencia p-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZB | **Room Name:** | BZ028 | **Room Dial:** | 0004 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | BZ028 | Console | | 99 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZB | **Room Name:** | SALA RECU | **Room Dial:** | 0401 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |
|  | 2 |
|  | 3 |
|  | 4 |
|  | 5 |
|  | 6 |
|  | 7 |
|  | 8 |
|  | 9 |
|  | 10 |
|  | 11 |
|  | 12 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | SALA RECUP | R5KDC016 | | 72 |
|  | | SALA RECUP | R5KDC46 | | 73 |
|  | | SALA RECUP | R5KDC46 | | 74 |
|  | | SALA RECUP | R5KDC46 | | 75 |
|  | | SALA RECUP-04 | R5KDC46 | | 76 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 1 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 2 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 3 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 4 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 5 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 6 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 7 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 8 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 9 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 10 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 11 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 12 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 13 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 14 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 15 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 16 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 1 |
|  | | SALA RECUP | SALA RECUP | R5KPB4 | 2 |
|  | | SALA RECUP | SALA RECUP | R4KPB23 | 1 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 2 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 3 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 4 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 5 |
|  | | SALA RECUP | SALA RECUP | R4KPB23 | 6 |
|  | | SALA RECUP | SALA RECUP | R4KPB23 | 1 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 2 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 3 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 4 |
|  | | SALA RECUP | SALA RECUP | R5KPS1EA | 5 |
|  | | SALA RECUP | SALA RECUP | R4KPB23 | 6 |
|  | | SALA RECUP-04 | SALA RECUP-04 | R4KPB23 | 1 |
|  | | SALA RECUP-04 | SALA RECUP-04 | R5KPS1EA | 2 |
|  | | SALA RECUP-04 | SALA RECUP-04 | R5KPS1EA | 3 |
|  | | SALA RECUP-04 | SALA RECUP-04 | R5KPS1EA | 4 |
|  | | SALA RECUP-04 | SALA RECUP-04 | R5KPS1EA | 5 |
|  | | SALA RECUP-04 | SALA RECUP-04 | R4KPB23 | 6 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | CZ011 | **Room Dial:** | 0005 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | CZ011 | Console | | 97 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | CZ038 | **Room Dial:** | 0006 | **MSC:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | CZ038 | Console | | 98 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 01 | **Room Dial:** | 0601 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-01 | R5KCL516 | | 82 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-01 | Sala Inter-01 | R5KPS1EA | 1 |
|  | | Sala Inter-01 | Sala Inter-01 | R5KPB4 | 2 |
|  | | Sala Inter-01 | Sala Inter-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 02 | **Room Dial:** | 0602 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-02 | R5KCL516 | | 81 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-02 | Sala Inter-02 | R5KPS1EA | 1 |
|  | | Sala Inter-02 | Sala Inter-02 | R5KPB4 | 2 |
|  | | Sala Inter-02 | Sala Inter-02 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 03 | **Room Dial:** | 0603 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-03 | R5KCL516 | | 80 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-03 | Sala Inter-03 | R5KPS1EA | 1 |
|  | | Sala Inter-03 | Sala Inter-03 | R5KPB4 | 2 |
|  | | Sala Inter-03 | Sala Inter-03 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 04 | **Room Dial:** | 0604 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-04 | R5KCL516 | | 79 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-04 | Sala Inter-04 | R5KPS1EA | 1 |
|  | | Sala Inter-04 | Sala Inter-04 | R5KPB4 | 2 |
|  | | Sala Inter-04 | Sala Inter-04 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 05 | **Room Dial:** | 0605 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-05 | R5KCL516 | | 77 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-05 | Sala Inter-05 | R5KPS1EA | 1 |
|  | | Sala Inter-05 | Sala Inter-05 | R5KPB4 | 2 |
|  | | Sala Inter-05 | Sala Inter-05 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 06 | **Room Dial:** | 0606 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-06 | R5KCL516 | | 78 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-06 | Sala Inter-06 | R5KPS1EA | 1 |
|  | | Sala Inter-06 | Sala Inter-06 | R5KPB4 | 2 |
|  | | Sala Inter-06 | Sala Inter-06 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 07 | **Room Dial:** | 0607 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-07 | R5KCL516 | | 79 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-07 | Sala Inter-07 | R5KPS1EA | 1 |
|  | | Sala Inter-07 | Sala Inter-07 | R5KPB4 | 2 |
|  | | Sala Inter-07 | Sala Inter-07 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 08 | **Room Dial:** | 0608 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-08 | R5KCL516 | | 80 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-08 | Sala Inter-08 | R5KPS1EA | 1 |
|  | | Sala Inter-08 | Sala Inter-08 | R5KPB4 | 2 |
|  | | Sala Inter-08 | Sala Inter-08 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 09 | **Room Dial:** | 0609 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-09 | R5KCL516 | | 81 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-09 | Sala Inter-09 | R5KPS1EA | 1 |
|  | | Sala Inter-09 | Sala Inter-09 | R5KPB4 | 2 |
|  | | Sala Inter-09 | Sala Inter-09 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 10 | **Room Dial:** | 0610 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-10 | R5KCL516 | | 82 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-10 | Sala Inter-10 | R5KPS1EA | 1 |
|  | | Sala Inter-10 | Sala Inter-10 | R5KPB4 | 2 |
|  | | Sala Inter-10 | Sala Inter-10 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 11 | **Room Dial:** | 0611 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-11 | R5KCL516 | | 77 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-11 | Sala Inter-11 | R5KPS1EA | 1 |
|  | | Sala Inter-11 | Sala Inter-11 | R5KPB4 | 2 |
|  | | Sala Inter-11 | Sala Inter-11 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | Sala Int 12 | **Room Dial:** | 0612 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | Sala Inter-12 | R5KCL516 | | 78 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | Sala Inter-12 | Sala Inter-12 | R5KPS1EA | 1 |
|  | | Sala Inter-12 | Sala Inter-12 | R5KPB4 | 2 |
|  | | Sala Inter-12 | Sala Inter-12 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | UCI 1 | **Room Dial:** | 0501 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI 1-01 | R5KCL516 | | 88 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | UCI 1-01 | UCI 1-01 | R5KPS1EA | 1 |
|  | | UCI 1-01 | UCI 1-01 | R5KPB4 | 2 |
|  | | UCI 1-01 | UCI 1-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | UCI 2 | **Room Dial:** | 0502 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI 2 -01 | R5KCL516 | | 87 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | UCI 2 -01 | UCI 2 -01 | R5KPS1EA | 1 |
|  | | UCI 2 -01 | UCI 2 -01 | R5KPB4 | 2 |
|  | | UCI 2 -01 | UCI 2 -01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | UCI 3 | **Room Dial:** | 0503 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI 3 -01 | R5KCL516 | | 86 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | UCI 3 -01 | UCI 3 -01 | R5KPS1EA | 1 |
|  | | UCI 3 -01 | UCI 3 -01 | R5KPB4 | 2 |
|  | | UCI 3 -01 | UCI 3 -01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | UCI 4 | **Room Dial:** | 0504 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI 4-01 | R5KCL516 | | 85 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | UCI 4-01 | UCI 4-01 | R5KPS1EA | 1 |
|  | | UCI 4-01 | UCI 4-01 | R5KPB4 | 2 |
|  | | UCI 4-01 | UCI 4-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | UCI 5 | **Room Dial:** | 0505 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI 5-01 | R5KCL516 | | 84 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | UCI 5-01 | UCI 5-01 | R5KPS1EA | 1 |
|  | | UCI 5-01 | UCI 5-01 | R5KPB4 | 2 |
|  | | UCI 5-01 | UCI 5-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZC | **Room Name:** | UCI 6 | **Room Dial:** | 0506 | **MSC:** | 1 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI 6-01 | R5KCL516 | | 83 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | UCI 6-01 | UCI 6-01 | R5KPS1EA | 1 |
|  | | UCI 6-01 | UCI 6-01 | R5KPB4 | 2 |
|  | | UCI 6-01 | UCI 6-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZD | **Room Name:** | BOX 01 | **Room Dial:** | 0801 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | BOX 01-01 | R5KCL516 | | 83 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | BOX 01-01 | BOX 01-01 | R5KPS1A | 1 |
|  | | BOX 01-01 | BOX 01-01 | R5KPB4 | 2 |
|  | | BOX 01-01 | BOX 01-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZD | **Room Name:** | BOX 06 | **Room Dial:** | 0806 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | BOX 06-01 | R5KCL516 | | 84 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | BOX 06-01 | BOX 06-01 | R5KPS1A | 1 |
|  | | BOX 06-01 | BOX 06-01 | R5KPB4 | 2 |
|  | | BOX 06-01 | BOX 06-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZD | **Room Name:** | BOX 1 | **Room Dial:** | 0701 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | BOX 1-01 | R5KCL516 | | 85 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | BOX 1-01 | BOX 1-01 | R5KPS1A | 1 |
|  | | BOX 1-01 | BOX 1-01 | R5KPB4 | 2 |
|  | | BOX 1-01 | BOX 1-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZD | **Room Name:** | BOX 6 | **Room Dial:** | 0706 | **MSC:** | 2 |

|  |  |
| --- | --- |
| **Beds:** | 1 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | BOX 6-01 | R5KCL516 | | 86 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Stations:** | | | | |
|  | | **Bed** | **CL** | **Station Type** | **Port** |
|  | | BOX 6-01 | BOX 6-01 | R5KPS1A | 1 |
|  | | BOX 6-01 | BOX 6-01 | R5KPB4 | 2 |
|  | | BOX 6-01 | BOX 6-01 | R5KPB4 | 3 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZD | **Room Name:** | UCI UTI NEO 01 | **Room Dial:** | 0007 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI UTI NEO 01 | Console | | 102 |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Area:** | PZD | **Room Name:** | UCI UTI NEO 02 | **Room Dial:** | 0008 | **MSC:** | 2 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **Corridor Lights:** | | |  | |
|  | | **Name** | **CL Type** | | **K-Bus Addr** |
|  | | UCI UTI NEO 02 | Console | | 103 |