## Building Total
HOSPITAL CURICO
Software
| Part Number | Description | Price | Quantity | Subtotal
| 5-ERS04101 | EIRIS Base Package for Elpas, 3 Client, 10 Elpas Reader license | 1459 | 1 | 1459
| 5-ERS04201 | Incremental License for additional 16 Elpas Readers | 619 | 0 | 0
| 5-ERS04202 | Incremental License for additional concurrent Client Connection (Work Station) | 458 | 0 | 0
| 5-ERS04211 | Class 2 Eiris Tag License Credit (Passive RFID, access control) | 5 | 0 | 0
| 5-ERS04212 | Class 3 Eiris Tag Credit (3rd party active RFID, BLE tags, wireless phones) | 30 | 0 | 0
Additional Software
| Part Number | Description | Price | Quantity | Subtotal
| 5-ERS04301 | EV2 BabyMatch / Baby Management User Interface | 2667 | 0 | 0
| 5-ERS09051 | Nurse Call Auto-Cancellation Extension | 920 | 0 | 0
| 5-ERS09048 | Communication Package (Pager+SMS+Email) | 920 | 0 | 0
| 5-ERS08035 | Tag Match Extension for Tag Escort and Match Tests | 1700 | 0 | 0
| 5-ERS08320 | Temperature Monitoring Module | 1000 | 0 | 0
| 5-ERS08033 | CCTV Integration | 1000 | 0 | 0
| 5-ERS04150 | 3rd Party Nurse Call Integration | 1800 | 0 | 0
| 5-Redundant | Redundant Server License | 1459 | 0 | 0
Software Total |  |  |  |  | 1459
Transmitters
| Sheet Number | Description |  | # XMTR | Subtotal
| Transmitter Totals | Total Tags/Tag Accessories for the System |  | 400 | 34120
Network Hardware
| Sheet Number | Description |  | # RDR | Subtotal
| 1 | Piso 1 |  | 0 | 0
| 2 | Piso 2 |  | 0 | 0
| 3 | Level 3 |  | 0 | 0
| 4 | Level 4 |  | 0 | 0
| 5 | Level 5 |  | 0 | 0
| 6 | Level 6 |  | 0 | 0
| 7 | Level 7 |  | 0 | 0
| 8 | Level 8 |  | 0 | 0
| 9 | Level 9 |  | 0 | 0
| 10 | Level 10 |  | 0 | 0
| 11 | Level 11 |  | 0 | 0
| 12 | Level 12 |  | 0 | 0
| 13 | Level 13 |  | 0 | 0
| OUT | Outdoors |  | 0 | 0
| MISC | Miscellaneous/Spare Parts |  | 0 | 0
Hardware (Network and Transmitter) Total |  |  |  |  | 34120
Grand Total |  |  |  |  | 35579
| NOTE: | Quote does not include wiring, IP network components, or client or server computers.
Elpas manufactures against customer orders and therefore we do not offer a returns program.
Products can only be returned if defective during warranty.
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus OK?? | OK
| NOTE: | Deleting or renaming any sheets below will invalidate the PS and Bus Dev values.
Note on E5: Mark Lynch: Automatically calculated from number of readers
Note on E11: Mark Lynch: Only 1 per site
Note on E12: Mark Lynch: Only 1 per site
Note on E13: Mark Lynch: Only 1 per site
Note on E14: Mark Lynch: Only 1 per site
Note on E15: Mark Lynch: Only 1 per site
Note on E16: Mark Lynch: Only 1 per site
Note on E39: Mark Lynch: This value is figured into the quantity to be licensed in the software so if these are all spare units, a separate quote should be created to avoid superfluous licensing.
Note on C49: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C51: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes. If this block is red, check other sheets and ensure they have enough power supplies.
Note on C52: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.
Note on C53: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## Network Hardware Totals
Hardware Totals (READ ONLY)
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 | 0 | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 | 52 | 14508
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 | 0 | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 | 0 | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 | 0 | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 | 0 | 0
Outdoor | 5-ELC00433-4 | RF Reader, IP, 433MHz, ELC, Outdoor | 497 | 0 | 0
| 5-CBL00201 | Coax Cable 3.0M/10 Ft for Omni-Directional / Yagi Antennas | 41 | 0 | 0
| 5-AN004303 | Long-Range Yagi Directional Antenna | 81 | 0 | 0
| 5-AN004305-1 | Long-Range Omni-Directional Antenna + MBCN | 106 | 0 | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 | 0 | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 | 0 | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 | 26 | 5590
| 5-ALC001123-0 | ALC Outdoor LF Bus Beacon with Loop, 125kHz | 523 | 0 | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 | 0 | 0
| 5-HLA00125 | Handheld LF Exciter | 67 | 0 | 0
| 5-TRC00433-2 | RF Transmitter for ALC Supervision | 46 | 0 | 0
| 5-LFM00125 | LF Field Meter | 294 | 0 | 0
Prox | 5-LFA00125 | Proximity Reader, Bus, 125KHz, requires prox cards | 95 | 0 | 0
| 5-WIF00485 | Wiegand Interface Adapter | 126 | 0 | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 | 0 | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 | 0 | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 78 | 1950
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 52 | 1248
| 5-IOX00001 | End-of-Line Terminator for Elpas & AXS inputs (5 units) | 21 | 0 | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 | 0 | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 | 0 | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 | 0 | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 | 26 | 4914
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 | 1 | 299
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 | 0 | 0
Keypads | 3-6206-0, CL-8 | Keypad for interior use only, 56 codes | 44 | 0 | 0
| 3-6217-0, CL-80 | Keypad for interior/exterior use, 56 codes | 78 | 0 | 0
| 3-6218-0, CL-83 | CL-8 EXT metallic interior/exterior keypad, anti vandal | 235 | 0 | 0
| 3-6219-0, CL-83M | CL-8 EXT mullion metallic interior/exterior keypad, anti-vandal | 235 | 0 | 0
Total |  |  |  |  | 28509
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus OK?? | OK
Note on C46: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes. If this block is red, check other sheets and ensure they have enough power supplies.
Note on C47: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.
Note on C48: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## Transmitter Totals
Elpas Transmitters and Accessories
Elpas Tags
Category | Part Number | Description | Cost | Quantity | Subtotal
Asset | 5-ETC00433C | Asset Tracking Tag, IR/RF/LF, 433 MHz, 10/10/60 | 59 | 0 | 0
| 5-ETC09001 | Equipment Clip (Pack of 5) | 17 | 0 | 0
| 5-ETC09002 | Belt Clip (Pack of 5) | 18 |  | 0
| 5-ETC09003 | Pendant Clip (Pack of 5) | 15 |  | 0
Temp | 5-STE00433-1 | Temperature Sensor Tag, RF, 433MHz (requires S/W ext) | 72 |  | 0
| 5-STC00433-1 | Temperature Sensor Tag, RF, 433MHz w/External Probe (requires S/W ext) | 150 |  | 0
Charm | 5-BTE00433-1 | Charm, RF/LF | 63 | 0 | 0
| 5-BTE90004 | Charm Band, Infant (50 Units) | 99 | 0 | 0
| 5-BTE90003 | Long Charm Bands (50 Units) | 166 | 0 | 0
| 5-WTD41120-0 | Mother Bracelet, IR/RF/LF/LFTX, Button | 72 | 0 | 0
Bracelet | 5-WTD41100-0 | Elpas Bracelet Module | 69 | 0 | 0
| 5-WTD41002-0 | Elpas Bracelet with Security Band, Solid Face | 85 | 400 | 34000
| 5-WTD09012 | Security Band (Pack of 5) | 89 | 0 | 0
| 5-WTD09009 | Band Lock Key (Pack of 5) **Required for 5-WTD41102-0 and 5-WTD09012 | 12 | 10 | 120
| 5-PB063011 | Disposable Clincher Wrist ID Band (Pack of 50) | 28 |  | 0
| 5-WTD09016 | WTD Replacement Cover with Button (Pack of 5) | 12 |  | 0
| 5-WTD09017 | WTD Cover without Button (Pack of 5) | 12 |  | 0
| 5-WTD09013 | WTD Hospital Band Adapter (Pack of 5) | 12 |  | 0
| 5-WTD09011 | Standard Wristband, No Tamper (Pack of 5) | 48 |  | 0
| 5-WTD09014 | Standard Wristband XL, No Tamper (Pack of 5) | 56 |  | 0
| 5-WTA90007 | Reusable medical grade wristband with lock (Pack of 5) | 23 |  | 0
| 5-500130 | Lock pin removal magnet **Required for 5-WTA90007 | 121 |  | 0
Badge | 5-PBA00433-L | Elpas Badge w/IR, 60 sec RF | 59 | 0 | 0
| 5-PBA90001 | Personnel Identity Badge - Clip Attachment (25 pcs) | 27 |  | 0
| 5-PBA90002 | Open Front Card Holder, Horizontal/Vertical, (5 pcs) | 14 |  | 0
| 5-PBA90004 | Personnel Identity Badge - Label Covers (25 pcs) | 37 |  | 0
Shield | 5-LW241020-0 | Lone Worker, IR/RF/LF | 89 |  | 0
| 5-LW241037-0 | Lone Worker Fall Detect, IR/RF/LF | 116 |  | 0
| 5-LW009800-0 | Lone Worker Belt Clip (Pack of 5) | 23 |  | 0
| 5-LW009700-0 | Lone Worker Pull Cord (Pack of 5) | 15 |  | 0
Intrusion | 5-MAG00433 | Wireless Magnetic Contact, RF, 433MHz | 61 |  | 0
| 5-PIR00433 | Wireless Curtain PIR Detector, RF, 433MHz | 73 |  | 0
| 5-TBA00433 | Wireless Input Module, RF/LF, 433Mhz | 82 |  | 0
Total |  |  |  |  | 34120
| Tag Total | 400
Note on C13: Mark Lynch: Requires Tag Match / Escort Extension for software based reporting.

## 1
Piso 1
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 | 0 | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 | 0 | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 | 0 | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 | 0 | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 | 0 | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 | 0 | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 | 0 | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 | 0 | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 | 0 | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 | 0 | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 2
Piso 2
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 | 0 | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 | 0 | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 | 0 | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 3
Level 3
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 4
Level 4
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 5
Level 5
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 6
Level 6
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 7
Level 7
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 8
Level 8
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 9
Level 9
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 10
Level 10
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 11
Level 11
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 12
Level 12
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## 13
Level 13
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALA00125-12 | LF Exciter, Bus, Primary, I/O (1/1), 1.5m, 125KHz | 185 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 3-6026-0 | CL-8A, Keypad for interior use only, 56 codes | 44 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6/6 | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6/6 | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E14: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E15: Mark Lynch: The standalone (round) style of LF Exciter use these. They should be mounted on the wall.
Note on E17: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E18: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C29: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C31: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C32: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## OUT
Outdoors
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF | 5-ELC00433-4 | RF Reader, IP, 433MHz, ELC, Outdoor | 497 |  | 0
| 5-CBL00201 | Coax Cable 3.0M/10 Ft for Omni-Directional / Yagi Antennas | 41 |  | 0
| 5-AN004303 | Long-Range Yagi Directional Antenna | 81 |  | 0
| 5-AN004305-1 | Long-Range Omni-Directional Antenna + MBCN | 106 |  | 0
LF | 5-ALC01023-0 | ALC Outdoor LF Bus Beacon with Loop, 125kHz | 523 |  | 0
| 5-TRC00433-2 | RF Transmitter for ALC Supervision | 46 |  | 0
ACC | 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E10: Mark Lynch: All devices require a reader cable. These can be made by the installers and should not exceed 30'. 10' cables also available.
Note on E11: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader will be required. This can be edited to the system design.
Note on C17: Mark Lynch: For license count, does note include LF Standalone Secondary
Note on C19: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes.
Note on C20: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## MISC
Miscellaneous/Spare Parts
Elpas Hardware
Category | Part Number | Description | Price | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 |  | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 |  | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 |  | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 |  | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 |  | 0
Outdoor | 5-ELC00433-4 | RF Reader, IP, 433MHz, ELC, Outdoor | 497 |  | 0
| 5-CBL00201 | Coax Cable 3.0M/10 Ft for Omni-Directional / Yagi Antennas | 41 |  | 0
| 5-AN004303 | Long-Range Yagi Directional Antenna | 81 |  | 0
| 5-AN004305-1 | Long-Range Omni-Directional Antenna + MBCN | 106 |  | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 |  | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 |  | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 |  | 0
| 5-ALC01023-0 | ALC Outdoor LF Bus Beacon with Loop, 125kHz | 523 |  | 0
| 5-ALA00125-12 | LF Beacon, Bus, Primary, I/O (1/1), 1.5M, 125kHz | 185 |  | 0
| 5-HLA00125 | Handheld LF Exciter | 67 |  | 0
| 5-TRC00433-2 | RF Transmitter for ALC Supervision | 46 |  | 0
| 5-LFM00125 | LF Field Meter | 294 |  | 0
Prox | 5-LFA00125 | Proximity Reader, Bus, 125KHz, requires prox cards | 95 |  | 0
| 5-WIF00485 | Wiegand Interface Adapter | 126 |  | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 |  | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 |  | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 |  | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 0 | 0
| 5-IOX00001 | End-of-Line Terminator for Elpas & AXS inputs (5 units) | 21 |  | 0
IO | 5-IOB10485 | I/O, Bus, 6 Inputs / 6 Outputs | 179 |  | 0
| 5-IOB10485-1 | I/O, IP, 6 Inputs / 6 Outputs | 179 |  | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 |  | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 |  | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 |  | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 |  | 0
Keypads | 3-6206-0, CL-8 | Keypad for interior use only, 56 codes | 44 |  | 0
| 3-6217-0, CL-80 | Keypad for interior/exterior use, 56 codes | 78 |  | 0
| 3-6218-0, CL-83 | CL-8 EXT metallic interior/exterior keypad, anti vandal | 235 |  | 0
| 3-6219-0, CL-83M | CL-8 EXT mullion metallic interior/exterior keypad, anti-vandal | 235 |  | 0
Total |  |  |  |  | 0
| Total Readers | 0
| Approx. Amp | 0
| PS OK?? | OK
| Bus Dev OK?? | OK
| RF Bus Check | OK
Note on E6: Mark Lynch: No more than 7 bus RFs per RS-485 bus
Note on E24: Mark Lynch: The ceiling mounted RF and IR readers use this bracket.
Note on E28: Mark Lynch: In general, due to the 30' cable limit, one junction box per reader may be required. This can be modified based on the system design.
Note on C45: Mark Lynch: This is an estimate using the maximum capabilities of the power supplies. It is always recommended to go higher on the current limit of the supply. This estimate does not compensate for auxiliary equipment such as buzzers or strobes. It is our recommendation to have separate power runs for the standalone LF exciters.
Note on C46: Mark Lynch: This checks that you do not have more than 15 devices per RF IP Master or ELC. It does not check to see if you have more than 7 bus RFs per RF Master or ELC.

## End Notes & Terms
Elpas Americas
For Use By Certified Integrators Only
END NOTES:
Please contact Elpas Sales Representative for General Availability date.
GENERAL TERMS:
a. This price list is valid on May 16, 2016 and supersedes all previous price lists. b. This price list is valid only for certified by Elpas System Integrators. c. Unless otherwise specified delivery upon approved credit is 60-120 days ARO. d. Repairs require a RMA number. Troubleshooting fee is $25.00 per tag $50.00 per reader (waived if item defective under warranty) e. Prices are Ex-Works, Kiryat-Gat, Israel or Ex-Works Toronto, ON, Canada. f. Taxes/VAT are not included. g. Prices are subject to change. h. This proposal is valid for 30 days from the date it was emailed.

## Server & Client Specs
Computer Specifications for Eiris Server 5.0
Every Elpas implementation is unique. Larger systems with more Readers, more Badges, and more Clients will
require more processing power than smaller systems. Specifications should be scaled to meet the demands and
scope of the application. Eiris Server benefits most directly from CPU clock speed and CPU cache. In very large
systems where badge traffic may exceed 1000 messages per second, a multi-server environment may be
required. If you have any questions, please contact Elpas Technical Support.
Recommended Hardware, Single Server (1000 messages/second or less)
1x Intel® Xeon® E5-2637 v3 CPU; 3.5GHz, 15M Cache
16GB 2133MHz RAM
3-5 x 2TB HDD in a RAID 5 Array
2+ x 10/100/1000 Ethernet Network Interface Card (Additional NICs may be required)
DVD/RW Drive
USB 2.0 or Higher
1024x768 Display or Higher
Sound Card w/ Speakers
Uninterruptible Power Supply (UPS) - 500VA (min)
Recommended Hardware, Host Server, Multi-Server Configuration (1000-2000 messages/second)
2 x Intel® Xeon® E5-2667 v3 CPU; 3.2GHz, 20M Cache
64+GB 2133MHz RAM
5 x 4TB HDD in a RAID 5 Array
4+ x 10/100/1000 Ethernet Network Interface Card (Additional NICs may be required)
DVD/RW Drive
USB 2.0 or Higher
1024x768 Display or Higher
Sound Card w/ Speakers
Uninterruptible Power Supply (UPS) - 500VA (min)
Recommended Operating Systems
Windows 7 Professional – 64 Bit (x64)
Windows Server 2008 R2 Standard/Enterprise
Windows Server 2012 R2 Standard
The Eiris Server computer should be a dedicated machine. Other applications, including client applications
should be installed on a separate PC.
Virtual Machine environments are supported. Virtual Machines should have guaranteed hardware quotas in line
with the recommendations above. Eiris will take advantage of 2 vCPUs. Each Network Interface (NIC) in a
Virtual Machine must have a static MAC address.
Multiple Network Interface Cards, Serial Ports, or other hardware may be required or recommended depending on
your application. If you have specific inquiries, please contact Elpas Technical Support.
Should you have any questions regarding this or any other Elpas product, please contact Elpas Technical Support
at 800.223.0020, Option 5.

## Order Sheet
HOSPITAL CURICO
Software
Base | Part Number | Description | Price | Quantity | Subtotal
| 5-ERS04101 | EIRIS Base Package for Elpas, 3 Client, 10 Elpas Reader license | 1459 | 0 | 0
| 5-ERS04201 | Incremental License for additional 16 Elpas Readers | 619 | 0 | 0
| 5-ERS04202 | Incremental License for additional concurrent Client Connection (Work Station) | 458 | 0 | 0
| 5-ERS04211 | Class 2 Eiris Tag License Credit (Passive RFID, access control) | 5 | 0 | 0
| 5-ERS04212 | Class 3 Eiris Tag Credit (3rd party active RFID, BLE tags, wireless phones) | 30 | 0 | 0
Additional Software
Extensions | Part Number | Description | Price | Quantity | Subtotal
| 5-ERS04301 | EV2 BabyMatch / Baby Management User Interface | 2667 | 0 | 0
| 5-ERS09051 | Nurse Call Auto-Cancellation Extension | 920 | 0 | 0
| 5-ERS09048 | Communication Package (Pager+SMS+Email) | 920 | 0 | 0
| 5-ERS08035 | Tag Match Extension for Tag Escort and Match Tests | 1700 | 0 | 0
| 5-ERS08320 | Temperature Monitoring Module | 1000 | 0 | 0
| 5-ERS08033 | CCTV Integration | 1000 | 0 | 0
| 5-ERS04150 | 3rd Party Nurse Call Integration | 1800 | 0 | 0
| 5-Redundant | Redundant Server License | 1459 | 0 | 0
Software Total |  |  |  |  | 0
Elpas Tags
Category | Part Number | Description | Cost | Quantity | Subtotal
Asset | 5-ETC00433C | Asset Tracking Tag, IR/RF/LF, 433 MHz, 10/10/60 | 59 | 0 | 0
| 5-ETC09001 | Equipment Clip (Pack of 5) | 17 | 0 | 0
| 5-ETC09002 | Belt Clip (Pack of 5) | 18 | 0 | 0
| 5-ETC09003 | Pendant Clip (Pack of 5) | 15 | 0 | 0
Temp | 5-STE00433-1 | Temperature Sensor Tag, RF, 433MHz (requires S/W ext) | 72 | 0 | 0
| 5-STC00433-1 | Temperature Sensor Tag, RF, 433MHz w/External Probe (requires S/W ext) | 150 | 0 | 0
BTE | 5-BTE00433-1 | Charm, RF/LF | 63 | 0 | 0
| 5-BTE90004 | Charm Band, Infant (50 Units) | 99 | 0 | 0
| 5-BTE90003 | Long Charm Bands (50 Units) | 166 | 0 | 0
| 5-WTD41120-0 | Mother Bracelet, IR/RF/LF/LFTX, Button | 72 | 0 | 0
Bracelet | 5-WTD41100-0 | Elpas Bracelet Module | 69 | 0 | 0
| 5-WTD41002-0 | Elpas Bracelet with Security Band, Solid Face | 85 | 0 | 0
| 5-WTD09012 | Security Band (Pack of 5) | 89 | 0 | 0
| 5-WTD09009 | Band Lock Key (Pack of 5) **Required for 5-WTD41102-0 and 5-WTD09012 | 12 | 0 | 0
| 5-PB063011 | Disposable Clincher Wrist ID Band (Pack of 50) | 28 | 0 | 0
| 5-WTD09016 | WTD Replacement Cover with Button (Pack of 5) | 12 | 0 | 0
| 5-WTD09017 | WTD Cover without Button (Pack of 5) | 12 | 0 | 0
| 5-WTD09013 | WTD Hospital Band Adapter (Pack of 5) | 12 | 0 | 0
| 5-WTD09011 | Standard Wristband, No Tamper (Pack of 5) | 48 | 0 | 0
| 5-WTD09014 | Standard Wristband XL, No Tamper (Pack of 5) | 56 | 0 | 0
| 5-WTA90007 | Reusable medical grade wristband with lock (Pack of 5) | 23 | 0 | 0
| 5-500130 | Lock pin removal magnet **Required for 5-WTA90007 | 121 | 0 | 0
Badge | 5-PBA00433-L | Elpas Badge w/IR, 60 sec RF | 59 | 0 | 0
| 5-PBA90001 | Personnel Identity Badge - Clip Attachment (25 pcs) | 27 | 7 | 189
| 5-PBA90002 | Open Front Card Holder, Horizontal/Vertical, (5 pcs) | 14 | 0 | 0
| 5-PBA90004 | Personnel Identity Badge - Label Covers (25 pcs) | 37 | 3 | 111
Shield | 5-LW241020-0 | Lone Worker, IR/RF/LF | 89 | 0 | 0
| 5-LW241037-0 | Lone Worker Fall Detect, IR/RF/LF | 116 | 0 | 0
| 5-LW009800-0 | Lone Worker Belt Clip (Pack of 5) | 23 | 0 | 0
| 5-LW009700-0 | Lone Worker Pull Cord (Pack of 5) | 15 | 0 | 0
Intrusion | 5-MAG00433 | Wireless Magnetic Contact, RF, 433MHz | 61 | 0 | 0
| 5-PIR00433 | Wireless Curtain PIR Detector, RF, 433MHz | 73 | 0 | 0
| 5-TBA00433 | Wireless Input Module, RF/LF, 433Mhz | 82 | 0 | 0
Transmitter Total |  |  |  |  | 300
Elpas Hardware
Category | Part Number | Description | Cost | Quantity | Subtotal
RF/ELC | 5-RFB00433 | RF Reader, IP, 433MHz, Ceiling | 279 | 0 | 0
| 5-RFB10433-2 | RF Reader, IP, 433MHz, Wall | 279 | 0 | 0
| 5-RFB00433-1 | RF Reader, BUS, 433MHz, Ceiling | 279 | 0 | 0
| 5-RFB10433-5 | RF Reader, BUS, 433MHz, Wall | 279 | 0 | 0
| 5-ELC00433-1 | ELPAS Local Controller, Ceiling, 433MHz | 427 | 0 | 0
| 5-ELC10433-3 | ELPAS Local Controller, Wall, 433MHz, I/O (7/5) | 482 | 0 | 0
Outdoor | 5-ELC00433-4 | RF Reader, IP, 433MHz, ELC, Outdoor | 497 | 0 | 0
| 5-CBL00201 | Coax Cable 3.0M/10 Ft for Omni-Directional / Yagi Antennas | 41 | 0 | 0
| 5-AN004303 | Long-Range Yagi Directional Antenna | 81 | 0 | 0
| 5-AN004305-1 | Long-Range Omni-Directional Antenna + MBCN | 106 | 0 | 0
IR | 5-IRB00880 | IR Reader, RS-485, Ceiling | 149 | 0 | 0
| 5-IRB00880-1 | IR Reader, IP, Ceiling | 149 | 0 | 0
LF | 5-ALC01021-0 | LF Bus Beacon, No RF, 4.5M, 125kHz | 215 | 0 | 0
| 5-ALC01023-0 | ALC Outdoor LF Bus Beacon with Loop, 125kHz | 523 | 0 | 0
| 5-ALA00125-12 | LF Beacon, Bus, Primary, I/O (1/1), 1.5M, 125kHz | 185 | 0 | 0
| 5-HLA00125 | Handheld LF Exciter | 67 | 0 | 0
| 5-TRC00433-2 | RF Transmitter for ALC Supervision | 46 | 0 | 0
| 5-LFM00125 | LF Field Meter | 294 | 0 | 0
Prox | 5-LFA00125 | Proximity Reader, Bus, 125KHz, requires prox cards | 95 | 0 | 0
| 5-WIF00485 | Wiegand Interface Adapter | 126 | 0 | 0
ACC | 5-RDT09100 | Reader Mounting Bracket (5 units) | 30 | 0 | 0
| 5-RDT09113 | Reader Surface-Mount Plastic Ring (5 units) | 60 | 0 | 0
| 5-ALC90001 | ALC LF Drop Ceiling Mounting Bracket (5 units) | 30 | 0 | 0
| 5-ERS01905-30P | Reader Certified Cable w/ 2 RJ12 (6 pin) connectors 30 feet Plenum | 25 | 0 | 0
| 5-JBA10485 | RS-485 Junction Box, 4 RJ11 Ports | 24 | 85 | 2040
| 5-IOX00001 | End-of-Line Terminator for Elpas & AXS inputs (5 units) | 21 | 0 | 0
IO | 5-IOB10485 | I/O, Bus, 6 Inputs / 6 Outputs | 179 | 0 | 0
| 5-IOB10485-1 | I/O, IP, 6 Inputs / 6 Outputs | 179 | 0 | 0
EDP | 5-EDP00485 | ELPAS Display Panel, Bus | 189 | 0 | 0
| 5-EDP00485-1 | ELPAS Display Panel, IP | 189 | 0 | 0
PS | 5-ERS02603 | Power Supply, 24VDC, 10 Amp, Linear | 299 | 0 | 0
| 5-ERS02605 | Power Supply, 24VDC, 6 Amp, Linear (4 fused outputs) UL Listed | 299 | 0 | 0
Keypads | 3-6206-0, CL-8 | Keypad for interior use only, 56 codes | 44 | 0 | 0
| 3-6217-0, CL-80 | Keypad for interior/exterior use, 56 codes | 78 | 0 | 0
| 3-6218-0, CL-83 | CL-8 EXT metallic interior/exterior keypad, anti vandal | 235 | 0 | 0
| 3-6219-0, CL-83M | CL-8 EXT mullion metallic interior/exterior keypad, anti-vandal | 235 | 0 | 0
Elpas Network Hardware Total |  |  |  |  | 2040
Grand Total |  |  |  |  | 2340
Note on E5: Mark Lynch: Automatically calculated from number of readers
Note on E11: Mark Lynch: Only 1 per site
Note on E12: Mark Lynch: Only 1 per site
Note on E13: Mark Lynch: Only 1 per site
Note on E14: Mark Lynch: Only 1 per site
Note on E15: Mark Lynch: Only 1 per site
Note on E16: Mark Lynch: Only 1 per site