## Hoja1
2022-04-29
PRESUPUESTO RESPONDER 5000
HOSPITAL DE LINARES
Qty. | Part Number | Description | List Price Ea. | Extended List Price
Head End
Responder 5000
13 | NC2828 | Head-End Equipment Cabinet | 1817.5 | 23627.5
26 | R5KMPR15 | Power Supply 15V for Stations, CLs, DCs (w/battery backup) | 700 | 18200
13 | R5KMPR36 | Power Supply 36V for MSC, Console (w/battery backup) | 675 | 8775
8 | R5KMSCV2 | Main System Controller | 1430 | 11440
5 | R5KM8PRT | R5K 8-Port Switch | 850 | 4250
2 | 351006 | Fiber Adapter Modules | 642.5 | 1285
16 | R5KL2KA | Data Converter for K-Bus to L-Net | 437.5 | 7000
16 | R5KMTRM | Termination Board | 142.5 | 2280
25 | R5KCONS | VoIP Nurse Console | 1410 | 35250
16 | R4KPA25 | Paging Amplifier | 647.5 | 10360
12 | R4KMQCV2 | Marquee Controller | 400 | 4800
157 | R5KCL506 | 5-Bulb, Visual Corridor Light | 155 | 24335
56 | R5KCL516 | 5-Bulb, 1-Point Audio Corridor Light | 185 | 10360
115 | R5KCL546 | 5-Bulb, 4-Point Audio Corridor Light | 225 | 25875
265 | R5KPS1EA | R5K Enhanced Single Station | 140 | 37100
21 | R5KSSTF | R5K Staff Station | 85 | 1785
151 | R5KPB4 | Responder 5K 4-button Station | 100 | 15100
151 | QP | BOTON EN ESPAÑOL | 20 | 3020
151 | QP | BOTON EN ESPAÑOL | 20 | 3020
151 | QP | BOTON EN ESPAÑOL | 20 | 3020
151 | QP | BOTON EN ESPAÑOL | 20 | 3020
150 | R5KPC11WPS | Waterproof Pullcord Station - Spanish | 105 | 15750
166 | R4KCB13 | SLIM Code Button St | 87.5 | 14525
166 | QP | BOTON EN ESPAÑOL | 20 | 3320
8 | R4KPB12 | SLIM Single Button St | 75 | 600
8 | QP | BOTON EN ESPAÑOL | 20 | 160
Software
1 | R5KMRPT | Reporting Software License (1 per system) | 8025 | 8025
1 | R5KMADT | ADT Integration Software License (1 per system) | 3612.5 | 3612.5
1 | R5KMRSI | Resident Safety Interface | 2500 | 2500
1 | 355005 | Responder SIP Server (1 per System) | 5052.5 | 5052.5
1 | R5KMSIP | SIP Telephony Software License (1 per system) | 5030 | 5030
1 | R5KMMWI | Middleware Interface | 4500 | 4500
ACCESSORIES
27 | 350018 | 8pin Inlinecon Cat-5 Cat-6(100) (Not to be used with R4K CL/DC) | 390 | 10530
166 | 350008 | Clear Station Cover (1 & 2 Button Stations) | 76.25 | 12657.5
Pillow Speakers/Call Cords
265 | CCDIN3 | Handheld Pendent - 2 Lights (8-pin DIN) | 120 | 31800
ACCESSORIES NO RAULAND
86 | CAT6 | 4-Pair Cat6 Ethernet cable | 220 | 18920
1 | 60755 | Power Common - #18 AWG | 200 | 200
12 | 1026-1311 | Alpha 215C LED Sign | 800 | 9600
265 | LC-050 | Controlador de luz curbell | 143 | 37895
Responder 5000 Suggested List Total: |  |  |  | 371965
|  |  | Distributor Discount: | 111589.5 | 30%
|  |  | Discounted Price: | 260375.5
|  |  | Accesorios No Rauland Cost: | 66615
|  |  | Total Labor Cost | 92991.25
|  |  | Total Misc. Installation Cost | 26037.55
Customer Responder 5000 Total: |  |  |  | 446019.3
If the Total Price of the Miscellaneous items is over 1,000,000.00 then you need to go back to the General Information page and enter in values for some servers.

## Hoja2
100101 | Everywear Receiver W/batteries | 222.5
100102 | Everywear Gateway W/ac Adapter | 402.5
100103 | Everywear Poe Splitter | 95
100201 | Everywear Staff Badge W/batt | 102.5
100202 | Everywear Patient Wear W/batt | 95
100203 | Everywear Asset Tag W/battery | 85
100204 | Everywear Staff Duress Badge | 185
101301 | Everywear Server Software | 25000
101302 | Everywear Sma Per Bed/room | 247.5
350002 | L-net T-tap Module (25) | 677.5
350003 | L-net Term Resistor (10) | 560
350004 | L-net Hub | 397.5
350005 | M-net Divider Interface | 85
350006 | Crimping Tool Adapter | 87.5
350007 | Station Removal Tool | 50
350008 | Clear Station Cover | 76.25
350009 | Battery Kit for R5 Power Sply | 122.5
350011 | Overlay Kit Cancel Button (10) | 27.5
350012 | Overlay Kit Sm Push Button(10) | 30
350013 | Overlay Kit Lg Push Button(10) | 42.5
350014 | Overlay Kit Left Side Stn (10) | 55
350015 | Overlay Kit Right Side Stn(10) | 55
350017 | L-net T-tap Insulator (25) | 80
350018 | 8pn Inline Con Cat5 Cat6(100) | 390
350019 | Responder 5 L-net Test Adapter | 87.5
350023 | Clear Button Cover-4 Button St | 67.5
350024 | Pillow Spker Cord Grip Kit 20 | 85
350025 | 3-gang Adapter Plates (10) | 80
350026 | 1-gang Adapter Plates (10) | 60
350027 | Recessed 1-gang Plate 10 Pack | 107.5
350028 | Recessed 2-gang Plate 10 Pack | 120
350029 | Button Cover For Staff Stn10pk | 500
350032 | R5demo Upgrade Kit | 9880
350033 | Pullcord Anti-ligature Kit | 45
350034 | R5 Rapid Response Kit | 57500
350035 | Clear Station Cover 10-pk | 762.5
350100 | Call Cord W/tilt Release Din | 82.5
350200 | Enhncd Pillow Spkr-tv-digi Vol | 325
350201 | Enhncd Pillowspkr-1lgt-digivol | 325
350202 | Enhncd Pillowspkr-2lgt-digivol | 325
350205 | Enhncd Pillow Spkr-tv-anlgvol | 327.5
350207 | Enhncd Pillowspkr 2 Lgt-anlgvo | 337.5
350300 | Remote Tilt Release Din Stn | 272.5
350301 | Remote Std 8-pin Din Station | 367.5
350302 | Feature Bed Control Module | 202.5
350400 | Staff Term Faceplate W Bioseal | 55
351003 | Power Supply W/batt. Backup | 1330
351004 | 8 Port Ethernet Switch W/poe | 1305
351005 | Branch Regional Controller V3 | 2052.5
351006 | Fiber Optic Adapter Module | 642.5
351011 | Responder Netwk Concentrato V2 | 12972.5
351101 | Rack Mount Kit For Switches | 115
351102 | Wall Mounting Cabinet-head-end | 1225
351201 | Console Receptacle | 132.5
351203 | Console Desk Stand | 192.5
351205 | Voip Nurse Console V2 | 2145
351310 | Voip Staff Terminal V2 | 1677.5
352004 | Mini-corridor Light | 190
352010 | Corridor Light-4 Pos V2 | 630
352021 | Domeless Controller V2 | 657.5
353000 | Single Patient Station | 617.5
353001 | Enhanced Single Patient Stn | 657.5
353003 | Face Plate Rep Assy 353001 | 17.5
353010 | Dual Patient Station | 787.5
353100 | Duty Station | 610
353101 | Staff Station | 607.5
353200 | Remote Audio Output Station | 452.5
353201 | Remote Audio Output Module | 392.5
354000 | Pull-cord Station With Audio | 390
354010 | Cancel Station | 190
354011 | Code Station | 182.5
354012 | Staff Assist Station | 182.5
354015 | Staff Assist / Code Station | 190
354016 | Bed Management Station | 255
354017 | Staff Registration Station | 255
354018 | 2-jack Station | 260
354100 | Input Module - 2 Point | 220
354101 | Output Module-high Current | 290
354102 | Output Module-dry Contact | 242.5
354103 | Output Module-low Current | 250
355000 | R5ware Firmware Diagnostics | 0
355002 | Interface-telephone-25 Beds | 3125
355005 | Responder Sip Server | 5052.5
366102 | Pc Console (r5 Apps) - 25 Beds | 3125
366104 | Staff Assignment Client-25 Bed | 3125
366200 | Reports Manager - 25 Beds | 3125
366201 | Data Warehouse | 27820
366202 | Business Intelligence | 13910
366401 | Interface-locate(rtls)-25 Beds | 3125
366402 | Interface-hl7(adt)-25 Beds | 3125
366403 | Interface-resp Sync-25 Bed | 3125
366404 | All Touch Emr -25 Beds | 3125
366406 | All Touch Bed Mgmt-25 Beds | 3125
366407 | All Touch Iptv-25 Beds | 1565
366409 | All Touch Bed Info-25 Beds | 1565
370000 | Ent Configurator | 0
370001 | Ent Local Configurator | 0
370002 | Ent Sales Demo | 6250
370003 | Ent It Foundation - Perpetual | 475
370004 | Ent Wrkflw Stdztion- Perpetual | 787.5
370005 | Ent Clinical Outcms-perpetual | 1200
370007 | Ent CAH Basic HW Package | 100000
370008 | Ent CAH Workflow HW Package | 130000
370009 | Ent Distributor Sys Sw | 2437.5
370010 | Ent It Foundation-subs | 12.5
370011 | Ent Wrkflw Stdztion-subs | 22.5
370012 | Ent Clin Outcomes-subs | 30
370013 | Ent Hospital Test System-perp | 1200
370014 | Ent Future State Lab-perp | 1200
370015 | Ent Clinical Mobile App | 37.5
370016 | Ent Basic-perpetual | 287.5
370017 | Ent Hospital Test System-subs | 30
370018 | Ent Future State Lab-subs | 30
370019 | Ent Critical Alarm Mgmt - Perp | 415
370020 | Ent Critical Alarm Mgmt - Subs | 12.5
374400 | Ent Converge | 1775
350400A | Staff Term Faceplt Bioseal Wht | 55
351310A | Staff Terminal V2-aus (white) | 1885
353000A | Single Pat Stat - Aus (white) | 620
353001A | Enhance Pat Stat - Aus (white) | 712.5
354001WP | Pull-cord Station Water Proof | 172.5
354001WPA | Pull-cord Station Wp Aust | 175
354001WPP | Pull-cord Statin Wp Portuguese | 177.5
354001WPS | Pull-cord Station Wp Spanish | 177.5
354011A | Code Station - Aus (white) | 207.5
354012A | Staff Assist - Aus (white) | 207.5
354016A | Bed Manage Stat - Aus (white) | 287.5
354018A | 2 Jack Station - Aus (white) | 240
366405-1 | All Touch Wire.wkflw #1-25 Bed | 1565
366405-2 | All Touch Wire.wkflw #2-25 Bed | 1565
366408-1 | All Touch Med Devices-25 Beds | 1565
366408-2 | All Touch Med Devices-25 Beds | 1565
AB4487 | Staff Terminal Wall Mtg Plate | 72.5
CC200 | Call Cord W/ Clip - 10ft | 47.5
CCDIN | Call Cord - Din Connector | 60
CCDIN3 | Handheld Pendant W/2 Lights | 120
CLA246 | R5k 4light/6pt Audio Cl | 357.5
CLAR46 | R5k 4 Pt Audio Relay Kit | 110
CLS103 | R5k High Security Cl 3 Lamp | 227.5
CP7385 | Nurse Pushbutton 1/4" Jack | 52.5
DP7380 | Dummy Plug For 1/4 | 10
DTP4401 | Din-to-plug Adapter | 42.5
HSS400 | R5k High Security Audio Bed St | 645
HSS401 | R5k High Security Staff St | 645
HSS433 | R5k High Security Push Btn St | 645
NC2828 | Head-end Equipment Cabinet | 1817.5
NC4JACK | Auxiliary 4 Alarm Input St | 217.5
NCBED | Feature Bed Recep - 37 Pin | 175
NCBED5 | R5 Feature Bed Recep - 37 Pin | 160
NCC37 | Feat. Bed Cable -8ft | 165
NCC37RA | Feat. Bed Cable -right Angle | 165
NCPSDSL2 | R5k Digital Pillow Spkr 2 Lts | 275
NCPSDSTV | R5k Digital Pillow Speaker Tv | 275
NCPSKPL2 | R5k Dir Acc Pillow Spkr 2lts | 295
NCPSKPTV | R5k Direct Acc Pillow Spkr Tv | 287.5
NCSAV | Din Cord Saver | 45
R4K15V | R5k Patient Station 1/4" & Btn | 102.5
R4K17V | R5k Enhancd Sgle Pat Stn Wdin | 155
R4K2JACK | R5k Dual 1/4" Jack Station | 115
R4KANNV2 | R5k Annunciator Panel V2 | 707.5
R4KCAL | R5k Call Assurance Light | 65
R4KCB13 | R5k Code Blue Station | 87.5
R4KCONN6 | R5k 6-pin Connectors - 100 | 402.5
R4KCONN8 | R4k 8-pin Connectors-100 | 595
R4KCRIMP | R5k Crimping Tool | 50
R4KDLC2 | R5k Dual Light Cntl Mod | 107.5
R4KDM22 | R5k Desk Mount Kit Ann Pnl | 155
R4KFAM | R5k Fire/auxiliary Module | 90
R4KFB1 | R5k Feature Bed Interface | 105
R4KHVK | R4k 250v Kit For Nc2828 | 315
R4KKBS | R5k K-bus Splitter | 32.5
R4KKBSP | R5k K-bus Splitter - With Pwr | 37.5
R4KMQCV2 | R5k Marquee Controller V2 | 400
R4KPA25 | R5k Paging Amplifier -25 Watt | 647.5
R4KPB12 | R5k Single Button Station | 75
R4KPB23 | R5k Staff Assist Code Station | 80
R4KRECP | R5k Ann Panel Receptacle | 52.5
R4KSAR | R5k Push For Help St Reg Stn | 85
R4KSLC1 | R5k Single Light Cntl Mod | 65
R4KSPK | R5k Speaker Station | 37.5
R4KSTAC | R5k Test Adapter Cables | 102.5
R4KTVA | R5k Tv Adaptor Kit Qty 10 | 32.5
R4KTVR1 | R5k Digital Tv Isolation Mod | 45
R4KWM22 | R5k Ann Panel Wall Mount Kit | 187.5
R5KAUDPC | R5k Audio Pullcord | 125
R5KCANCEL | R5k Cancel Station | 85
R5KCL506 | R5k Corridor Light Visual 6pt | 155
R5KCL516 | R5k Corridor Light 1 Audio 6pt | 185
R5KCL546 | R5k Corridor Light 4 Audio 6pt | 225
R5KCONS | R5k Voip Nurse Console | 1410
R5KDC016 | R5k Domeless 16pt Visual | 312.5
R5KDC06 | R5k Domeless 6pt Visual | 222.5
R5KDC16D | R5k Domeless Duty 1 Audio 6pt | 270
R5KDC46 | R5k Domeless 4 Audio 6pt | 240
R5KDCRC4 | R5k Relay Output Controler | 95
R5KDCRCS4 | R5k Ss Relay Output Controller | 112.5
R5KDEMOACT | R5k Demo Acute Hospital | 15000
R5KL2KA | R5k L2k Adapter | 437.5
R5KM8PRT | R5k 8-port Ethernet Switch | 850
R5KMADT | R5k Adt Interface | 3612.5
R5KMMWI | R5k Middleware Interface | 4500
R5KMPR15 | R5k 15v Pwr Sply W Bat Backup | 700
R5KMPR36 | R5k 36v Pwr Sply W Bat Backup | 675
R5KMRAPID | R5k Rapid Response Kit | 25000
R5KMREW | R5K EveryWear Interface | 1250
R5KMRPT | R5k Application Module | 8025
R5KMRSI | R5k Resident Safety Interface | 2500
R5KMSC | R5k Main System Controller V2 | 1430
R5KMSCV2 | R5k Main System Controller V2 | 1430
R5KMSIP | R5k Telephony Interface | 5030
R5KMTRM | R5k Termination Board | 142.5
R5KPADP | R5k Adapter Plates (10) | 85
R5KPB4 | R5k 4 Button Workflow Station | 100
R5KPB4CNF | R5k 4 Button Status Station | 97.5
R5KPC11WP | R5k Waterproof Pullcord | 102.5
R5KPC11WPA | R5k Waterproof Plcd Australian | 105
R5KPC11WPP | R5k Waterproof Plcd Portuguese | 105
R5KPC11WPS | R5k Waterproof Pulcord Spanish | 105
R5KPD2A | R5k Dual Patient Station Audio | 147.5
R5KPD2EA | R5k Dual Enhancd Pat Stn Audio | 195
R5KPPS | R5k Pull-push Station | 92.5
R5KPS1A | R5k Single Pat Station Audio | 102.5
R5KPS1EA | R5k Single Enhcd Pat Stn Audio | 140
R5KPS1LCA | R5k Single Pat Stn W Lt Audio | 150
R5KPS1V | R5k Single Patient Stn Visual | 90
R5KSDTY | R5k Duty Station | 102.5
R5KSMST | R5k Marquee Audio Station | 100
R5KSSTF | R5k Staff Station | 85
R5KWARE | R5kware Firmware Diagnostics | 0
SCC-1901-120-U | Call Cord - Din Connector | 60
CAT6 | 4-Pair Cat6 Ethernet cable | 220
60755 | Power Common - #18 AWG | 200
QP | BOTON EN ESPAÑOL | 20
1026-1311 | Alpha 215C LED Sign | 800
lc-050 | LOW VOLTAGE CONTROLLER | 143