## Input for Auto Config
| Input Config Information |  |  | Config Feedback
| System Config/Intergrations/Software |  |  | Number of Stations | 0
| Number of Phone Lines |  |  | Number of NIMs Needed | 0
| Paging? ( y or n) |  |  | Number of Visual and Audio CL/DC Selected | 0
| Pocket Paging ( y or n) |  |  | Number of Audio Stations | 0
| Reporting ( y or n) |  |  | Number of Audio CL/DC Needed | 0
| Battery Back up? ( y or n) |  |  | Number of Audio CL/DC Selected | 0
|  |  |  | Number of Visual CL/DC Needed | 0
|  |  |  | Number of Visual CL/DC Selected | 0
|  |  |  | Number CLAR4s Selected | 0
| Typical Patient Room (Drop Down) | Part Number | Quantity | Total Number of CLs/DCs Selected | 0
Instructions:
1. Make your System/Integration/Software Choices by choosing Yes or No under System Conf/Integrations/Software boxes above.
2. In the Typical Patient Room section, if you have a large number of rooms that have the same exact stations in them, choose each of those items from the Yellow drop-down box and then enter the number of rooms that have this station in the count box. By choosing the station type and entering in a quantity, this will automatically update the Quote Detail tab.
3. For all other rooms or stations, enter/edit the Quantities of each station/device individually in the next sheet, Quote Detail.
4. Based on what you enter in this sheet, the next sheet will auto update.
5. However, use the Column labeled, Enter Qty +/- to add or substract items based on your specific needs. For example, if the Auto Update selects 5 Power Supplies, but you only want 4 in the quote, enter "-1" for that item.

## Quote Detail
European Responder 4000 2016 Estimate Sheet v 4.7 (based on price list effective 9/21/2015) | [11 empty] | Job Name:
Main Equipment | [11 empty] | Distributor Name:
| Date: | [10 empty] | Salesperson:
MANUF. | Part # | Con- 8 | Con- 6 | Description (Items in Purple Automatically Add Quantities in Yellow Column after Completing the Input for Auto Config Tab) | Con- 8 | Con- 6 | Auto | Add or Decrease Quantity after Completing Auto Config (See Input for Auto Config Tab) | Qty | 2016 List Price | Extended List Price | Current (Amps) | Total Current | Shop Hours | Shop Total | Field Hours | Field Total | Notes
RAULAND | NC2828 |  |  | Terminal Cabinet |  |  | 0 |  | 0 | 1407.12 | [5 empty] | 2
" | R4KPR400 |  |  | Power Supply |  |  | 0 |  | 0 | 606.32 | [5 empty] | 1
" | R4KBK400 |  |  | Battery Back-up Module |  |  | 0 |  | 0 | 432.96 |  | 0.1 |  |  |  | 0.5
" | R4KNIM |  |  | Network Interface Module (Can support up to 150 CLs per NIM) |  |  | 0 |  | 0 | 2104.08 |  | 0.5 | 0 |  |  | 6
" | R4KPIP |  |  | Peripheral Interface Port |  |  | 0 |  | 0 | 2126.96 |  | 0.4 | 0 |  |  | 8
" | R4KRSPIP |  |  | Reporting Software Interface & Software (Network) |  |  | 0 |  | 0 | 5865.2 |  | 0.4 | 0 |  |  | 16
" | R4KSPA |  |  | Serial Peripheral Adapter |  |  |  |  | 0 | 390.72 |  | 0.2 | 0
" | R4KPA25 | 2 |  | Paging Amplifier | 0 |  | 0 |  | 0 | 529.76 |  | 2.5 | 0 |  |  | 4
" | R4KPLI | 2 |  | Phone Line Interface | 0 |  | 0 |  | 0 | 2760.56 |  | 1 | 0 |  |  | 6
" | R4KXBA |  |  | X-Bus Adapter |  |  |  |  | 0 | 7417.52 |  | 0.5 | 0 |  |  | 6
" | R4KMQC | 2 |  | Marquee Controller | 0 |  |  |  | 0 | 494.56 |  | 0.3 | 0 |  |  | 2
" | R4KMST | 2 |  | Marquee Speaker Station | 0 |  |  |  | 0 | 115.28 |  | 0.005 | 0 |  |  | 0.35
" | R4KTMB | 8 |  | Termination Board | 0 |  | 0 |  | 0 | 112.64 | [5 empty] | 1
" | R4K4020 | 2 |  | Standard LCD Console (comes with a Receptacle) | 0 | 0 |  |  | 0 | 1298.88 |  | 0.375 | 0 |  |  | 2
" | R4KANN | 2 |  | Annunciate Panel (comes with a Resceptacle) | 0 | 0 |  |  | 0 | 841.28 |  | 0.375 | 0 |  |  | 1
" | R4KRECP | 2 |  | Console Receptacle | 0 | 0 |  |  | 0 | 139.04 | [5 empty] | 0.5
" | R4K11V |  | 2 | Single Patient Station - Visual | 0 | 0 | 0 |  | 0 | 67.76 |  | 0.002 | 0 |  |  | 0.35
" | R4K12A | 2 |  | Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 73.92 |  | 0.005 | 0 |  |  | 0.35
" | R4K12AHZ | 2 |  | Horizontal Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 76.56 |  | 0.005 | 0 |  |  | 0.35
" | R4K13VA | 2 |  | Enhanced Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 147.84 |  | 0.025 | 0 |  |  | 0.35
" | R4K13VAHZ | 2 | 2 | Horizontal Enh Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 149.6 |  | 0.025 | 0 |  |  | 0.35
" | R4K14SA | 2 | 2 | Single Patient w/ Staff Emer | 0 | 0 | 0 |  | 0 | 95.04 |  | 0.018 | 0 |  |  | 0.35
" | R4K16LV |  | 2 | Enhanced Single Patient Station - Visual | 0 | 0 | 0 |  | 0 | 118.8 |  | 0.015 | 0 |  |  | 0.35
" | R4K21V | 4 |  | Dual Patient Station - Visual | 0 | 0 | 0 |  | 0 | 89.76 |  | 0.004 | 0 |  |  | 0.35
" | R4K22A | 2 | 2 | Dual Patient Station - Audio | 0 | 0 | 0 |  | 0 | 96.8 |  | 0.007 | 0 |  |  | 0.35
" | R4K23VA | 4 |  | Enhanced Dual Patient Station - Audio | 0 | 0 | 0 |  | 0 | 184.8 |  | 0.03 | 0 |  |  | 0.35
" | HSS400 | 2 |  | High Security Audio Bed Station | 0 | 0 | 0 |  | 0 | 565.84 |  | 0.01 | 0 |  |  | 0.35
" | HSS401 | 2 |  | High Security Staff Station | 0 | 0 | 0 |  | 0 | 568.48 |  | 0.008 | 0 |  |  | 0.35
" | HSS433 |  | 2 | High Security Push Button Station | 0 | 0 | 0 |  | 0 | 568.48 |  | 0.015 | 0 |  |  | 0.35
" | R4KFB1 | 2 | 2 | Feature Bed Interface | 0 | 0 | 0 |  | 0 | 132.88 |  | 0.075 | 0 |  |  | 0.05
" | R4KSLC1 |  | 3 | Single Light Control Module | 0 | 0 | 0 |  | 0 | 71.28 |  | 0.013 | 0 |  |  | 0.05
" | R4KDLC2 |  | 4 | Dual Light Control Module | 0 | 0 | 0 |  | 0 | 131.12 |  | 0.023 | 0 |  |  | 0.05
" | R4KSTR |  |  | Strain Relief Kit |  |  | 0 |  | 0 | 39.6 | [5 empty] | 0.05
" | R4KSS | 2 |  | Staff Station | 0 | 0 | 0 |  | 0 | 74.8 |  | 0.005 | 0 |  |  | 0.35
" | R4KDY | 2 | 2 | Duty Station | 0 | 0 | 0 |  | 0 | 103.84 |  | 0.012 | 0 |  |  | 0.35
" | R4KESR |  | 2 | Emergency/Staff Registration Station | 0 | 0 | 0 |  | 0 | 76.56 |  | 0.007 | 0 |  |  | 0.35
" | R4KCNCL |  | 2 | Cancel Station | 0 | 0 | 0 |  | 0 | 59.84 | [5 empty] | 0.35
" | R4KCB12 |  | 2 | Code Blue Station | 0 | 0 | 0 |  | 0 | 71.28 |  | 0.017 | 0 |  |  | 0.35
" | R4KCSC |  |  | Clear Station Cover |  |  | 0 |  | 0 | 50.16 | [5 empty] | 0.35
" | R4KPB11 |  | 2 | Single Push Button -Push for Help | 0 | 0 | 0 |  | 0 | 66 |  | 0.004 | 0 |  |  | 0.35
" | R4KPC10 |  | 2 | Pull Cord Station | 0 | 0 | 0 |  | 0 | 61.6 |  | 0.002 | 0 |  |  | 0.35
" | R4KPB22 |  | 2 | Dual Push Button Station | 0 | 0 | 0 |  | 0 | 80.96 |  | 0.017 | 0 |  |  | 0.5
" | R4KPB44 |  | 4 | Four Button Status Station | 0 | 0 | 0 |  | 0 | 92.4 |  | 0.014 | 0 |  |  | 0.5
" | R4KSR1 |  | 2 | Staff Register Station | 0 | 0 | 0 |  | 0 | 56.32 |  | 0.002 | 0 |  |  | 0.35
" | CLV122 | 2 |  | Visual 2-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 171.6 |  | 0.022 | 0 |  |  | 0.75
" | CLV144 | 2 |  | Visual 4-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 197.12 |  | 0.032 | 0 |  |  | 0.75
" | DCV100 | 2 |  | Visual Domeless Controller - 6 pt | 0 | 0 | 0 |  | 0 | 194.48 |  | 0.012 | 0 |  |  | 0.75
" | DCV116 | 2 |  | Visual Domeless Controller - 16 pt | 0 | 0 | 0 |  | 0 | 280.72 |  | 0.012 | 0 |  |  | 1
" | CLA222 | 2 |  | Audio 2-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 238.48 |  | 0.068 | 0 |  |  | 0.75
" | CLA244 | 2 |  | Audio 4-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 296.56 |  | 0.078 | 0 |  |  | 0.75
" | CLA214D | 2 |  | Audio 4-Bulb Duty Corridor Light | 0 | 0 | 0 |  | 0 | 331.76 |  | 0.098 | 0 |  |  | 0.75
" | DCA200 | 2 |  | Audio Domeless Controller - 6 pt | 0 | 0 | 0 |  | 0 | 251.68 |  | 0.038 | 0 |  |  | 0.75
" | DCA214D | 2 |  | Audio Duty Domeless Controller - 6 pt | 0 | 0 | 0 |  | 0 | 278.96 |  | 0.058 | 0 |  |  | 0.75
" | DCA216 | 2 |  | Audio Domeless Controller - 16 pt | 0 | 0 | 0 |  | 0 | 315.04 |  | 0.038 | 0 |  |  | 1
" | CLAR4 |  |  | Four Station Audio Relay Kit |  |  | 0 |  | 0 | 91.52 |  | 0.032 | 0 |  |  | 0.25
" | R4KOUT4R |  | 2 | Visual Relay Output Control | 0 | 0 | 0 |  | 0 | 74.8 |  | 0.032 | 0 |  |  | 0.25
" | R4KOUT4S |  | 2 | Audio Solid State Relay Output Control | 0 | 0 | 0 |  | 0 | 89.76 |  | 0.021 | 0 |  |  | 0.25
" | R4KWM11 |  |  | Wall Mount Kit for LCD Console |  |  |  |  | 0 | 253.44 | [5 empty] | 1
" | R4KWM22 |  |  | Wall Mount Kit for Annunciate Panel |  |  |  |  | 0 | 254.32 | [5 empty] | 1
" | R4KDM22 |  |  | Desk Mount Kit |  |  |  |  | 0 | 110.88 | [5 empty] | 1
" | R4KCONN6 |  |  | 6-Pin connectors (Bag of 100) |  | 0 | 0 |  | 0 | 336.16
" | R4KCONN8 |  |  | 8-Pin connectors (Bag of 100) | 0 |  | 0 |  | 0 | 358.16
" | R4KTVA | 2 |  | TV Adapter pigtail kit (Set of 10) | 0 |  | 0 |  | 0 | 52.8 | [5 empty] | 0.25
" | R4KTVR1 | 2 |  | Digital TV Isolation Module | 0 | 0 | 0 |  | 0 | 54.56 |  | 0.015 | 0 |  |  | 0.25
" | R4KKBS | 3 |  | K-Bus Splitter | 0 | 0 |  |  | 0 | 38.72 | [5 empty] | 0.25
" | R4KKBSP | 3 |  | K-Bus Splitter w/ Power | 0 | 0 |  |  | 0 | 41.36 | [5 empty] | 0.25
" | R4KFAM |  | 2 | Fire/Auxiliary Module | 0 | 0 |  |  | 0 | 99.44 |  | 0.03 | 0 |  |  | 0.25
" | R4KCAL |  | 2 | Call Assurance Light | 0 | 0 | 0 |  | 0 | 65.12 |  | 0.005 | 0 |  |  | 0.35
" | R4KCRIMP |  |  | Responder 4000 Crimp Tool |  |  |  |  | 0 | 68.64 |  |  | 0
" | [8 empty] | 0 | 0 |  |  | 0
" | [8 empty] | 0 | 0 |  |  | 0
" | [8 empty] | 0 | 0 |  |  | 0
MANUF. | Part # |  |  | Responder 4000 SLIM Stations |  |  |  |  | Qty | 2016 List Price | Extended List Price | Current (Amps) | Total Current | Shop Hours | Shop Total | Field Hours | Field Total | Notes
RAULAND | R4K15V |  | 4 | SLIM 1/4" Jack / Button St | 0 | 0 | 0 |  | 0 | 78.32 |  | 0.007 | 0 |  |  | 0.35
" | R4K17V |  | 2 | SLIM Enh Single Call St | 0 | 0 | 0 |  | 0 | 146.96 |  | 0.025 | 0 |  |  | 0.35
" | R4K2JACK |  | 4 | SLIM Dual 1/4" Jack St | 0 | 0 | 0 |  | 0 | 84.48 |  | 0.007 | 0 |  |  | 0.35
" | R4KCB13 |  | 2 | SLIM Code Button St | 0 | 0 | 0 |  | 0 | 71.28 |  | 0.017 | 0 |  |  | 0.35
" | R4KDTY2 | 2 | 2 | SLIM Duty St w/ Speaker | 0 | 0 | 0 |  | 0 | 103.84 |  | 0.012 | 0 |  |  | 0.35
" | R4KPB12 |  | 2 | SLIM Single Button St | 0 | 0 | 0 |  | 0 | 66.88 |  | 0.004 | 0 |  |  | 0.35
" | R4KPB23 |  | 2 | SLIM Dual Button w/ Code St | 0 | 0 | 0 |  | 0 | 79.2 |  | 0.017 | 0 |  |  | 0.5
" | R4KPC11 |  | 2 | SLIM Pull Cord St | 0 | 0 | 0 |  | 0 | 61.6 |  | 0.002 | 0 |  |  | 0.35
" | R4KSAR |  | 2 | SLIM Dual Button St | 0 | 0 | 0 |  | 0 | 74.8 |  | 0.007 | 0 |  |  | 0.5
" | R4KSPK | 2 |  | SLIM Speaker Module | 0 | 0 | 0 |  | 0 | 24.64 | [5 empty] | 0.35
" | 350008 |  |  | Clear Station Cover (SLIM & R5) |  |  |  |  | 0 | 52.8 | [5 empty] | 0.35
[10 empty] | Total Main Equipment | 0 | Amps --> | 0 | Hours --> | 0 | Hours --> | 0
Responder 4000 Estimate Sheet | [10 empty] | Job Name:
Accessory Items | [10 empty] | System:
| DATE: | [9 empty] | Salesperson:
MANUF. | Part # |  |  | Description |  |  |  |  | Qty | 2016 List Price | Extended List Price |  |  | Shop Hours | Shop Total | Field Hours | Field Total | Notes
RAULAND | NCESTV |  |  | Pillow Speaker - TV |  |  | 0 |  | 0 | 136.4 | [5 empty] | 0.1
" | NCESSL1 |  |  | Pillow Speaker - TV, Light |  |  | 0 |  | 0 | 140.8 | [5 empty] | 0.1
" | NCESDL2 |  |  | Pillow Speaker - TV, Light1, Light 2 |  |  | 0 |  | 0 | 143 | [5 empty] | 0.1
" | NCPSDSL2 |  |  | Digital Pillow Speaker, 2 Lts |  |  | 0 |  | 0 | 202.4 | [5 empty] | 0.1
" | NCPSDSTV |  |  | Digital Pillow Speaker, TV |  |  | 0 |  | 0 | 198 | [5 empty] | 0.1
" | NCPSKPL2 |  |  | Direct Access Digital PS, 2 Lt |  |  | 0 |  | 0 | 242 | [5 empty] | 0.1
" | NCPSKPTV |  |  | Direct Access Digital PS, TV |  |  |  |  | 0 | 242 | [5 empty] | 0.1
" | NCSAV |  |  | DIN Cord Saver |  |  | 0 |  | 0 | 35.2 | [5 empty] | 0.1
" | CCDIN3 |  |  | Handheld Pendent - 2 Lights (8-pin DIN) |  |  | 0 |  | 0 | 97.68 | [5 empty] | 0.1
" | CCDIN |  |  | Call Cord - Single w/ Clip (10 ft.) |  |  | 0 |  | 0 | 44.88 | [5 empty] | 0.1
" | CC200 |  |  | Call Cord - 1/4" Jack Call Cord w/ Clip (10ft.) |  |  | 0 |  | 0 | 36.96 | [5 empty] | 0.1
" | NC4JACK |  |  | 1/4" Jack Auxiliary Input Station |  |  | 0 |  | 0 | 163.68 | [5 empty] | 0.5
" | NCBED |  |  | 37-pin Feature Bed Receptacle |  |  |  |  | 0 | 112.2 | [5 empty] | 0.5
" | NCC37 |  |  | 37-pin Feature Bed Cable |  |  |  |  | 0 | 138.6 | [5 empty] | 0.5
" | NCC37RA |  |  | 37-pin Feature Bed Cable -Right Angle |  |  |  |  | 0 | 138.6 | [5 empty] | 0.5
" | NCLV120 |  |  | Low Voltage Lighting Control 120V |  |  | 0 |  | 0 | 180.4 | [5 empty] | 0.5
INOVONICS | FA464DR |  |  | 16-Output / 64-Transmitter Receiver |  |  |  |  | 0 | www.inovonics.com | [5 empty] | 1
INOVONICS | FA203S |  |  | Wireless Pendant Transmitter - Single Button |  |  |  |  | 0 | www.inovonics.com | [5 empty] | 0.25
INOVONICS | PS12 |  |  | 12VDC Power Supply |  |  |  |  | 0 | www.inovonics.com | [5 empty] | 0.5
RAULAND | CM300 |  |  | Chassis Fault Monitor |  |  |  |  | 0 | 308 | [5 empty] | 0.5
" | PM300 |  |  | Power Fault Monitor |  |  |  |  | 0 | 290.4 | [5 empty] | 0.5
" | 350011 |  |  | Bio-seals - Cancel Button (10) -- SLIM ONLY |  |  |  |  | 0 | 21.12 | [5 empty] | 0.5
" | 350012 |  |  | Bio-seals-Small Push Button (10) -- SLIM ONLY |  |  |  |  | 0 | 22.88 | [5 empty] | 0.5
" | 350013 |  |  | Bio-seals Large Push Button (10) -- SLIM ONLY |  |  |  |  | 0 | 31.68 | [5 empty] | 0.5
" | [8 empty] | 0 | 0 | [5 empty] | 0.5
" | [8 empty] | 0 | 0 | [5 empty] | 0.5
" | [8 empty] | 0 | 0
" | [8 empty] | 0 | 0
" | [8 empty] | 0 | 0
[10 empty] | Total Accessories | 0 |  |  | Hours --> | 0 | Hours --> | 0
Responder 4000 Estimate Sheet | [10 empty] | Job Name:
Cable | [10 empty] | System:
| DATE: | [9 empty] | Salesperson:
MANUF. | Part # |  |  | Description |  |  |  |  | Qty | Distributor Cable Cost per 1000' | Distributor Extended Cable Cost |  |  |  |  | Cable Labor Hours | Cable Labor Total Hrs | Notes
|  |  |  | 4-Pair Cat5 Ethernet cable estimate (50ft/Room Device) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Ethernet cable Estimate (250ft/Console) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Ethernet cable (400ft/NIM) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Ethernet cable (30ft/Corridor Light/Domeless Controller) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | Power Common - #12 AWG | [11 empty] | 8
|  |  |  | Power Common - #14 AWG |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable estimate (50ft/Room Device) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable Estimate (250ft/Console) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable (400ft/BRC) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable (30ft/Corridor Light/Domeless Controller) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat6 Plenum Ethernet cable | [11 empty] | 8
8
[10 empty] | Total Cable, Etc. | 0 |  |  | Hours --> | 0 | Hours --> | 0
Responder 4000 Estimate Sheet | [10 empty] | Job Name:
Summary | [10 empty] | System:
| DATE: | [9 empty] | Salesperson:
[14 empty] | Shop Hours |  | Field Hours
[10 empty] | Total Cable Cost | 0 |  |  |  |  | Hours --> | 0 | <-- Hours rounded to 8
[10 empty] | Total Accessories | 0 |  |  | Hours --> | 0 | Hours --> | 0
[10 empty] | Total Main Equipment | 0 |  |  | Hours --> | 0 | Hours --> | 0
[14 empty] | Hours --> | 0 | Hours --> | 0 | <-- Hours rounded to 8
[17 empty] | 0 | <-- Total Hours
Selling Price Summary
[10 empty] | List Price | Discount | Selling Price
[9 empty] | Equipment | 0 | 0.1 | 0
[9 empty] | Cable | 0 | 0 | 0
[9 empty] | Total --> |  |  | 0
[11 empty] | Total Selling Price Euros --> | 0
Notes:
1. All prices are Suggested List Price Euros.
2. Station counts and placement are best guess based on provided drawings/information. Final count should be made based on a walk through of the facility.
3. No back boxes for stations have been included in quote.
4. Only labor hour estimates based on equipment install time only is included. Actual labor may also include installation of back boxes, roughing in boxes and any additional work that may be necessary.
5. Cable length estimates are best guess based on provided drawings/information.
Note on I10: From the tab, Input for Auto Config, select Yes from drop down if Reporting SW and R4KRSPIP is needed.

## 2016eu (hidden)
301103 | Universal Wireless Wall Unit | 60 | 287.76
301200 | Wireless Bed Unit-Socket (HR) | 60 | 301.84
301210 | Wireless Bed Unit-Plug (Stryker) | 60 | 301.84
301300 | Wireless Bed Interface-Demo | 12 | 852.72
350000 | Demonstration Unit | 12 | 27060
350002 | L-net T-tap Module (25) | 0 | 524.48
350003 | L-net Term Resistor (10) | 12 | 451.44
350004 | L-net Hub | 60 | 249.04
350005 | M-net Divider Interface | 60 | 51.92
350006 | Crimping Tool Adapter | 12 | 67.76
350007 | Station Removal Tool | 12 | 33.44
350008 | Clear Station Cover | 18 | 52.8
350009 | 351003 Battery Kit | 12 | 92.4
350011 | Overlay Kit Cancel Button (10) | 0 | 21.12
350012 | Overlay Kit Sm Push Button(10) | 0 | 22.88
350013 | Overlay Kit Lg Push Button(10) | 0 | 31.68
350014 | Overlay Kit Left Side Stn (10) | 0 | 31.68
350015 | Overlay Kit Right Side Stn(10) | 0 | 31.68
350016 | Overlay Kit Staff Term Lcd (5) | 0 | 62.48
350017 | L-net T-tap Insulator (25) | 12 | 36.96
350018 | 8pn Inlinecon Cat-5 Cat-6(100) | 12 | 286.88
350019 | Responder 5 L-net Test Adapter | 18 | 57.2
350022 | Clear Button Cover For 353001 | 18 | 36.08
350023 | Clear Button Cover-4 Button S | 0 | 51.92
350024 | Pillow Spker Cord Grip Kit 20 | 0 | 67.76
350025 | 3-gang Adapter Plates (10) | 12 | 60.72
350026 | 1-gang Adapter Plates (10) | 12 | 44.88
350030 | Demo Panel Large R5 | 0 | 1773.2
350031 | Demo Panel Small R5 | 0 | 1575.2
350100 | Call Cord W/tilt Release Din | 12 | 65.12
350200 | Enhncd Pillow Spkr-tv-digi Vol | 24 | 270.16
350201 | Enhncd Pillowspkr-1lgt-digivol | 24 | 270.16
350202 | Enhncd Pillowspkr-2lgt-digivol | 24 | 270.16
350205 | Enhncd Pillow Spkr-tv-anlgvol | 24 | 270.16
350206 | Enhanced Pillow Spkr 1 Light | 24 | 270.16
350207 | Enhncd Pillowspkr 2 Lgt-anlgvo | 24 | 270.16
350220 | Std Pillow Spkr-tv-digi Vol | 24 | 263.12
350221 | Std Pillow Spkr-1 Lgt-digi Vol | 24 | 263.12
350222 | Std Pillowspkr-2 Lgt-digi Vol | 24 | 263.12
350225 | Std Pillow Spkr-tv-anlg Vol | 24 | 263.12
350226 | Std Pillowspkr-1 Lgt-anlg Vol | 24 | 263.12
350227 | Std Pillowspkr-2 Lgt-anlg Vol\ | 24 | 263.12
350240 | Basic Pillow Speaker-tv | 24 | 180.4
350241 | Basic Pillow Speaker-1 Light | 24 | 165
350242 | Basic Pillow Speaker-2 Lights | 24 | 180.4
350300 | Remote Tilt Release Din Stn | 60 | 168.96
350301 | Remote Std 8-pin Din Station | 60 | 176
350302 | Feature Bed Control Module | 60 | 154.88
351000 | Branch Regional Controller | 60 | 1594.56
351001 | Branch Regional Controller V2 | 60 | 1460.8
351002 | Responder Ntwrk Adapter Module | 60 | 9696.72
351003 | Power Supply W/batt. Backup | 60 | 1082.4
351004 | 8 Port Ethernet Switch W/poe | 60 | 959.2
351006 | Fiber Optic Adapter Module | 60 | 427.68
351010 | Responder Network Concentrator | 60 | 10147.28
351101 | Rack Mount Kit For Switches | 60 | 90.64
351102 | Wall Mounting Cabinet-head-end | 60 | 958.32
351200 | Voip Nurse Console | 60 | 1767.92
351201 | Console Receptacle | 60 | 71.28
351203 | Console Desk Stand | 0 | 132
351205 | VoIP Nurse Console V2 | 60 | 1767.92
351300 | VoIP Staff Terminal | 60 | 1369.28
351310 | VoIP Staff Terminal V2 | 60 | 1369.28
352000 | Corridor Light - 4 Pos | 60 | 513.04
352004 | Mini-corridor Light | 60 | 139.04
352010 | Corridor Light - 4 Pos V2 | 60 | 513.04
352020 | Domeless Controller | 60 | 513.04
352021 | Domeless Controller v2 | 60 | 513.04
353000 | Single Patient Station | 60 | 451.44
353001 | Enhanced Single Patient Stn | 60 | 513.04
353010 | Dual Patient Station | 60 | 548.24
353100 | Duty Station | 60 | 443.52
353101 | Staff Station | 60 | 432.08
353200 | Remote Audio Output Station | 60 | 337.92
353201 | Remote Audio Output Module | 60 | 264.88
354000 | Pull-cord Station With Audio | 60 | 302.72
354001 | Pull-cord Station | 60 | 125.84
354002 | Pull-cord Stn W/call Button | 60 | 183.04
354010 | Cancel Station | 60 | 142.56
354011 | Code Station | 60 | 142.56
354012 | Staff Assist Station | 60 | 142.56
354015 | Staff Assist / Code Station | 60 | 147.84
354016 | Bed Management Station | 60 | 189.2
354017 | Staff Registration Station | 60 | 188.32
354018 | 2-jack Station | 60 | 168.96
354100 | Input Module - 2 Point | 60 | 140.8
354101 | Output Module-high Current | 60 | 196.24
354102 | Output Module-Dry Contact | 60 | 154.88
354103 | Output Module-Low Current | 60 | 156.64
355000 | R5ware Firmware Diagnostics | 12 | -
355001 | Interface-Pocket Page-25 Beds | 12 | 1941.28
355002 | Interface-Telephone-25 Beds | 12 | 1941.28
356000 | Responder 5 Demo Laptop | 0 | 7491
366102 | PC Console (R5 Apps) - 25 Beds | 12 | 1941.28
366104 | Staff Assignment Client-25 Beds | 12 | 1941.28
366200 | Reports Manager - 25 Beds | 12 | 1941.28
366401 | Interface-Location (RTLS)-25 Beds | 12 | 1941.28
366402 | Interface-HL7(ADT)-25 Beds | 12 | 1941.28
366403 | Interface-Resp Sync-25 Beds | 12 | 1941.28
366404 | All Touch EMR - 25 beds | 12 | 1941.28
366405 | All Touch Wireless Workflow - 25 Beds | 12 | 970.64
366409 | All Touch Bed Info - 25 Beds | 12 | 970.64
351300A | Staff Terminal - Aus | 60 | 1410.2
353000A | Single Patient Station - Aus | 60 | 470.8
353001A | Enhanced Patient Station - Aus | 60 | 543.4
353001F | Enhanced Single Patient Stn - French | 60 | 521.4
354000F | Pull-cord Station with Audio - French | 60 | 308
354001F | Pull-cord Station - French | 60 | 127.6
354011A | Code Station - Aus | 60 | 158.4
354012A | Staff Assist - Aus | 60 | 158.4
354012F | Staff Assist Station - French | 60 | 151.8
354015F | Staff Assist / Code Station - French | 60 | 145.2
354016A | Bed Management Station - Aus | 60 | 220
354018A | 2 Jack Station - Aus | 60 | 182.6
CC200 | Call Cord w/Clip - 10FT | 18 | 36.96
CCDIN | Call Cord - Din Connector | 24 | 44.88
CCDIN3 | Handheld Pendant W/2 Lights | 12 | 97.68
CCO-10 | Call Cord - Oxy/Ger Type | 18 | 133.76
CLA214D | R4k 4 Bulb Audio Duty Cl | 60 | 331.76
CLA222 | R4k 2 Bulb/6 Pt Audio Cl | 60 | 238.48
CLA244 | R4k 4 Bulb/6 Pt Audio Cl | 60 | 296.56
CLAR4 | R4k 4 Pt Audio Relay Kit | 60 | 91.52
CLS103 | 3 Lamp High Security Dome Lite | 12 | 178.64
CLV122 | R4k 2 Bulb/6 Pt Visual Cl | 60 | 171.6
CLV144 | R4k 4 Bulb/6 Pt Visual Cl | 60 | 197.12
CLV144W | R4k 4 Bulb/6pt Visual Canada | 60 | 255.2
CM300 | Chassis Fault Monitor | 18 | 308
CP7385 | Pushbutton for 1/4" Jack | 18 | 41.8
DCA200 | R4k Audio 6 Pt Domeless Cntl | 60 | 251.68
DCA214D | R4k Audio Domeless Duty Cntl | 60 | 278.96
DCA216 | R4k 16 Pt Audio Domeless Cntl | 60 | 315.04
DCV100 | R4k 6 Pt Visual Domeless Cntl | 60 | 194.48
DCV116 | R4k 16 Pt Visual Domeless Cntl | 60 | 280.72
DP300 | Dummy Plug for DIN Jacks | 18 | 6.6
DP7380 | Dummy Plug for 1/4 | 18 | 6.6
DTP4401 | DIN-to-Plug Adapter | 18 | 33
HSS400 | R4k High Security Audio Bed St | 60 | 565.84
HSS401 | R4k High Security Staff St | 60 | 568.48
HSS433 | R4k High Security Push Btn St | 60 | 568.48
NC2828 | Head-End Equipment Cabinet | 60 | 1407.12
NC4JACK | Auxiliary 4 Alarm Input Station | 18 | 163.68
NCBACB | RIV Code Blue St - Supervised | 60 | 228.8
NCBBK | Riv Battery Back-up Unit | 60 | 613.8
NCBED | Feature Bed Receptacle - 37 pin | 18 | 112.2
NCBED5 | R5 Feature Bed Recep - 37 Pin | 18 | 136.4
NCBSD2 | Riv Dual Ent/hr Bed St | 60 | 719.4
NCBSPLIT2 | 1 To 2 Control St Splitter | 60 | 77
NCBSS1 | Riv Single Ent/hr Bed St | 60 | 651.2
NCC37 | Feature Bed Cable - 8ft | 18 | 138.6
NCC37RA | Feature Bed Cable - Right Angle | 18 | 138.6
NCCNCLST | Riv Cancel Station (srs3) | 60 | 246.4
NCDPB2 | Dual Push Button St | 60 | 176
NCDUTY | Riv Duty St | 60 | 734.8
NCESDL2 | Ent Spkr - Tv, Lt 1 & 2 | 18 | 143
NCESSL1 | Ent Spkr - Tv, Lt | 18 | 140.8
NCESTV | Ent Spkr - Tv | 18 | 136.4
NCFAM | Riv Fire/auxiliary Alarm Mod | 60 | 140.8
NCGCM | Riv Group Control Module | 60 | 6424
NCJBUSTESTER | Riv J-bus Signal Tester | 60 | 499.4
NCJDROP | Riv J-bus Interface W/ S-bus | 60 | 132
NCJSOLO | Riv J-bus Interface No S-bus | 60 | 88
NCLCD | Riv Lcd Master | 60 | 5588
NCLED6 | Riv 6 Led Cl | 60 | 193.6
NCLV120 | Low Volt Lt Control - 120V | 18 | 180.4
NCLV240 | Low Volt Lt Control - 240V | 18 | 180.4
NCNSCB | Riv Code St - Non-supervised | 60 | 235.4
NCONBLUE | Riv Connector Kit | 18 | 655.6
NCPBPH | Riv Single Push For Help St | 60 | 165
NCPCS1 | Riv Pull Cord St | 60 | 171.6
NCPSDSL2 | Digital Pillow Speaker, 2 Lt | 24 | 202.4
NCPSDSTV | Digital Pillow Speaker, TV | 24 | 198
NCPSKPL2 | Direct Access Digital PS, 2 Lt | 24 | 242
NCPSKPTV | Direct Access Digital PS, TV | 24 | 242
NCPROG | Riv Programming Interface Mod | 60 | 2338.6
NCPWR | Riv Floor Power Supply | 60 | 1896.4
NCRECP | Riv Console Receptacle | 60 | 253
NCRMD2 | Riv Dual Relay Isolation Mod | 60 | 415.8
NCRMS1 | Riv Sgl Relay Isolation Mod | 60 | 279.4
NCSAV | DIN Cord Saver | 18 | 35.2
NCSPB1 | Riv Single Staff Assist St | 60 | 169.4
NCSRS3 | Riv Staff Register Station | 60 | 279.4
NCSSPLIT4 | 1 To 4 Sub-station Splitter | 60 | 79.2
NCSTAFF | Riv Staff Station | 60 | 618.2
NCTSPLIT3 | Control / Sub Station Splitter | 60 | 132
NCTVD2 | Dual Bed Dig Tv Isolation Mod | 18 | 127.6
NCTVS1 | Sngl Bed Dig Tv Isolation Mod | 18 | 81.4
NCUINT | Riv Universal Interface Mod | 60 | 688.6
NCUS1 | Non-audio Universal St Mod | 60 | 292.6
NCXBUSTESTER | Riv X-bus Signal Tester | 60 | 275
PM300 | Power Fault Monitor | 18 | 290.4
R4K11V | R4k Visual Single Call St | 60 | 67.76
R4K12A | R4k Audio Single Call St | 60 | 73.92
R4K12AHZ | R4k Horiz'l Single Audio St | 60 | 76.56
R4K13VA | R4k Enh Audio Single Call St | 60 | 147.84
R4K13VAHZ | R4k Horiz'l Enh Sgle Audio St | 60 | 149.6
R4K14SA | R4k Single Call St - W/emer | 60 | 95.04
R4K15V | R4k Slim 1/4" Jack & Button St | 60 | 78.32
R4K16LV | R4k Sgl Visual Lgt Ctl Call St | 60 | 118.8
R4K17V | R4k Slim Enh Single Call St | 60 | 146.96
R4K18A | R4k Mult Btn Stn For Export | 60 | 138.6
R4K21V | R4k Dual Visual Call St | 60 | 89.76
R4K22A | R4k Dual Audio Call St | 60 | 96.8
R4K23VA | R4k Enh Dual Audio Call St | 60 | 184.8
R4K2JACK | R4k Slim Dual 1/4" Jack St | 60 | 84.48
R4K4020 | R4k Lcd Console | 60 | 1298.88
R4KANN | R4k Annunciator Panel | 60 | 841.28
R4KANNV2 | R4k Annunciator Panel v2 | 60 | 841.28
R4KBK400 | R4k Battery Back-up Kit | 60 | 432.96
R4KCAL | R4k Call Assurance Light | 60 | 65.12
R4KCB12 | R4k Code Button Station | 60 | 71.28
R4KCB13 | R4k Slim Code Button St | 60 | 71.28
R4KCNCL | R4k Cancel Station | 60 | 59.84
R4KCONN6 | R4k 6-pin Connectors - 100 | 18 | 336.16
R4KCONN8 | R4k 8-pin Connectors - 100 | 18 | 358.16
R4KCRIMP | R4k Crimping Tool | 60 | 68.64
R4KCSC | R4k Clear Station Cover | 18 | 50.16
R4KDEMOSL | R4k Slim Demonstration Unit | 18 | 9708.16
R4KDLC2 | R4k Dual Light Cntl Mod | 60 | 131.12
R4KDM22 | R4k Desk Mount Kit | 60 | 110.88
R4KDTY2 | R4k Slim Duty St | 60 | 103.84
R4KDY | R4k Duty Station | 60 | 103.84
R4KESR | R4k Emer / Staff Register St | 60 | 76.56
R4KFAM | R4k Fire/auxiliary Module | 60 | 99.44
R4KFB1 | R4k Feature Bed Interface | 60 | 132.88
R4KHVK | R4k 250v Kit For Nc2828 | 0 | 247.28
R4KKBS | R4k K-bus Splitter | 60 | 38.72
R4KKBSP | R4k K-bus Splitter - With Pwr | 60 | 41.36
R4KMQC | R4k Marquee Controller | 60 | 494.56
R4KMQCV2 | R4k Marquee Controller v2 | 60 | 508.2
R4KMST | R4k Marquee Speaker St W/mute | 60 | 115.28
R4KNIM | R4k Network Interface Module | 60 | 2104.08
R4KOUT4R | R4k Visual Relay Output Cntl | 60 | 74.8
R4KOUT4S | R4k Audio Ss Output Cntl | 60 | 89.76
R4KPA25 | R4k Paging Amplifier -25 Watt | 60 | 529.76
R4KPB11 | R4k Push For Help Button St | 60 | 66
R4KPB12 | R4k Slim Single Button St | 60 | 66.88
R4KPB22 | R4k Dual Push Button St | 60 | 80.96
R4KPB23 | R4k Slim Dual Button W/code St | 60 | 79.2
R4KPB44 | R4k Four Button Status St | 60 | 92.4
R4KPC10 | R4k Pull Cord St | 60 | 61.6
R4KPC10P | R4k Pullcord Station Portugese | 60 | 61.6
R4KPC10S | R4k Pull Cord St Spanish | 60 | 61.6
R4KPC11 | R4k Slim Pull Cord St | 60 | 61.6
R4KPC11F | R4k Slim French Pull Cord St | 60 | 61.6
R4KPIP | R4k Peripheral Interface Port | 60 | 2126.96
R4KPLI | R4k Phone Line Interface | 60 | 2760.56
R4KPR400 | R4k Power Supply | 60 | 606.32
R4KRECP | R4k Console Receptacle | 60 | 139.04
R4KRSPIP | R4k Reporting Sftw Interface | 60 | 5865.2
R4KSAR | R4k Slim Dual Push Button St | 60 | 74.8
R4KSLC1 | R4k Single Light Cntl Mod | 60 | 71.28
R4KSPA | R4k Serial Peripheral Adapter | 60 | 390.72
R4KSPK | R4k Slim Speaker Station | 60 | 24.64
R4KSR1 | R4k Staff Register St | 60 | 56.32
R4KSS | R4k Staff Station | 60 | 74.8
R4KSTAC | R4k Test Adapter Cables | 60 | 90.64
R4KSTR | R4k Strain Relief Kit | 18 | 39.6
R4KTMB | R4k K-bus Termination Board | 60 | 112.64
R4KTVA | R4k Tv Adaptor Kit Qty 10 | 60 | 52.8
R4KTVR1 | R4k Digital Tv Isolation Mod | 60 | 54.56
R4KWARE | R4k System Software Cd-rom | 60 | 1195.92
R4KWM11 | R4k Console Wall Mount Kit | 18 | 253.44
R4KWM22 | R4kann Wall Mount Kit | 18 | 254.32
R4KXBA | R4k X-bus Adapter | 60 | 7417.52
RAM1 | Relay Module | 18 | 32.56
RIM100 | Relay Isolation Module | 18 | 88.88
RS505 | Speaker Adapter Module | 18 | 58.08

## DropDowns (hidden)
R4K11V - Single Patient Station - Visual | R4K11V | Yes
R4K12A - Single Patient Station - Audio | R4K12A | No | 10
R4K12AHZ - Horizontal Single Patient Station - Audio | R4K12AHZ |  | 20
R4K13VA - Enhanced Single Patient Station - Audio | R4K13VA |  | 30
R4K13VAHZ - Horizontal Enh Single Patient Station - Audio | R4K13VAHZ |  | 40
R4K14SA - Single Patient w/ Staff Emer | R4K14SA |  | 50
R4K16LV - Enhanced Single Patient Station - Visual | R4K16LV |  | 60
R4K21V - Dual Patient Station - Visual | R4K21V |  | 70
R4K22A - Dual Patient Station - Audio | R4K22A |  | 80
R4K23VA - Enhanced Dual Patient Station - Audio | R4K23VA |  | 90
HSS400 - High Security Audio Bed Station | HSS400 |  | 100
HSS401 - High Security Staff Station | HSS401 |  | 110
HSS433 - High Security Push Button Station | HSS433 |  | 120
R4KSS - Staff Station | R4KSS |  | 130
R4KDY - Duty Station | R4KDY |  | 140 | Feature Bed Interface
R4KESR - Emergency/Staff Registration Station | R4KESR |  | 150 | Single Light Control Module
R4KCNCL - Cancel Station | R4KCNCL |  |  | Dual Light Control Module
R4KCB12 - Code Blue Station | R4KCB12 |  |  | Strain Relief Kit
R4KPB11 - Single Push Button -Push for Help | R4KPB11 |  |  | Clear Station Cover
R4KPC10 - Pull Cord Station | R4KPC10 |  |  | Four Station Audio Relay Kit
R4KPB22 - Dual Push Button Station | R4KPB22 |  |  | Visual Relay Output Control
R4KPB44 - Four Button Status Station | R4KPB44 |  |  | Audio Solid State Relay Output Control
R4KSR1 - Staff Register Station | R4KSR1
R4K15V - SLIM 1/4" Jack / Button St | R4K15V
R4K17V - SLIM Enh Single Call St | R4K17V
R4K2JACK - SLIM Dual 1/4" Jack St | R4K2JACK
R4KCB13 - SLIM Code Button St | R4KCB13
R4KDTY2 - SLIM Duty St w/ Speaker | R4KDTY2
R4KPB12 - SLIM Single Button St | R4KPB12
R4KPB23 - SLIM Dual Button w/ Code St | R4KPB23
R4KPC11 - SLIM Pull Cord St | R4KPC11
R4KSAR - SLIM Dual Button St | R4KSAR
R4KSPK - SLIM Speaker Module | R4KSPK
NC4JACK - 1/4" Jack Auxiliary Input Station | NC4JACK
NCESTV - Pillow Speaker - TV | NCESTV
NCESSL1 - Pillow Speaker - TV, Light | NCESSL1
NCESDL2 - Pillow Speaker - TV, Light1, Light 2 | NCESDL2
NCDSTVZN - DPS Zenith - Nurse, TV, Radio | NCDSTVZN
NCDSSL1ZN - DPS Zenith - Nurse, TV, Radio, Light 1 | NCDSSL1ZN
NCDSDL2ZN - DPS Zenith -Nurse, TV, Radio, Light1&2 | NCDSDL2ZN
NCSAV - DIN Cord Saver | NCSAV
CCDIN - Call Cord - Single w/ Clip (10 ft.) | CCDIN
CC200 - Call Cord - 1/4" Jack Call Cord w/ Clip (10ft.) | CC200
CLV122 - Visual 2-Bulb Corridor Light | CLV122
CLV144 - Visual 4-Bulb Corridor Light | CLV144
DCV100 - Visual Domeless Controller - 6 pt | DCV100
DCV116 - Visual Domeless Controller - 16 pt | DCV116
CLA222 - Audio 2-Bulb Corridor Light | CLA222
CLA244 - Audio 4-Bulb Corridor Light | CLA244
CLA214D - Audio 4-Bulb Duty Corridor Light | CLA214D
DCA200 - Audio Domeless Controller - 6 pt | DCA200
DCA214D - Audio Duty Domeless Controller - 6 pt | DCA214D
DCA216 - Audio Domeless Controller - 16 pt | DCA216
R4KFB1 - Feature Bed Interface | R4KFB1
R4KSTR - Strain Relief Kit | R4KSTR
R4KCSC - Clear Station Cover | R4KCSC
CLAR4 - Four Station Audio Relay Kit | CLAR4
R4KOUT4R - Visual Relay Output Control | R4KOUT4R
R4KOUT4S - Audio Solid State Relay Output Control | R4KOUT4S