## Input for Auto Config
| Input Config Information |  |  | Config Feedback
| System Config/Intergrations/Software |  |  | Number of Stations | 0
| Number of Phone Lines |  |  | Number of NIMs Needed | 0
| Paging? ( y or n) |  |  | Number of Visual and Audio CL/DC Selected | 0
| Pocket Paging ( y or n) |  |  | Number of Audio Stations | 0
| Reporting ( y or n) |  |  | Number of Audio CL/DC Needed | 0
| Battery Back up? ( y or n) |  |  | Number of Audio CL/DC Selected | 0
|  |  |  | Number of Visual CL/DC Needed | 0
|  |  |  | Number of Visual CL/DC Selected | 0
|  |  |  | Number CLAR4s Selected | 0
| Typical Patient Room (Drop Down) | Part Number | Quantity | Total Number of CLs/DCs Selected | 0
Instructions:
1. Make your System/Integration/Software Choices by choosing Yes or No under System Conf/Integrations/Software boxes above.
2. In the Typical Patient Room section, if you have a large number of rooms that have the same exact stations in them, choose each of those items from the Yellow drop-down box and then enter the number of rooms that have this station in the count box. By choosing the station type and entering in a quantity, this will automatically update the Quote Detail tab.
3. For all other rooms or stations, enter/edit the Quantities of each station/device individually in the next sheet, Quote Detail.
4. Based on what you enter in this sheet, the next sheet will auto update.
5. However, use the Column labeled, Enter Qty +/- to add or substract items based on your specific needs. For example, if the Auto Update selects 5 Power Supplies, but you only want 4 in the quote, enter "-1" for that item.

## Quote Detail
Export Responder 4000 2016 Estimate Sheet v 4.7 (based on price list effective 9/21/2015) | [11 empty] | Job Name:
Main Equipment | [11 empty] | Distributor Name:
| Date: | [10 empty] | Salesperson:
MANUF. | Part # | Con- 8 | Con- 6 | Description (Items in Purple Automatically Add Quantities in Yellow Column after Completing the Input for Auto Config Tab) | Con- 8 | Con- 6 | Auto | Add or Decrease Quantity after Completing Auto Config (See Input for Auto Config Tab) | Qty | 2016 List Price | Extended List Price | Current (Amps) | Total Current | Shop Hours | Shop Total | Field Hours | Field Total | Notes
RAULAND | NC2828 |  |  | Terminal Cabinet |  |  | 0 |  | 0 | 1599 | [5 empty] | 2
" | R4KPR400 |  |  | Power Supply |  |  | 0 |  | 0 | 689 | [5 empty] | 1
" | R4KBK400 |  |  | Battery Back-up Module |  |  | 0 |  | 0 | 492 |  | 0.1 |  |  |  | 0.5
" | R4KNIM |  |  | Network Interface Module (Can support up to 150 CLs per NIM) |  |  | 0 |  | 0 | 2391 |  | 0.5 | 0 |  |  | 6
" | R4KPIP |  |  | Peripheral Interface Port |  |  | 0 |  | 0 | 2417 |  | 0.4 | 0 |  |  | 8
" | R4KRSPIP |  |  | Reporting Software Interface & Software (Network) |  |  | 0 |  | 0 | 6665 |  | 0.4 | 0 |  |  | 16
" | R4KSPA |  |  | Serial Peripheral Adapter |  |  |  |  | 0 | 444 |  | 0.2 | 0
" | R4KPA25 | 2 |  | Paging Amplifier | 0 |  | 0 |  | 0 | 602 |  | 2.5 | 0 |  |  | 4
" | R4KPLI | 2 |  | Phone Line Interface | 0 |  | 0 |  | 0 | 3137 |  | 1 | 0 |  |  | 6
" | R4KXBA |  |  | X-Bus Adapter |  |  |  |  | 0 | 8429 |  | 0.5 | 0 |  |  | 6
" | R4KMQC | 2 |  | Marquee Controller | 0 |  |  |  | 0 | 562 |  | 0.3 | 0 |  |  | 2
" | R4KMST | 2 |  | Marquee Speaker Station | 0 |  |  |  | 0 | 131 |  | 0.005 | 0 |  |  | 0.35
" | R4KTMB | 8 |  | Termination Board | 0 |  | 0 |  | 0 | 128 | [5 empty] | 1
" | R4K4020 | 2 |  | Standard LCD Console (comes with a Receptacle) | 0 | 0 |  |  | 0 | 1476 |  | 0.375 | 0 |  |  | 2
" | R4KANN | 2 |  | Annunciate Panel (comes with a Resceptacle) | 0 | 0 |  |  | 0 | 956 |  | 0.375 | 0 |  |  | 1
" | R4KRECP | 2 |  | Console Receptacle | 0 | 0 |  |  | 0 | 158 | [5 empty] | 0.5
" | R4K11V |  | 2 | Single Patient Station - Visual | 0 | 0 | 0 |  | 0 | 77 |  | 0.002 | 0 |  |  | 0.35
" | R4K12A | 2 |  | Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 84 |  | 0.005 | 0 |  |  | 0.35
" | R4K12AHZ | 2 |  | Horizontal Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 87 |  | 0.005 | 0 |  |  | 0.35
" | R4K13VA | 2 |  | Enhanced Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 168 |  | 0.025 | 0 |  |  | 0.35
" | R4K13VAHZ | 2 | 2 | Horizontal Enh Single Patient Station - Audio | 0 | 0 | 0 |  | 0 | 170 |  | 0.025 | 0 |  |  | 0.35
" | R4K14SA | 2 | 2 | Single Patient w/ Staff Emer | 0 | 0 | 0 |  | 0 | 108 |  | 0.018 | 0 |  |  | 0.35
" | R4K16LV |  | 2 | Enhanced Single Patient Station - Visual | 0 | 0 | 0 |  | 0 | 135 |  | 0.015 | 0 |  |  | 0.35
" | R4K21V | 4 |  | Dual Patient Station - Visual | 0 | 0 | 0 |  | 0 | 102 |  | 0.004 | 0 |  |  | 0.35
" | R4K22A | 2 | 2 | Dual Patient Station - Audio | 0 | 0 | 0 |  | 0 | 110 |  | 0.007 | 0 |  |  | 0.35
" | R4K23VA | 4 |  | Enhanced Dual Patient Station - Audio | 0 | 0 | 0 |  | 0 | 210 |  | 0.03 | 0 |  |  | 0.35
" | HSS400 | 2 |  | High Security Audio Bed Station | 0 | 0 | 0 |  | 0 | 643 |  | 0.01 | 0 |  |  | 0.35
" | HSS401 | 2 |  | High Security Staff Station | 0 | 0 | 0 |  | 0 | 646 |  | 0.008 | 0 |  |  | 0.35
" | HSS433 |  | 2 | High Security Push Button Station | 0 | 0 | 0 |  | 0 | 646 |  | 0.015 | 0 |  |  | 0.35
" | R4KFB1 | 2 | 2 | Feature Bed Interface | 0 | 0 | 0 |  | 0 | 151 |  | 0.075 | 0 |  |  | 0.05
" | R4KSLC1 |  | 3 | Single Light Control Module | 0 | 0 | 0 |  | 0 | 81 |  | 0.013 | 0 |  |  | 0.05
" | R4KDLC2 |  | 4 | Dual Light Control Module | 0 | 0 | 0 |  | 0 | 149 |  | 0.023 | 0 |  |  | 0.05
" | R4KSTR |  |  | Strain Relief Kit |  |  | 0 |  | 0 | 45 | [5 empty] | 0.05
" | R4KSS | 2 |  | Staff Station | 0 | 0 | 0 |  | 0 | 85 |  | 0.005 | 0 |  |  | 0.35
" | R4KDY | 2 | 2 | Duty Station | 0 | 0 | 0 |  | 0 | 118 |  | 0.012 | 0 |  |  | 0.35
" | R4KESR |  | 2 | Emergency/Staff Registration Station | 0 | 0 | 0 |  | 0 | 87 |  | 0.007 | 0 |  |  | 0.35
" | R4KCNCL |  | 2 | Cancel Station | 0 | 0 | 0 |  | 0 | 68 | [5 empty] | 0.35
" | R4KCB12 |  | 2 | Code Blue Station | 0 | 0 | 0 |  | 0 | 81 |  | 0.017 | 0 |  |  | 0.35
" | R4KCSC |  |  | Clear Station Cover |  |  | 0 |  | 0 | 57 | [5 empty] | 0.35
" | R4KPB11 |  | 2 | Single Push Button -Push for Help | 0 | 0 | 0 |  | 0 | 75 |  | 0.004 | 0 |  |  | 0.35
" | R4KPC10 |  | 2 | Pull Cord Station | 0 | 0 | 0 |  | 0 | 70 |  | 0.002 | 0 |  |  | 0.35
" | R4KPB22 |  | 2 | Dual Push Button Station | 0 | 0 | 0 |  | 0 | 92 |  | 0.017 | 0 |  |  | 0.5
" | R4KPB44 |  | 4 | Four Button Status Station | 0 | 0 | 0 |  | 0 | 105 |  | 0.014 | 0 |  |  | 0.5
" | R4KSR1 |  | 2 | Staff Register Station | 0 | 0 | 0 |  | 0 | 64 |  | 0.002 | 0 |  |  | 0.35
" | CLV122 | 2 |  | Visual 2-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 195 |  | 0.022 | 0 |  |  | 0.75
" | CLV144 | 2 |  | Visual 4-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 224 |  | 0.032 | 0 |  |  | 0.75
" | DCV100 | 2 |  | Visual Domeless Controller - 6 pt | 0 | 0 | 0 |  | 0 | 221 |  | 0.012 | 0 |  |  | 0.75
" | DCV116 | 2 |  | Visual Domeless Controller - 16 pt | 0 | 0 | 0 |  | 0 | 319 |  | 0.012 | 0 |  |  | 1
" | CLA222 | 2 |  | Audio 2-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 271 |  | 0.068 | 0 |  |  | 0.75
" | CLA244 | 2 |  | Audio 4-Bulb Corridor Light | 0 | 0 | 0 |  | 0 | 337 |  | 0.078 | 0 |  |  | 0.75
" | CLA214D | 2 |  | Audio 4-Bulb Duty Corridor Light | 0 | 0 | 0 |  | 0 | 377 |  | 0.098 | 0 |  |  | 0.75
" | DCA200 | 2 |  | Audio Domeless Controller - 6 pt | 0 | 0 | 0 |  | 0 | 286 |  | 0.038 | 0 |  |  | 0.75
" | DCA214D | 2 |  | Audio Duty Domeless Controller - 6 pt | 0 | 0 | 0 |  | 0 | 317 |  | 0.058 | 0 |  |  | 0.75
" | DCA216 | 2 |  | Audio Domeless Controller - 16 pt | 0 | 0 | 0 |  | 0 | 358 |  | 0.038 | 0 |  |  | 1
" | CLAR4 |  |  | Four Station Audio Relay Kit |  |  | 0 |  | 0 | 104 |  | 0.032 | 0 |  |  | 0.25
" | R4KOUT4R |  | 2 | Visual Relay Output Control | 0 | 0 | 0 |  | 0 | 85 |  | 0.032 | 0 |  |  | 0.25
" | R4KOUT4S |  | 2 | Audio Solid State Relay Output Control | 0 | 0 | 0 |  | 0 | 102 |  | 0.021 | 0 |  |  | 0.25
" | R4KWM11 |  |  | Wall Mount Kit for LCD Console |  |  |  |  | 0 | 288 | [5 empty] | 1
" | R4KWM22 |  |  | Wall Mount Kit for Annunciate Panel |  |  |  |  | 0 | 289 | [5 empty] | 1
" | R4KDM22 |  |  | Desk Mount Kit |  |  |  |  | 0 | 126 | [5 empty] | 1
" | R4KCONN6 |  |  | 6-Pin connectors (Bag of 100) |  | 0 | 0 |  | 0 | 382
" | R4KCONN8 |  |  | 8-Pin connectors (Bag of 100) | 0 |  | 0 |  | 0 | 407
" | R4KTVA | 2 |  | TV Adapter pigtail kit (Set of 10) | 0 |  | 0 |  | 0 | 60 | [5 empty] | 0.25
" | R4KTVR1 | 2 |  | Digital TV Isolation Module | 0 | 0 | 0 |  | 0 | 62 |  | 0.015 | 0 |  |  | 0.25
" | R4KKBS | 3 |  | K-Bus Splitter | 0 | 0 |  |  | 0 | 44 | [5 empty] | 0.25
" | R4KKBSP | 3 |  | K-Bus Splitter w/ Power | 0 | 0 |  |  | 0 | 47 | [5 empty] | 0.25
" | R4KFAM |  | 2 | Fire/Auxiliary Module | 0 | 0 |  |  | 0 | 113 |  | 0.03 | 0 |  |  | 0.25
" | R4KCAL |  | 2 | Call Assurance Light | 0 | 0 | 0 |  | 0 | 74 |  | 0.005 | 0 |  |  | 0.35
" | R4KCRIMP |  |  | Responder 4000 Crimp Tool |  |  |  |  | 0 | 78 |  |  | 0
" | [8 empty] | 0 | 0 |  |  | 0
" | [8 empty] | 0 | 0 |  |  | 0
" | [8 empty] | 0 | 0 |  |  | 0
MANUF. | Part # |  |  | Responder 4000 SLIM Stations |  |  |  |  | Qty | 2016 List Price | Extended List Price | Current (Amps) | Total Current | Shop Hours | Shop Total | Field Hours | Field Total | Notes
RAULAND | R4K15V |  | 4 | SLIM 1/4" Jack / Button St | 0 | 0 | 0 |  | 0 | 89 |  | 0.007 | 0 |  |  | 0.35
" | R4K17V |  | 2 | SLIM Enh Single Call St | 0 | 0 | 0 |  | 0 | 167 |  | 0.025 | 0 |  |  | 0.35
" | R4K2JACK |  | 4 | SLIM Dual 1/4" Jack St | 0 | 0 | 0 |  | 0 | 96 |  | 0.007 | 0 |  |  | 0.35
" | R4KCB13 |  | 2 | SLIM Code Button St | 0 | 0 | 0 |  | 0 | 81 |  | 0.017 | 0 |  |  | 0.35
" | R4KDTY2 | 2 | 2 | SLIM Duty St w/ Speaker | 0 | 0 | 0 |  | 0 | 118 |  | 0.012 | 0 |  |  | 0.35
" | R4KPB12 |  | 2 | SLIM Single Button St | 0 | 0 | 0 |  | 0 | 76 |  | 0.004 | 0 |  |  | 0.35
" | R4KPB23 |  | 2 | SLIM Dual Button w/ Code St | 0 | 0 | 0 |  | 0 | 90 |  | 0.017 | 0 |  |  | 0.5
" | R4KPC11 |  | 2 | SLIM Pull Cord St | 0 | 0 | 0 |  | 0 | 70 |  | 0.002 | 0 |  |  | 0.35
" | R4KSAR |  | 2 | SLIM Dual Button St | 0 | 0 | 0 |  | 0 | 85 |  | 0.007 | 0 |  |  | 0.5
" | R4KSPK | 2 |  | SLIM Speaker Module | 0 | 0 | 0 |  | 0 | 28 | [5 empty] | 0.35
" | 350008 |  |  | Clear Station Cover (SLIM & R5) |  |  |  |  | 0 | 60 | [5 empty] | 0.35
[10 empty] | Total Main Equipment | 0 | Amps --> | 0 | Hours --> | 0 | Hours --> | 0
Responder 4000 Estimate Sheet | [10 empty] | Job Name:
Accessory Items | [10 empty] | System:
| DATE: | [9 empty] | Salesperson:
MANUF. | Part # |  |  | Description |  |  |  |  | Qty | 2016 List Price | Extended List Price |  |  | Shop Hours | Shop Total | Field Hours | Field Total | Notes
RAULAND | NCESTV |  |  | Pillow Speaker - TV |  |  | 0 |  | 0 | 155 | [5 empty] | 0.1
" | NCESSL1 |  |  | Pillow Speaker - TV, Light |  |  | 0 |  | 0 | 160 | [5 empty] | 0.1
" | NCESDL2 |  |  | Pillow Speaker - TV, Light1, Light 2 |  |  | 0 |  | 0 | 162.5 | [5 empty] | 0.1
" | NCPSDSL2 |  |  | Digital Pillow Speaker, 2 Lts |  |  | 0 |  | 0 | 230 | [5 empty] | 0.1
" | NCPSDSTV |  |  | Digital Pillow Speaker, TV |  |  | 0 |  | 0 | 225 | [5 empty] | 0.1
" | NCPSKPL2 |  |  | Direct Access Digital PS, 2 Lt |  |  | 0 |  | 0 | 275 | [5 empty] | 0.1
" | NCPSKPTV |  |  | Direct Access Digital PS, TV |  |  |  |  | 0 | 275 | [5 empty] | 0.1
" | NCSAV |  |  | DIN Cord Saver |  |  | 0 |  | 0 | 40 | [5 empty] | 0.1
" | CCDIN3 |  |  | Handheld Pendent - 2 Lights (8-pin DIN) |  |  | 0 |  | 0 | 111 | [5 empty] | 0.1
" | CCDIN |  |  | Call Cord - Single w/ Clip (10 ft.) |  |  | 0 |  | 0 | 51 | [5 empty] | 0.1
" | CC200 |  |  | Call Cord - 1/4" Jack Call Cord w/ Clip (10ft.) |  |  | 0 |  | 0 | 42 | [5 empty] | 0.1
" | NC4JACK |  |  | 1/4" Jack Auxiliary Input Station |  |  | 0 |  | 0 | 186 | [5 empty] | 0.5
" | NCBED |  |  | 37-pin Feature Bed Receptacle |  |  |  |  | 0 | 127.5 | [5 empty] | 0.5
" | NCC37 |  |  | 37-pin Feature Bed Cable |  |  |  |  | 0 | 157.5 | [5 empty] | 0.5
" | NCC37RA |  |  | 37-pin Feature Bed Cable -Right Angle |  |  |  |  | 0 | 157.5 | [5 empty] | 0.5
" | NCLV120 |  |  | Low Voltage Lighting Control 120V |  |  | 0 |  | 0 | 205 | [5 empty] | 0.5
INOVONICS | FA464DR |  |  | 16-Output / 64-Transmitter Receiver |  |  |  |  | 0 | www.inovonics.com | [5 empty] | 1
INOVONICS | FA203S |  |  | Wireless Pendant Transmitter - Single Button |  |  |  |  | 0 | www.inovonics.com | [5 empty] | 0.25
INOVONICS | PS12 |  |  | 12VDC Power Supply |  |  |  |  | 0 | www.inovonics.com | [5 empty] | 0.5
RAULAND | CM300 |  |  | Chassis Fault Monitor |  |  |  |  | 0 | 350 | [5 empty] | 0.5
" | PM300 |  |  | Power Fault Monitor |  |  |  |  | 0 | 330 | [5 empty] | 0.5
" | 350011 |  |  | Bio-seals - Cancel Button (10) -- SLIM ONLY |  |  |  |  | 0 | 24 | [5 empty] | 0.5
" | 350012 |  |  | Bio-seals-Small Push Button (10) -- SLIM ONLY |  |  |  |  | 0 | 26 | [5 empty] | 0.5
" | 350013 |  |  | Bio-seals Large Push Button (10) -- SLIM ONLY |  |  |  |  | 0 | 36 | [5 empty] | 0.5
" | [8 empty] | 0 | 0 | [5 empty] | 0.5
" | [8 empty] | 0 | 0 | [5 empty] | 0.5
" | [8 empty] | 0 | 0
" | [8 empty] | 0 | 0
" | [8 empty] | 0 | 0
[10 empty] | Total Accessories | 0 |  |  | Hours --> | 0 | Hours --> | 0
Responder 4000 Estimate Sheet | [10 empty] | Job Name:
Cable | [10 empty] | System:
| DATE: | [9 empty] | Salesperson:
MANUF. | Part # |  |  | Description |  |  |  |  | Qty | Distributor Cable Cost per 1000' | Distributor Extended Cable Cost |  |  |  |  | Cable Labor | Cable Labor Total | Notes
|  |  |  | 4-Pair Cat5 Ethernet cable estimate (50ft/Room Device) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Ethernet cable Estimate (250ft/Console) |  |  |  |  | 0 | [6 empty] | 8
|  |  |  | 4-Pair Cat5 Ethernet cable (400ft/NIM) |  |  |  |  | 0
|  |  |  | 4-Pair Cat5 Ethernet cable (30ft/Corridor Light/Domeless Controller) |  |  |  |  | 0
Power Common - #12 AWG
|  |  |  | Power Common - #14 AWG |  |  |  |  | 0
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable estimate (50ft/Room Device) |  |  |  |  | 0
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable Estimate (250ft/Console) |  |  |  |  | 0
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable (400ft/BRC) |  |  |  |  | 0
|  |  |  | 4-Pair Cat5 Plenum Ethernet cable (30ft/Corridor Light/Domeless Controller) |  |  |  |  | 0
4-Pair Cat6 Plenum Ethernet cable
[10 empty] | Total Cable, Etc. | 0 |  |  | Hours --> | 0 | Hours --> | 0
Responder 4000 Estimate Sheet | [10 empty] | Job Name:
Summary | [10 empty] | System:
| DATE: | [9 empty] | Salesperson:
[14 empty] | Shop Hours |  | Field Hours
[10 empty] | Total Cable Cost | 0 |  |  |  |  | Hours --> | 0 | <-- Hours rounded to 8
[10 empty] | Total Accessories | 0 |  |  | Hours --> | 0 | Hours --> | 0
[10 empty] | Total Main Equipment | 0 |  |  | Hours --> | 0 | Hours --> | 0
[14 empty] | Hours --> | 0 | Hours --> | 0 | <-- Hours rounded to 8
[17 empty] | 0 | <-- Total Hours
Selling Price Summary
[10 empty] | List Price | Discount | Selling Price
[9 empty] | Equipment | 0 | 0.1 | 0
[9 empty] | Cable | 0 | 0 | 0
[9 empty] | Total --> |  |  | 0
[11 empty] | Total Selling Price U.S. --> | 0
Notes:
1. All prices are US Suggested List Price.
2. Station counts and placement are best guess based on provided drawings/information. Final count should be made based on a walk through of the facility.
3. No back boxes for stations have been included in quote.
4. Only labor hour estimates based on equipment install time only is included. Actual labor may also include installation of back boxes, roughing in boxes and any additional work that may be necessary.
5. Cable length estimates are best guess based on provided drawings/information.
Note on I10: From the tab, Input for Auto Config, select Yes from drop down if Reporting SW and R4KRSPIP is needed.

## 2016ex (hidden)
301103 | Universal Wireless Wall Unit | 60 | 327
301200 | Wireless Bed Unit-Socket (HR) | 60 | 343
301210 | Wireless Bed Unit-Plug (Stryker) | 60 | 343
301300 | Wireless Bed Interface-Demo | 12 | 969
350000 | Demonstration Unit | 12 | 30750
350002 | L-net T-tap Module (25) | 0 | 596
350003 | L-net Term Resistor (10) | 12 | 513
350004 | L-net Hub | 60 | 283
350005 | M-net Divider Interface | 60 | 59
350006 | Crimping Tool Adapter | 12 | 77
350007 | Station Removal Tool | 12 | 38
350008 | Clear Station Cover | 18 | 60
350009 | 351003 Battery Kit | 12 | 105
350011 | Overlay Kit Cancel Button (10) | 0 | 24
350012 | Overlay Kit Sm Push Button(10) | 0 | 26
350013 | Overlay Kit Lg Push Button(10) | 0 | 36
350014 | Overlay Kit Left Side Stn (10) | 0 | 36
350015 | Overlay Kit Right Side Stn(10) | 0 | 36
350016 | Overlay Kit Staff Term Lcd (5) | 0 | 71
350017 | L-net T-tap Insulator (25) | 12 | 42
350018 | 8pn Inlinecon Cat-5 Cat-6(100) | 12 | 326
350019 | Responder 5 L-net Test Adapter | 18 | 65
350022 | Clear Button Cover For 353001 | 18 | 41
350023 | Clear Button Cover-4 Button S | 0 | 59
350024 | Pillow Spker Cord Grip Kit 20 | 0 | 77
350025 | 3-gang Adapter Plates (10) | 12 | 69
350026 | 1-gang Adapter Plates (10) | 12 | 51
350030 | Demo Panel Large R5 | 0 | 2015
350031 | Demo Panel Small R5 | 0 | 1790
350100 | Call Cord W/tilt Release Din | 12 | 74
350200 | Enhncd Pillow Spkr-tv-digi Vol | 24 | 307
350201 | Enhncd Pillowspkr-1lgt-digivol | 24 | 307
350202 | Enhncd Pillowspkr-2lgt-digivol | 24 | 307
350205 | Enhncd Pillow Spkr-tv-anlgvol | 24 | 307
350206 | Enhanced Pillow Spkr 1 Light | 24 | 307
350207 | Enhncd Pillowspkr 2 Lgt-anlgvo | 24 | 307
350220 | Std Pillow Spkr-tv-digi Vol | 24 | 299
350221 | Std Pillow Spkr-1 Lgt-digi Vol | 24 | 299
350222 | Std Pillowspkr-2 Lgt-digi Vol | 24 | 299
350225 | Std Pillow Spkr-tv-anlg Vol | 24 | 299
350226 | Std Pillowspkr-1 Lgt-anlg Vol | 24 | 299
350227 | Std Pillowspkr-2 Lgt-anlg Vol\ | 24 | 299
350240 | Basic Pillow Speaker-tv | 24 | 205
350241 | Basic Pillow Speaker-1 Light | 24 | 187.5
350242 | Basic Pillow Speaker-2 Lights | 24 | 205
350300 | Remote Tilt Release Din Stn | 60 | 192
350301 | Remote Std 8-pin Din Station | 60 | 200
350302 | Feature Bed Control Module | 60 | 176
351000 | Branch Regional Controller | 60 | 1812
351001 | Branch Regional Controller V2 | 60 | 1660
351002 | Responder Ntwrk Adapter Module | 60 | 11019
351003 | Power Supply W/batt. Backup | 60 | 1230
351004 | 8 Port Ethernet Switch W/poe | 60 | 1090
351006 | Fiber Optic Adapter Module | 60 | 486
351010 | Responder Network Concentrator | 60 | 11531
351101 | Rack Mount Kit For Switches | 60 | 103
351102 | Wall Mounting Cabinet-head-end | 60 | 1089
351200 | Voip Nurse Console | 60 | 2009
351201 | Console Receptacle | 60 | 81
351203 | Console Desk Stand | 0 | 150
351205 | VoIP Nurse Console V2 | 60 | 2009
351300 | VoIP Staff Terminal | 60 | 1556
351310 | VoIP Staff Terminal V2 | 60 | 1556
352000 | Corridor Light - 4 Pos | 60 | 583
352004 | Mini-corridor Light | 60 | 158
352010 | Corridor Light - 4 Pos V2 | 60 | 583
352020 | Domeless Controller | 60 | 583
352021 | Domeless Controller v2 | 60 | 583
353000 | Single Patient Station | 60 | 513
353001 | Enhanced Single Patient Stn | 60 | 583
353010 | Dual Patient Station | 60 | 623
353100 | Duty Station | 60 | 504
353101 | Staff Station | 60 | 491
353200 | Remote Audio Output Station | 60 | 384
353201 | Remote Audio Output Module | 60 | 301
354000 | Pull-cord Station With Audio | 60 | 344
354001 | Pull-cord Station | 60 | 143
354002 | Pull-cord Stn W/call Button | 60 | 208
354010 | Cancel Station | 60 | 162
354011 | Code Station | 60 | 162
354012 | Staff Assist Station | 60 | 162
354015 | Staff Assist / Code Station | 60 | 168
354016 | Bed Management Station | 60 | 215
354017 | Staff Registration Station | 60 | 214
354018 | 2-jack Station | 60 | 192
354100 | Input Module - 2 Point | 60 | 160
354101 | Output Module-high Current | 60 | 223
354102 | Output Module-Dry Contact | 60 | 176
354103 | Output Module-Low Current | 60 | 178
355000 | R5ware Firmware Diagnostics | 12 | 0
355001 | Interface-Pocket Page-25 Beds | 12 | 2206
355002 | Interface-Telephone-25 Beds | 12 | 2206
356000 | Responder 5 Demo Laptop | 0 | 8512.5
366102 | PC Console (R5 Apps) - 25 Beds | 12 | 2206
366104 | Staff Assignment Client-25 Beds | 12 | 2206
366200 | Reports Manager - 25 Beds | 12 | 2206
366401 | Interface-Location (RTLS)-25 Beds | 12 | 2206
366402 | Interface-HL7(ADT)-25 Beds | 12 | 2206
366403 | Interface-Resp Sync-25 Beds | 12 | 2206
366404 | All Touch EMR - 25 beds | 12 | 2206
366405 | All Touch Wireless Workflow - 25 Beds | 12 | 1103
366409 | All Touch Bed Info - 25 Beds | 12 | 1103
351300A | Staff Terminal - Aus | 60 | 1602.5
353000A | Single Patient Station - Aus | 60 | 535
353001A | Enhanced Patient Station - Aus | 60 | 617.5
353001F | Enhanced Single Patient Stn - French | 60 | 592.5
354000F | Pull-cord Station with Audio - French | 60 | 350
354001F | Pull-cord Station - French | 60 | 145
354011A | Code Station - Aus | 60 | 180
354012A | Staff Assist - Aus | 60 | 180
354012F | Staff Assist Station - French | 60 | 172.5
354015F | Staff Assist / Code Station - French | 60 | 165
354016A | Bed Management Station - Aus | 60 | 250
354018A | 2 Jack Station - Aus | 60 | 207.5
CC200 | Call Cord w/Clip - 10FT | 18 | 42
CCDIN | Call Cord - Din Connector | 24 | 51
CCDIN3 | Handheld Pendant W/2 Lights | 12 | 111
CCO-10 | Call Cord - Oxy/Ger Type | 18 | 152
CLA214D | R4k 4 Bulb Audio Duty Cl | 60 | 377
CLA222 | R4k 2 Bulb/6 Pt Audio Cl | 60 | 271
CLA244 | R4k 4 Bulb/6 Pt Audio Cl | 60 | 337
CLAR4 | R4k 4 Pt Audio Relay Kit | 60 | 104
CLS103 | 3 Lamp High Security Dome Lite | 12 | 203
CLV122 | R4k 2 Bulb/6 Pt Visual Cl | 60 | 195
CLV144 | R4k 4 Bulb/6 Pt Visual Cl | 60 | 224
CLV144W | R4k 4 Bulb/6pt Visual Canada | 60 | 290
CM300 | Chassis Fault Monitor | 18 | 350
CP7385 | Pushbutton for 1/4" Jack | 18 | 47.5
DCA200 | R4k Audio 6 Pt Domeless Cntl | 60 | 286
DCA214D | R4k Audio Domeless Duty Cntl | 60 | 317
DCA216 | R4k 16 Pt Audio Domeless Cntl | 60 | 358
DCV100 | R4k 6 Pt Visual Domeless Cntl | 60 | 221
DCV116 | R4k 16 Pt Visual Domeless Cntl | 60 | 319
DP300 | Dummy Plug for DIN Jacks | 18 | 7.5
DP7380 | Dummy Plug for 1/4 | 18 | 7.5
DTP4401 | DIN-to-Plug Adapter | 18 | 37.5
HSS400 | R4k High Security Audio Bed St | 60 | 643
HSS401 | R4k High Security Staff St | 60 | 646
HSS433 | R4k High Security Push Btn St | 60 | 646
NC2828 | Head-End Equipment Cabinet | 60 | 1599
NC4JACK | Auxiliary 4 Alarm Input Station | 18 | 186
NCBACB | RIV Code Blue St - Supervised | 60 | 260
NCBBK | Riv Battery Back-up Unit | 60 | 697.5
NCBED | Feature Bed Receptacle - 37 pin | 18 | 127.5
NCBED5 | R5 Feature Bed Recep - 37 Pin | 18 | 155
NCBSD2 | Riv Dual Ent/hr Bed St | 60 | 817.5
NCBSPLIT2 | 1 To 2 Control St Splitter | 60 | 87.5
NCBSS1 | Riv Single Ent/hr Bed St | 60 | 740
NCC37 | Feature Bed Cable - 8ft | 18 | 157.5
NCC37RA | Feature Bed Cable - Right Angle | 18 | 157.5
NCCNCLST | Riv Cancel Station (srs3) | 60 | 280
NCDPB2 | Dual Push Button St | 60 | 200
NCDUTY | Riv Duty St | 60 | 835
NCESDL2 | Ent Spkr - Tv, Lt 1 & 2 | 18 | 162.5
NCESSL1 | Ent Spkr - Tv, Lt | 18 | 160
NCESTV | Ent Spkr - Tv | 18 | 155
NCFAM | Riv Fire/auxiliary Alarm Mod | 60 | 160
NCGCM | Riv Group Control Module | 60 | 7300
NCJBUSTESTER | Riv J-bus Signal Tester | 60 | 567.5
NCJDROP | Riv J-bus Interface W/ S-bus | 60 | 150
NCJSOLO | Riv J-bus Interface No S-bus | 60 | 100
NCLCD | Riv Lcd Master | 60 | 6350
NCLED6 | Riv 6 Led Cl | 60 | 220
NCLV120 | Low Volt Lt Control - 120V | 18 | 205
NCLV240 | Low Volt Lt Control - 240V | 18 | 205
NCNSCB | Riv Code St - Non-supervised | 60 | 267.5
NCONBLUE | Riv Connector Kit | 18 | 745
NCPBPH | Riv Single Push For Help St | 60 | 187.5
NCPCS1 | Riv Pull Cord St | 60 | 195
NCPSDSL2 | Digital Pillow Speaker, 2 Lt | 24 | 230
NCPSDSTV | Digital Pillow Speaker, TV | 24 | 225
NCPSKPL2 | Direct Access Digital PS, 2 Lt | 24 | 275
NCPSKPTV | Direct Access Digital PS, TV | 24 | 275
NCPROG | Riv Programming Interface Mod | 60 | 2657.5
NCPWR | Riv Floor Power Supply | 60 | 2155
NCRECP | Riv Console Receptacle | 60 | 287.5
NCRMD2 | Riv Dual Relay Isolation Mod | 60 | 472.5
NCRMS1 | Riv Sgl Relay Isolation Mod | 60 | 317.5
NCSAV | DIN Cord Saver | 18 | 40
NCSPB1 | Riv Single Staff Assist St | 60 | 192.5
NCSRS3 | Riv Staff Register Station | 60 | 317.5
NCSSPLIT4 | 1 To 4 Sub-station Splitter | 60 | 90
NCSTAFF | Riv Staff Station | 60 | 702.5
NCTSPLIT3 | Control / Sub Station Splitter | 60 | 150
NCTVD2 | Dual Bed Dig Tv Isolation Mod | 18 | 145
NCTVS1 | Sngl Bed Dig Tv Isolation Mod | 18 | 92.5
NCUINT | Riv Universal Interface Mod | 60 | 782.5
NCUS1 | Non-audio Universal St Mod | 60 | 332.5
NCXBUSTESTER | Riv X-bus Signal Tester | 60 | 312.5
PM300 | Power Fault Monitor | 18 | 330
R4K11V | R4k Visual Single Call St | 60 | 77
R4K12A | R4k Audio Single Call St | 60 | 84
R4K12AHZ | R4k Horiz'l Single Audio St | 60 | 87
R4K13VA | R4k Enh Audio Single Call St | 60 | 168
R4K13VAHZ | R4k Horiz'l Enh Sgle Audio St | 60 | 170
R4K14SA | R4k Single Call St - W/emer | 60 | 108
R4K15V | R4k Slim 1/4" Jack & Button St | 60 | 89
R4K16LV | R4k Sgl Visual Lgt Ctl Call St | 60 | 135
R4K17V | R4k Slim Enh Single Call St | 60 | 167
R4K18A | R4k Mult Btn Stn For Export | 60 | 157.5
R4K21V | R4k Dual Visual Call St | 60 | 102
R4K22A | R4k Dual Audio Call St | 60 | 110
R4K23VA | R4k Enh Dual Audio Call St | 60 | 210
R4K2JACK | R4k Slim Dual 1/4" Jack St | 60 | 96
R4K4020 | R4k Lcd Console | 60 | 1476
R4KANN | R4k Annunciator Panel | 60 | 956
R4KANNV2 | R4k Annunciator Panel v2 | 60 | 956
R4KBK400 | R4k Battery Back-up Kit | 60 | 492
R4KCAL | R4k Call Assurance Light | 60 | 74
R4KCB12 | R4k Code Button Station | 60 | 81
R4KCB13 | R4k Slim Code Button St | 60 | 81
R4KCNCL | R4k Cancel Station | 60 | 68
R4KCONN6 | R4k 6-pin Connectors - 100 | 18 | 382
R4KCONN8 | R4k 8-pin Connectors - 100 | 18 | 407
R4KCRIMP | R4k Crimping Tool | 60 | 78
R4KCSC | R4k Clear Station Cover | 18 | 57
R4KDEMOSL | R4k Slim Demonstration Unit | 18 | 11032
R4KDLC2 | R4k Dual Light Cntl Mod | 60 | 149
R4KDM22 | R4k Desk Mount Kit | 60 | 126
R4KDTY2 | R4k Slim Duty St | 60 | 118
R4KDY | R4k Duty Station | 60 | 118
R4KESR | R4k Emer / Staff Register St | 60 | 87
R4KFAM | R4k Fire/auxiliary Module | 60 | 113
R4KFB1 | R4k Feature Bed Interface | 60 | 151
R4KHVK | R4k 250v Kit For Nc2828 | 0 | 281
R4KKBS | R4k K-bus Splitter | 60 | 44
R4KKBSP | R4k K-bus Splitter - With Pwr | 60 | 47
R4KMQC | R4k Marquee Controller | 60 | 562
R4KMQCV2 | R4k Marquee Controller v2 | 60 | 577.5
R4KMST | R4k Marquee Speaker St W/mute | 60 | 131
R4KNIM | R4k Network Interface Module | 60 | 2391
R4KOUT4R | R4k Visual Relay Output Cntl | 60 | 85
R4KOUT4S | R4k Audio Ss Output Cntl | 60 | 102
R4KPA25 | R4k Paging Amplifier -25 Watt | 60 | 602
R4KPB11 | R4k Push For Help Button St | 60 | 75
R4KPB12 | R4k Slim Single Button St | 60 | 76
R4KPB22 | R4k Dual Push Button St | 60 | 92
R4KPB23 | R4k Slim Dual Button W/code St | 60 | 90
R4KPB44 | R4k Four Button Status St | 60 | 105
R4KPC10 | R4k Pull Cord St | 60 | 70
R4KPC10P | R4k Pullcord Station Portugese | 60 | 70
R4KPC10S | R4k Pull Cord St Spanish | 60 | 70
R4KPC11 | R4k Slim Pull Cord St | 60 | 70
R4KPC11F | R4k Slim French Pull Cord St | 60 | 70
R4KPIP | R4k Peripheral Interface Port | 60 | 2417
R4KPLI | R4k Phone Line Interface | 60 | 3137
R4KPR400 | R4k Power Supply | 60 | 689
R4KRECP | R4k Console Receptacle | 60 | 158
R4KRSPIP | R4k Reporting Sftw Interface | 60 | 6665
R4KSAR | R4k Slim Dual Push Button St | 60 | 85
R4KSLC1 | R4k Single Light Cntl Mod | 60 | 81
R4KSPA | R4k Serial Peripheral Adapter | 60 | 444
R4KSPK | R4k Slim Speaker Station | 60 | 28
R4KSR1 | R4k Staff Register St | 60 | 64
R4KSS | R4k Staff Station | 60 | 85
R4KSTAC | R4k Test Adapter Cables | 60 | 103
R4KSTR | R4k Strain Relief Kit | 18 | 45
R4KTMB | R4k K-bus Termination Board | 60 | 128
R4KTVA | R4k Tv Adaptor Kit Qty 10 | 60 | 60
R4KTVR1 | R4k Digital Tv Isolation Mod | 60 | 62
R4KWARE | R4k System Software Cd-rom | 60 | 1359
R4KWM11 | R4k Console Wall Mount Kit | 18 | 288
R4KWM22 | R4kann Wall Mount Kit | 18 | 289
R4KXBA | R4k X-bus Adapter | 60 | 8429
RAM1 | Relay Module | 18 | 37
RIM100 | Relay Isolation Module | 18 | 101
RS505 | Speaker Adapter Module | 18 | 66
R4KPB11 | R4K Push for Help Button St | 60
R4KPB12 | R4K SLIM Single Button St | 60
R4KPB22 | R4K Dual Push Button St | 60
R4KPB23 | R4K SLIM Dual Button w/ Code St | 60
R4KPB44 | R4K Four Button Status Station | 60
R4KPC10 | R4K Pull Cord St | 60
R4KPC10S | R4K Pull Cord St Spanish | 60
R4KPC11 | R4K SLIM Pull Cord St | 60
R4KPIP | R4K Peripheral Interface Port | 60
R4KPLI | R4K Phone Line Interface | 60
R4KPR400 | R4K Power Supply | 60
R4KRECP | R4K Console Receptacle | 60
R4KRSPIP | R4K Reporting Software Interface w/ Software | 60
R4KSAR | R4K SLIM Dual Button St | 60
R4KSLC1 | R4K Single Light Control Mod | 60
R4KSPA | R4K Serial Peripheral Adapter | 60
R4KSPK | R4K SLIM Speaker Module | 60
R4KSR1 | R4K Staff Register St | 60
R4KSS | R4K Staff Station | 60
R4KSTAC | R4K Test Adapter Cables | 60
R4KSTR | R4K Strain Relief Kit | 60
R4KTMB | R4K K-Bus Termination Board | 60
R4KTVA | R4K TV Adaptor Kit Qty 10 | 60
R4KTVR1 | R4K Digital TV Isolation Module | 60
R4KWARE | R4K System Software CD-ROM | 60
R4KWM11 | R4K Console Wall Mount Kit | 60
R4KWM22 | R4KANN Wall Mount Kit | 60
R4KXBA | R4K X-bus Adapter | 60
RAM1 | RELAY MODULE | 18
RIM100 | Relay Isolation Module | 18
RS505 | SPEAKER ADAPTER MODULE | 18
TCCKINFM | CLOCK INTERFACE MODULE | 60
WAC13S | 13" Wired Analog Clock | 60
WAC16L | 16" Wired Analog Clock | 60
WCA1312AC | 13IN WIRELESS ANALOG 12HR CLK 24VAC | 60
WCA1312B | 13IN WIRELESS ANALOG 12HR CLK BAT | 60
WCA1324AC | 13IN WIRELESS ANALOG 24HR CLK 24VAC | 60
WCA1324B | 13IN WIRELESS ANALOG 24HR CLK BAT | 60
WCA1612AC | 16IN WIRELESS ANLG 12HR CLK 24VAC | 60
WCA1612B | 16IN WIRELESS ANALOG 12HR CLK BAT | 60
WCA1624AC | 16IN WIRELESS ANALOG 24HR CLK 24VAC | 60
WCA1624B | 16IN WIRELESS ANALOG 24HR CLK BAT | 60
WCAMC2 | Ceil-mnt Double-face 13IN ANALOG KIT | 60
WCAMW2 | WALL-MNT DOUBLE-FACE 13" ANALOG KIT | 60
WCANA13WG | 13IN Wirelss Anlg Clk Wire Grd | 60
WCANA16WG | 16IN Wirelss Anlg Clk Wire Grd | 60
WCANAHB | Analog Clock Hanger Bracket (10-PACK) | 60
WCANAHBRF | Simplex Anlg Clk Hanger Brkt | 60
WCD254R | WRLSS DIG CLK 2.5 IN 4 DIG RED | 60
WCD254W | WRLSS DIG CLK 2.5 IN 4 DIG WHT | 60
WCD256W | WRLSS DIG CLK 2.5 IN 6 DIG WHT | 60
WCD25MC | Ceil-mnt Double-face 2.5IN Dgt | 60
WCD25MW | Wall-mnt Double-face 2.5IN Dgt | 60
WCD404R | WRLSS DIG CLK 4 IN 4 DIG RED | 60
WCD404W | WRLSS DIG CLK 4 IN 4 DIG WHT | 60
WCD40MC | Ceil-mnt Double-face 4IN Dgt | 60
WCD40MW | Wall-mnt Double-face 4IN Dgt | 60
WCDIG25WG | 2.5IN Wirelss Dgtl Clk Wire Grd | 60
WCDIG40WG | 4IN Wirelss Dgtl Clk Wire Grd | 60
WCLFCCFP10 | FCC License-For -Profit (10 year) | 60
WCLFCCNP10 | FCC License - Non-Profit (10 year) | 60
WCP24AC1 | 6VA 24 VAC CLOCK POWER SOURCE | 60
WCSIGTEST | RF Signal Tester | 60
WCTRRBKT | Xmitter Rack Mount Brackets | 60
WCTRWS | Shelf for Transmitter /Receiver | 60
WCXATRAN | Wireless Transmitter | 60
WCXGGPS50EXT | GPS Receiver Extension cable | 60
WCXREPEAT | Wireless Repeater | 60
WCXRVRGPS | GPS Receiver | 60
WCXRVRNTP | NTP Receiver | 60
WCXTANTKT | Wireless External Antenna for Wireless Transmitter | 60
0

## DropDowns (hidden)
R4K11V - Single Patient Station - Visual | R4K11V | Yes
R4K12A - Single Patient Station - Audio | R4K12A | No | 10
R4K12AHZ - Horizontal Single Patient Station - Audio | R4K12AHZ |  | 20
R4K13VA - Enhanced Single Patient Station - Audio | R4K13VA |  | 30
R4K13VAHZ - Horizontal Enh Single Patient Station - Audio | R4K13VAHZ |  | 40
R4K14SA - Single Patient w/ Staff Emer | R4K14SA |  | 50
R4K16LV - Enhanced Single Patient Station - Visual | R4K16LV |  | 60
R4K21V - Dual Patient Station - Visual | R4K21V |  | 70
R4K22A - Dual Patient Station - Audio | R4K22A |  | 80
R4K23VA - Enhanced Dual Patient Station - Audio | R4K23VA |  | 90
HSS400 - High Security Audio Bed Station | HSS400 |  | 100
HSS401 - High Security Staff Station | HSS401 |  | 110
HSS433 - High Security Push Button Station | HSS433 |  | 120
R4KSS - Staff Station | R4KSS |  | 130
R4KDY - Duty Station | R4KDY |  | 140 | Feature Bed Interface
R4KESR - Emergency/Staff Registration Station | R4KESR |  | 150 | Single Light Control Module
R4KCNCL - Cancel Station | R4KCNCL |  |  | Dual Light Control Module
R4KCB12 - Code Blue Station | R4KCB12 |  |  | Strain Relief Kit
R4KPB11 - Single Push Button -Push for Help | R4KPB11 |  |  | Clear Station Cover
R4KPC10 - Pull Cord Station | R4KPC10 |  |  | Four Station Audio Relay Kit
R4KPB22 - Dual Push Button Station | R4KPB22 |  |  | Visual Relay Output Control
R4KPB44 - Four Button Status Station | R4KPB44 |  |  | Audio Solid State Relay Output Control
R4KSR1 - Staff Register Station | R4KSR1
R4K15V - SLIM 1/4" Jack / Button St | R4K15V
R4K17V - SLIM Enh Single Call St | R4K17V
R4K2JACK - SLIM Dual 1/4" Jack St | R4K2JACK
R4KCB13 - SLIM Code Button St | R4KCB13
R4KDTY2 - SLIM Duty St w/ Speaker | R4KDTY2
R4KPB12 - SLIM Single Button St | R4KPB12
R4KPB23 - SLIM Dual Button w/ Code St | R4KPB23
R4KPC11 - SLIM Pull Cord St | R4KPC11
R4KSAR - SLIM Dual Button St | R4KSAR
R4KSPK - SLIM Speaker Module | R4KSPK
NC4JACK - 1/4" Jack Auxiliary Input Station | NC4JACK
NCESTV - Pillow Speaker - TV | NCESTV
NCESSL1 - Pillow Speaker - TV, Light | NCESSL1
NCESDL2 - Pillow Speaker - TV, Light1, Light 2 | NCESDL2
NCDSTVZN - DPS Zenith - Nurse, TV, Radio | NCDSTVZN
NCDSSL1ZN - DPS Zenith - Nurse, TV, Radio, Light 1 | NCDSSL1ZN
NCDSDL2ZN - DPS Zenith -Nurse, TV, Radio, Light1&2 | NCDSDL2ZN
NCSAV - DIN Cord Saver | NCSAV
CCDIN - Call Cord - Single w/ Clip (10 ft.) | CCDIN
CC200 - Call Cord - 1/4" Jack Call Cord w/ Clip (10ft.) | CC200
CLV122 - Visual 2-Bulb Corridor Light | CLV122
CLV144 - Visual 4-Bulb Corridor Light | CLV144
DCV100 - Visual Domeless Controller - 6 pt | DCV100
DCV116 - Visual Domeless Controller - 16 pt | DCV116
CLA222 - Audio 2-Bulb Corridor Light | CLA222
CLA244 - Audio 4-Bulb Corridor Light | CLA244
CLA214D - Audio 4-Bulb Duty Corridor Light | CLA214D
DCA200 - Audio Domeless Controller - 6 pt | DCA200
DCA214D - Audio Duty Domeless Controller - 6 pt | DCA214D
DCA216 - Audio Domeless Controller - 16 pt | DCA216
R4KFB1 - Feature Bed Interface | R4KFB1
R4KSTR - Strain Relief Kit | R4KSTR
R4KCSC - Clear Station Cover | R4KCSC
CLAR4 - Four Station Audio Relay Kit | CLAR4
R4KOUT4R - Visual Relay Output Control | R4KOUT4R
R4KOUT4S - Audio Solid State Relay Output Control | R4KOUT4S