## ENFERMERIA
CLINICA DAVILA EMERGENCIAS 4°NIVEL / RAULAND/ CUBICACION
DESCRIPCION PLANOS | LAMPARA DE PASILLO | LAMPARA DE PASILLO | ESTACIÓN ENFERMERIA | ESTACION TERMINAL PACIENTE | PULSADOR DE LLAMADO | TIRADOR DE BAÑO
IMAGEN
CODIGOS | R5KCL546 | R5KCL516 | R5KCONS | R5KPS1EA | CCDIN | R5KPC11WPS
piso 4-Sector Emergencias | 9 | 16 | 1 | 35 | 35 | 25
SUBTOTAL: | 9 | 16 | 1 | 35 | 35 | 25
ADICIONALES
TOTAL | 9 | 16 | 1 | 35 | 35 | 25
| 0 | 53 | 5 | 68 | 70 | 20

## Hoja1
Cantidad | Codigo | Descripción | 100992 | 2022-02-14
9 | R5KCL546 | R5k Corridor Light 4 Audio 6pt
16 | R5KCL516 | R5k Corridor Light 1 Audio 6pt | 16
1 | R5KCONS | R5k Voip Nurse Console
35 | R5KPS1EA | R5k Single Enhcd Pat Stn Audio
35 | CCDIN | Call Cord - Din Connector
25 | R5KPC11WPS | R5k Waterproof Pulcord Spanish | 17
2 | 350018 | 8pin Inlinecon Cat-5 Cat-6(100) (Not to be used with R4K CL/DC) | 2
Cantidad | Codigo | Descripción | 100992
1 | NC2828 | Head-End Equipment Cabinet | 1
3 | R5KMPR15 | Power Supply 15V for Stations, CLs, DCs (w/battery backup)
3 | R5KMPR36 | Power Supply 36V for MSC, Console (w/battery backup)
1 | R5KMSC | Main System Controller
1 | R5KM8PRT | R5K 8-Port Switch
1 | R5KL2KA | Data Converter for K-Bus to L-Net
Cantidad | Codigo | Descripción | 101046 | 2022-02-22
9 | R5KCL546 | R5k Corridor Light 4 Audio 6pt
1 | R5KCONS | R5k Voip Nurse Console | 1
35 | R5KPS1EA | R5k Single Enhcd Pat Stn Audio | 35
35 | CCDIN | Call Cord - Din Connector | 35
8 | R5KPC11WPS | R5k Waterproof Pulcord Spanish | 3
3 | R5KMPR15 | Power Supply 15V for Stations, CLs, DCs (w/battery backup) | 3
3 | R5KMPR36 | Power Supply 36V for MSC, Console (w/battery backup) | 2
1 | R5KMSC | Main System Controller | 1
1 | R5KMTRM | Termination Board | 1
1 | R5KL2KA | Data Converter for K-Bus to L-Net | 1
Cantidad | Codigo | Descripción |  | 2022-02-24
1 | 60747 | CABLE INCENDIO 2X18 AWG S/P (5320UL)
Cantidad | Codigo | Descripción | 101058
| R5KCL546 | R5k Corridor Light 4 Audio 6pt | 9
| 354000 | Estación de Cordon de baño con audio | 5
Note on E22: Ricardo Carrasco: hay dos guias con el mismo detalle GD 101047

## Hoja2
Total camas | Camas realizadas
35 | 25 | 71.43%

## FINAL
Dif | Ppto 8/2/22 | Codigo | Descripción | 100992 | 100992 | 101046 | 101058
0 | 9 | R5KCL546 | R5k Corridor Light 4 Audio 6pt |  |  |  | 9 | 9
-1 | 15 | R5KCL516 | R5k Corridor Light 1 Audio 6pt | 16 |  |  |  | 16
0 | 1 | R5KCONS | R5k Voip Nurse Console |  |  | 1 |  | 1
0 | 35 | R5KPS1EA | R5k Single Enhcd Pat Stn Audio |  |  | 35 |  | 35
0 | 35 | CCDIN | Call Cord - Din Connector |  |  | 35 |  | 35
5 | 25 | R5KPC11WPS | R5k Waterproof Pulcord Spanish | 17 |  | 3 |  | 20
0 | 2 | 350018 | 8pin Inlinecon Cat-5 Cat-6(100) (Not to be used with R4K CL/DC) | 2 |  |  |  | 2
0 | 1 | NC2828 | Head-End Equipment Cabinet |  | 1 |  |  | 1
0 | 3 | R5KMPR15 | Power Supply 15V for Stations, CLs, DCs (w/battery backup) |  |  | 3 |  | 3
1 | 3 | R5KMPR36 | Power Supply 36V for MSC, Console (w/battery backup) |  |  | 2 |  | 2
0 | 1 | R5KMSC | Main System Controller |  |  | 1 |  | 1
0 | 1 | R5KMTRM | Termination Board |  |  | 1 |  | 1
0 | 1 | R5KL2KA | Data Converter for K-Bus to L-Net |  |  | 1 |  | 1
-5 |  | 354000 | Estación de Cordon de baño con audio |  |  |  | 5 | 5
1 | 1 | R5KM8PRT | R5K 8 Port SWITCH
| Cantidad | Codigo | Descripción |  | 2022-02-24
| 1 | 60747 | CABLE INCENDIO 2X18 AWG S/P (5320UL)
| Cantidad | Codigo | Descripción | 101058
|  | R5KCL546 | R5k Corridor Light 4 Audio 6pt | 9
|  | 354000 | Estación de Cordon de baño con audio | 5
Note on G2: Ricardo Carrasco: hay dos guias con el mismo detalle GD 101047