|  | # Rapport d'Intervention |
| --- | --- |

| REF. DOCUMENT : |  |  | QF 010 |  |  |
| --- | --- | --- | --- | --- | --- |
| VERIFICATEUR |  |  | Fouad Mellahi | FM – 27/02/08 |  |
| APPROBATEUR |  |  | David Poizat | DP – 03/03/08 |  |
| DIFFUSION : |  |  |  |  |  |
| MODIFICATIONS : |  |  |  |  |  |
| Date | Indice | Nature de la modification |  |  | Par |
| 23/12/03 | 1 | Création du document |  |  | DP |
| 25/01/05 | 2 | Mise à jour logo |  |  | DP |
| 14/09/06 | 3 | Ajout emplacement technicien sur entête+ modification dans problem description « technician » par « user » |  |  | FM |
| 15/05/2007 | 4 | Ajout test Phantom |  |  | FM |
| 27/02/2008 | 5 | Ajout emplacement « service performed by » |  |  | DB |

| PRODUCT INFORMATIONS |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S/N | F00961 |  | Date placed in use |  |  | 2010 | Man. /Dist. |  |  | Echosens |  |
| Location | SEVILLA |  |  | Customer Name |  |  |  |  | Hospital Virgen de la Macarena |  |  |
| Probe S/N | S30436 | Last Calibration Date |  |  | OCTOBER 13 |  |  | Hit Count |  |  | - |

| SERVICE PERFORMED BY |  |
| --- | --- |
|  DISTRIBUTOR : Do not fill informations below |  ECHOSENS Fill informations below |

| PROBLEM DESCRIPTION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Date | 11/10/2013 | User | Higinio González | Phone # | - |
| Description of Device Problem |  |  |  |  |  |
| Were you told that there were a serious injury or death associated with this problem? |  |  |  |  NO  YES |  |
| If YES describe relationship to incident or event |  |  |  |  |  |
| Was device being used for treatment or diagnosis? |  |  | Diagnosis |  |  |
| Describe any unusual environment or any evidence of misuse |  |  |  |  |  |

| ACTIONS PERFORMED |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Calibration |  |  |  |  |  |  |
| # | Date | Action | Référence | Result |  | Visa |
| 0 | 11/10/2013 | Calibration | AP30027 | ok |  | HG |
| # |  |  |  | 1st button | 2nd button |  |
| 1 |  | S30436 |  | 5,4 Kpa | - | HG |
| Other Actions |  |  |  |  |  |  |
| # | Date | Action50 | Référence | Result |  | Visa |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |

| SPARE PARTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Part replaced/to replace | Old S/N | New S/N | Visa |

| SERVICE RESULT |  |
| --- | --- |
| Service completed |  NO  YES |
| Reason not completed |  |
| Suggested Actions |  |