## Slide 1
Symptom : white screen when turning ON
Check connection to the motherboard reconnect loose wires (see page 22 of E200M006_5 technical manual )
Check the video output on the motherboard
Exchange the motherboard (see page 22 of E200M006_5 technical manual)
Check the screen connector
reconnect if necessary (see page 32 of E200M006_5 technical manual)
 Replace the screen (see page 32 of E200M006_5 technical manual)
unsolved
unsolved
unsolved
solved
ACTIONS