## Slide 1
theSymptom : device do not turn ON but LED power is on
Remove all subelements to make sure non is facing a short circuit
solved
ACTIONS
Replace PV3 (see page 16 of E330M005-1)
unsolved