## Slide 1
Symptom : impossible to reinstall software
Use the CHK DSK /Clear database functions on the configuration menu (will erase patient data)
Exchange PV3 (see page 16 of E330M005_1)
unsolved
solved
ACTIONS
Delete or replace MSATA
unsolved
Use eraser key supplied by ECHOSENS
unsolved
Try another bootable USB thumbdrive
unsolved