## Slide 1
Symptom : the instrument does not switch on
Check the wall outlet value
 If needed use another outlet
Check the XP power supply
 If needed replace it
Exchange pushboard
(see page 15 of E330M005_1)
 Change the PV3(page 16 of E330M005_1 l)
unsolved
unsolved
unsolved
solved
ACTIONS