## Slide 1
Symptom :fixed image
Reinstall the software
(see our “first level of service section”)
 reinstall the hard disk or change it (request to service@echosens.com) (page 33 of E100M011manual) or movie 7
 if needed reconnect or replace the mother board (page 32 of E100M011 manual) or movie 6
unsolved
unsolved
solved
ACTIONS
If impossible see « impossible to reinstall software page »