## Slide 1
Symptom : impossible to reinstall software
 Test HDD with partition magic (see technical note n°9)
 Erase HDD with partition magic (see technical note n°1)
Check if the boot selection is OK
 If needed correct it with technical note n°4 and retry
 Use « fixed image or blue screen” section to continue troubleshooting
unsolved
unsolved
unsolved
solved
ACTIONS
 Delete partion following “delete HDD partition.doc
unsolved
unsolved