## Slide 1
Symptom : impossible to reinstall software
Use the CHK DSK /Clear database functions on the configuration menu (will erase patient data)
Exchange PV3 (see page 19 of E320M003_2)
unsolved
solved
ACTIONS
Delete or replace MSATA
unsolved
Use eraser key supplied by ECHOSENS
unsolved