## Slide 1
Symptom : the instrument does not switch on
Check the wall outlet value
 If needed use another outlet
Check the XP power supply
 If needed replace it
Realign Touch sensor board on coverglass
Add washers underneath HMI pcb as instructed in TN43
 Change the PV3(page 19 of E20M003-2manual)
unsolved
unsolved
unsolved
solved
ACTIONS