Specification of the concrete

Concrete class: C25/30					Concrete cracking: not cracking

Concrete thickness: 200mm					Longitudinal and transverse reinforcement

Frame space at least 150 mm

Definition of the fixture

Thickness of the fixture: 10 mm

Geometry measurement							Layout

Lx = 450 mm			s1 = 420 mm

Full mass

Ly = 300 mm			s2 = 260 mm

Stress calculation

On the group:						By ankle:

NgSd = 50,62 kN	NhSd = 12,66 kN

Ankle

eN,X = 0 mm - eN,Y = 0 mm

(Eccentricity of the tensile stress)

VgSd,X = 0,00 kN

VgSd,Y = 0,00 kN						Recommended ankle:

VgSd = 0,00 kN	VhSd = 0,00 kN		SPIT GRIP-A4 M12x50-(A4-70)