## Feuil1
How to use:
| Item | Normal View | Zoom1 | Zoom2
1 | Raduis (cm) | 0 | 0 | 0 | <- Insert raduis of visible surface (measuring tool on I.I.)
2 | Surface (cm²) | 0 | 0 | 0
3 | Dose Measured (mGy) | 0 | 0 | 0 | <- Insert dose after 30s of exposure at 70kV (measuring tool on I.I.)
4 | Real DAP (mGy/cm²) | 0 | 0 | 0
5 | Isys DAP (mGy/cm²) | 0 | 0 | 0 | <- Insert DAP displayed on I-sys
6 | Difference (mGy/cm²) | 0 | 0 | 0
7 | % Difference | #DIV/0! | #DIV/0! | #DIV/0! | <- Adjust DAP on I-sys service if one value is in red
8 | % Difference | #DIV/0! | #DIV/0! | #DIV/0! | <- Adjust DAP on I-sys service if one value is in red