Manual spare parts and tools Cyber Ho 60/100/150

EBM000473.00 footswitch

EBM000263.00 Panel female socket 8way to soldering for footswitch EBM000264.00 cable male plug, 8 poles to soldering for footswitch EAM000045 Interlock connector

EBM000020 Interlock panel connector 5p female

MBQ000190 Key

MBQ000093 Keyswitch diam. 16mm EBQ002250 Electric contact for key MBQ000094 Emergency knob diam.16mm

EBM000714 Electric contact for emergency button

OBM000900 rod

MAM000760.00 pumping chamber

OBM000233 OC cavity mirror PL/PL AR/R=82% OBM000234 Rear cavity mirror HR /0deg

OBM001561 aspheric lens (for focus in the fiber launch)

OAM002266.00 Galvo mirror with mechanical holder

OBQ020067 Green 5mW aiming diode

EBM002050 Charger 3 kW 700Vdc (for 60W and 100W) EBM002052 Charger 4.5kW 700Vdc (for 150W) EAM000588.01 Discharger module

MBQ001763 shutter motor counter clockwise (for 60W) MBQ001018 shutter motor clockwise (for 100W and 150W) IBQ000145 Filter insert for chillers P70390 (for 100W and 150W) IBQ000146 cartridge for chiller P70390 (for 100W and 150W) EBQ000100 Deionized cartridge (Cyber Ho 60W) OBM003592 lamp

OAM001523 Blast shield EAQ001807.01 kit embedded EAQ000131 microcontroller board

EAQ001809.01 Routing board cyber ho QSMK1701R00

EAM000681.00 photodiode board EBQ003063 back light cable EBQ003062 display signal cable EBQ002709 display 12,1

EBQ000488 RFID Modulator EAM000521 RFID interface board EAM001410.00 Antenna

**Tools**

MBM006661.04 BMP0209 extension for alignment (only for Cyber Ho 60) MAQ000199.00 cross target for galvo mirror alignment tool

2x MAQ000212.00 BMP0904 tool for optical bench alignment

2 x OAF092099 200 micron Fiber for Service - NOT STERILE

2 x OAF092799 272 micron Fiber for Service - NOT STERILE

2 x OAF793619 365 micron Fiber for Service - not sterile - PRECISION

**Power Meter**

SBQ000318 High Power Fan Cooled Thermal Sensors FL400A-LP2-50

SBQ000033 Scan head Ophir NOVA II display

**Microscope**

AAM000032.00 optical fibers microscope SUN-HMS200 - QS